CODE INFORMATION:

APN:  000000-0055

LEGAL DESCRIPTION: LOT 1, BLOCK 2, ARCH478 ADDITION TO THE CITY OF SEATTLE

ZONING:  PSM 100 PSDF

TYPE OF CONSTRUCTION:  V-1HR

BUILDING AREA:

FIRST FLOOR:  2,400 SQUARE FEET

SECOND FLOOR:  2,400 SQUARE FEET

TOTAL:  4,800 SQUARE FEET

OCCUPANCY:  B (OFFICES)

NOTES:

ALL MATERIALS, WORKMANSHIP, DESIGN, AND CONSTRUCTION SHALL CONFORM TO THE DRAWINGS, SPECIFICATIONS, THE UNIFORM BUILDING CODE (UBC), 1997 EDITION, AND APPLICABLE CITY OF SEATTLE CODE MODIFICATIONS TO THE UBC.

DESIGN LOADING CRITERIA:

ROOF  LIVE LOAD                                            25 PSF

FLOOR  LIVE LOAD (RESIDENTIAL)               40 PSF

WIND                   80 MPH, EXPOSURE "B"

EARTHQUAKE     ZONE 3, Rw = 8

DRAWINGS INDICATE GENERAL AND TYPICAL DETAILS OF CONSTRUCTION.  WHERE CONDITIONS ARE NOT SPECIFICALLY INDICATED BUT ARE OF SIMILAR CHARACTER TO DETAILS SHOWN, SIMILAR DETAILS OF CONSTRUCTION SHALL BE USED, SUBJECT TO REVIEW AND APPROVAL BY THE ARCHITECT.