ME 354 MECHANICS OF MATERIALS LABORATORY

MECHANICAL PROPERTIES AND PERFORMANCE OF MATERIALS:

TENSILE TESTING

PURPOSE

The purpose of this exercise is to obtain a number of experimental results important for the characterization of the mechanical properties and performance of materials. The tensile test is a fundamental mechanical test for material properties which are used in engineering design, analysis of structures, and materials development.

EQUIPMENT

• Reduced gage section tensile test specimens of 6061-T6 aluminum

• Reduced gage section tensile test specimens of 1018 cold rolled steel

• Reduced gage section tensile test specimens of polymethymethacrylate (cast acrylic))

• Reduced gage section tensile test specimens of polycarbonate

• Clip-on axial and transverse extensometers

• Tensile test machine with grips, controller, and data acquisition system

PROCEDURE

Setup the Instron Load Frame:

• Initiate the BlueHill data acquisition and control program and set-up the parameters for the test.

• Measure the diameter of the gage section for each test specimen to within 0.02 mm.

• Ensure the force output is zeroed (balance).

• Install the one end of the tensile test specimen in the top grip of the test machine.

• Install the other end of the tensile test specimen in the lower grip of the test machine.

• Zero the actuator position of the test machine.

• Attach the axial and transverse extensometers to the gage section of the test specimen, centering them in the gage section.

• Zero the output from the strain conditioners.

• Measure the length of the gage section (with the extensometer).

Perform the Tensile Test:

• Initiate the test sequence via the computer program.

• At maximum force (and after some amount of necking), and only if necessary, remove the extensometers to avoid damage to the extensometers at fracture.

• Continue the test until the test specimen fractures.

• Measure the smallest diameter of the gage section at the location of failure.

• Measure the final length between the marks denoting the original gage length of the specimen.

• Save a copy of the data file in Excel format.

The excel file will be distributed to you via email or the class website

LAB REPORT

Prepare a “Formal Lab Report” describing your work, following the guidelines described on the

class website. At minimum, include the following in your formal lab report:

For ALL FOUR materials tested:

• Four plots of engineering stress (MPa) versus engineering strain (use %, m/m or µm/m), one for each material showing all of the tensile test data for each material (there were three specimens of each material tested).

• Determine the following from all engineering stress vs. engineering strain plot for each material.

a) the ultimate tensile strength

• Determine the following from all engineering stress vs. engineering strain

plots for the steel and aluminum.

b) average and standard deviation of the yield stress

c) average and standard deviation of the modulus of elasticity

• Determine the following from one representative engineering stress vs. engineering strain

plots for each material.

d) modulus of resilience

e) modulus of toughness

For the aluminum alloy ONLY:

• Plot one representative true stress versus true strain curve along with the engineering stress versus engineering strain on the same graph. For this one test, determine the true stress at maximum load and the true uniform strain (i.e., true strain at that maximum load, prior to the onset of necking).

• Construct a log-log plot of true stress versus true strain and determine, using a least squares approach, the 'best' values of n and H for the approximate constitutive relation:

  Hn

where  is the true stress,  is the true plastic strain, H is the strength coefficient, n is the strain hardening exponent per ASTM E646 "Standard Test Method for Tensile Strain-Hardening Exponents (n-Values) of Metallic Sheet Materials."

• Add the plot of this constitutive approximation (i.e. calculate the stress using H, n, and

measured strain) to the plots of measured true stress versus measured true strain and measured engineering stress versus measured engineering strain. Determine the percent error between the true stress calculated from the approximate constitutive relation and the measured true stress at measured true strain values of 0.1%, 1%, and 5%.

REFERENCES

Annual Book of ASTM Standards, American Society for Testing and Materials, Vol. 3.01

E8 and E8M [Metric version] Standard Test Methods of Tension Testing of Metallic Materials

E646 Standard Test Method for Tensile Strain-Hardening Exponents (n-Values) of Metallic Sheet

Materials