## 2014041800101
* | Sea-Bird | SBE19 | Data | File:
* | FileName | = | C:\Documents | and | Settings\Cheryl\2014Estuaries\20140418ComBay2\20140418001000.hex
* | Software | Version | 1.59
* | Temperature | SN | = | 2809
* | Conductivity | SN | = | 2809
* | System | UpLoad | Time | = | Apr | 18 | 2014 | 18:41
** | Com | Bay | 2 | 2014-04-18 | Station | 1 | Asarco
* | ds
* | SEACAT | PROFILER | V3.1b | SN | 2809 | 2014-04-18 | 17:32
* | strain | gauge | pressure | sensor: | SN | = | 193007, | range | = | 1000 | psia, | tc | = | -401
* | clk | = | 32768.188 | iop | = | 199 | vmain | = | 11.3 | vlith | = | 5.1
* | mode | = | PROFILE | ncasts | = | 10
* | sample | rate | = | 1 | scan | every | 0.5 | seconds
* | minimum | raw | conductivity | frequency | for | pump | turn | on | = | 1000 | hertz
* | pump | delay | = | 40 | seconds
* | samples | = | 16844 | free | = | 70220 | lwait | = | 0 | msec
* | SW1 | = | C8 | battery | cutoff | = | 7.3 | volts
* | number | of | voltages | sampled | = | 4
* | logdata | = | NO
* | S>
* | dh
* | cast | 0 | 2014-04-18 | 8:15 | samples | 0 | to | 1734 | sample | rate | = | 1 | scan | every | 0.5 | seconds | stop | = | switch | off
* | S>
# | nquan | = | 16
# | nvalues | = | 35
# | units | = | specified
# | name | 0 | = | prSM: | Pressure, | Strain | Gauge | [db]
# | name | 1 | = | t090C: | Temperature | [ITS-90, | deg | C]
# | name | 2 | = | c0mS/cm: | Conductivity | [mS/cm]
# | name | 3 | = | sbeox0V: | Oxygen | Voltage, | SBE | 43
# | name | 4 | = | wetStar: | Fluorescence, | Wetlab | Wetstar | [mg/m^3]
# | name | 5 | = | xmiss: | Beam | Transmission, | Chelsea/Seatech/Wetlab | CStar | [%]
# | name | 6 | = | sbeox0ML/L: | Oxygen, | SBE | 43 | [ml/l], | WS | = | 2
# | name | 7 | = | sbeox0Mg/L: | Oxygen, | SBE | 43 | [mg/l], | WS | = | 2
# | name | 8 | = | sbeox0PS: | Oxygen, | SBE | 43 | [% | saturation], | WS | = | 2
# | name | 9 | = | sal00: | Salinity | [PSU]
# | name | 10 | = | potemp090C: | Potential | Temperature | [ITS-90, | deg | C]
# | name | 11 | = | sigma-t00: | Density | [sigma-t, | Kg/m^3 | ]
# | name | 12 | = | sigma-é00: | Density | [sigma-theta, | Kg/m^3]
# | name | 13 | = | depSM: | Depth | [salt | water, | m], | lat | = | 48
# | name | 14 | = | nbin: | number | of | scans | per | bin
# | name | 15 | = | flag: | flag
# | span | 0 | = | 1.000, | 35
# | span | 1 | = | 8.3477, | 8.8095
# | span | 2 | = | 30.573731, | 30.9098
# | span | 3 | = | 2.5465, | 3.0243
# | span | 4 | = | 2.8986, | 5.0106
# | span | 5 | = | 84.9250, | 90.2595
# | span | 6 | = | 6.03741, | 7.3504
# | span | 7 | = | 8.62807, | 10.5045
# | span | 8 | = | 88.70758, | 108.633
# | span | 9 | = | 28.3528, | 29.0605
# | span | 10 | = | 8.3444, | 8.8094
# | span | 11 | = | 21.9460, | 22.5653
# | span | 12 | = | 21.9461, | 22.5657
# | span | 13 | = | 0.992, | 34.703
# | span | 14 | = | 7, | 17
# | span | 15 | = | 0.0000e+00, | 0
# | interval | = | decibars: | 1
# | start_time | = | Apr | 18 | 2014 | 8:15
# | bad_flag | = | -9.99e-29
# | sensor | 0 | = | Frequency | 0 | temperature, | 2809, | 2013-11-13
# | sensor | 1 | = | Frequency | 1 | conductivity, | 2809, | 13-Nov-13, | cpcor | = | -9.57e-08
# | sensor | 2 | = | Extrnl | Volt | 0 | Oxygen, | SBE, | primary, | 1380, | 2013-11-21
# | sensor | 3 | = | Extrnl | Volt | 1 | transmissometer, | primary, | CST-482PR, | 2013-12-24
# | sensor | 4 | = | Extrnl | Volt | 2 | WET | Labs, | WETStar | fluorometer, | WS1S-785, | 2012-03-07
# | sensor | 5 | = | Pressure | Voltage, | 2809, | 2013-11-05
# | datcnv_date | = | Apr | 21 | 2014 | 00:38:19, | 7.18d
# | datcnv_in | = | c:\ctdtemp\2014041800101.hex | c:\ctdtemp\2809.con
# | datcnv_skipover | = | 0
# | datcnv_ox_hysteresis_correction | = | yes
# | filter_date | = | Apr | 21 | 2014 | 00:38:19, | 7.18d
# | filter_in | = | c:\ctdtemp\2014041800101.cnv
# | filter_low_pass_tc_A | = | 0.5
# | filter_low_pass_tc_B | = | 2
# | filter_low_pass_A_vars | = | t090C | c0mS/cm
# | filter_low_pass_B_vars | = | prSM
# | alignctd_date | = | Apr | 21 | 2014 | 00:38:20, | 7.18d
# | alignctd_in | = | c:\ctdtemp\2014041800101.cnv
# | alignctd_adv | = | t090C | 0.500, | sbeox0V | 4
# | celltm_date | = | Apr | 21 | 2014 | 00:38:21, | 7.18d
# | celltm_in | = | c:\ctdtemp\2014041800101.cnv
# | celltm_alpha | = | 0.0400, | 0
# | celltm_tau | = | 8.0000, | 0
# | celltm_temp_sensor_use_for_cond | = | primary,
# | loopedit_date | = | Apr | 21 | 2014 | 00:38:21, | 7.18d
# | loopedit_in | = | c:\ctdtemp\2014041800101.cnv
# | loopedit_minVelocity | = | 0.1
# | loopedit_surfaceSoak: | do | not | remove
# | loopedit_excl_bad_scans | = | yes
# | Derive_date | = | Apr | 21 | 2014 | 00:38:22, | 7.18d
# | Derive_in | = | c:\ctdtemp\2014041800101.cnv | c:\ctdtemp\2809.con
# | derive_time_window_docdt | = | seconds: | 2
# | derive_ox_tau_correction | = | yes
# | binavg_date | = | Apr | 21 | 2014 | 00:38:23, | 7.18d
# | binavg_in | = | c:\ctdtemp\2014041800101.cnv
# | binavg_bintype | = | decibars
# | binavg_binsize | = | 1
# | binavg_excl_bad_scans | = | yes
# | binavg_skipover | = | 0
# | binavg_surface_bin | = | no, | min | = | 0.000, | max | = | 0.000, | value | = | 0
# | file_type | = | ascii
*END*
| 1 | 8.8095 | 30.5737 | 3.0243 | 3.9945 | 84.925 | 7.3504 | 10.5045 | 108.633 | 28.3528 | 8.8094 | 21.946 | 21.9461 | 0.992 | 14 | 0
| 2 | 8.7405 | 30.6994 | 2.912 | 4.8403 | 85.8726 | 6.9619 | 9.9492 | 102.8528 | 28.5367 | 8.7403 | 22.0997 | 22.0998 | 1.983 | 15 | 0
| 3 | 8.6449 | 30.8388 | 2.8149 | 3.6282 | 88.7009 | 6.7631 | 9.6651 | 99.843 | 28.7569 | 8.6446 | 22.2856 | 22.2856 | 2.975 | 14 | 0
| 4 | 8.6273 | 30.8478 | 2.798 | 4.1609 | 88.9848 | 6.7424 | 9.6356 | 99.513 | 28.78 | 8.6269 | 22.3062 | 22.3062 | 3.966 | 14 | 0
| 5 | 8.6261 | 30.8502 | 2.7944 | 4.721 | 89.167 | 6.7339 | 9.6234 | 99.3862 | 28.7831 | 8.6256 | 22.3088 | 22.3089 | 4.958 | 14 | 0
| 6 | 8.6271 | 30.8515 | 2.7917 | 5.0106 | 89.191 | 6.7252 | 9.6109 | 99.2604 | 28.7833 | 8.6265 | 22.3088 | 22.3089 | 5.95 | 14 | 0
| 7 | 8.6245 | 30.8602 | 2.7891 | 4.8631 | 89.7129 | 6.7189 | 9.6019 | 99.1683 | 28.7939 | 8.6238 | 22.3174 | 22.3175 | 6.941 | 17 | 0
| 8 | 8.6106 | 30.8658 | 2.7768 | 3.8946 | 89.6532 | 6.6696 | 9.5315 | 98.4206 | 28.8105 | 8.6098 | 22.3325 | 22.3326 | 7.933 | 14 | 0
| 9 | 8.5848 | 30.8675 | 2.7526 | 3.9656 | 89.877 | 6.6016 | 9.4344 | 97.375 | 28.833 | 8.5839 | 22.3537 | 22.3538 | 8.924 | 14 | 0
| 10 | 8.5723 | 30.8685 | 2.7365 | 3.8922 | 89.979 | 6.5659 | 9.3834 | 96.828 | 28.8438 | 8.5713 | 22.3639 | 22.364 | 9.916 | 13 | 0
| 11 | 8.5663 | 30.8691 | 2.7284 | 3.7673 | 89.6102 | 6.5451 | 9.3536 | 96.5114 | 28.8489 | 8.5652 | 22.3688 | 22.369 | 10.907 | 13 | 0
| 12 | 8.5621 | 30.8699 | 2.7226 | 3.7026 | 89.8738 | 6.5303 | 9.3324 | 96.2857 | 28.8527 | 8.561 | 22.3723 | 22.3725 | 11.899 | 12 | 0
| 13 | 8.5597 | 30.87 | 2.7208 | 3.7487 | 89.9251 | 6.5302 | 9.3324 | 96.2812 | 28.8544 | 8.5585 | 22.3741 | 22.3742 | 12.89 | 13 | 0
| 14 | 8.557 | 30.8706 | 2.7144 | 3.8719 | 89.6359 | 6.5026 | 9.2929 | 95.8697 | 28.8569 | 8.5556 | 22.3763 | 22.3765 | 13.882 | 14 | 0
| 15 | 8.5502 | 30.8713 | 2.7052 | 3.8668 | 89.6227 | 6.4842 | 9.2665 | 95.5867 | 28.8626 | 8.5488 | 22.3818 | 22.382 | 14.874 | 13 | 0
| 16 | 8.5469 | 30.872 | 2.7003 | 3.5471 | 89.6662 | 6.4673 | 9.2424 | 95.3322 | 28.8657 | 8.5454 | 22.3847 | 22.3849 | 15.865 | 13 | 0
| 17 | 8.5402 | 30.8734 | 2.6922 | 3.7559 | 89.4799 | 6.4431 | 9.2078 | 94.9656 | 28.8722 | 8.5386 | 22.3907 | 22.3909 | 16.857 | 11 | 0
| 18 | 8.5351 | 30.874 | 2.6889 | 3.7572 | 89.4987 | 6.4427 | 9.2072 | 94.9507 | 28.8766 | 8.5334 | 22.3949 | 22.3951 | 17.848 | 11 | 0
| 19 | 8.533 | 30.8747 | 2.6861 | 3.764 | 89.3867 | 6.4284 | 9.1868 | 94.7368 | 28.8786 | 8.5312 | 22.3968 | 22.397 | 18.84 | 11 | 0
| 20 | 8.5319 | 30.8755 | 2.6841 | 3.4566 | 89.7963 | 6.4312 | 9.1909 | 94.7776 | 28.8799 | 8.53 | 22.3979 | 22.3982 | 19.831 | 14 | 0
| 21 | 8.53 | 30.8758 | 2.6822 | 3.3386 | 89.6833 | 6.4217 | 9.1773 | 94.6342 | 28.8814 | 8.528 | 22.3993 | 22.3996 | 20.823 | 11 | 0
| 22 | 8.5297 | 30.8768 | 2.6803 | 3.4796 | 89.6155 | 6.4204 | 9.1754 | 94.6144 | 28.8822 | 8.5276 | 22.4 | 22.4003 | 21.814 | 10 | 0
| 23 | 8.5277 | 30.8768 | 2.6785 | 3.8542 | 89.0964 | 6.4103 | 9.161 | 94.4626 | 28.8834 | 8.5255 | 22.4013 | 22.4016 | 22.806 | 10 | 0
| 24 | 8.5221 | 30.8782 | 2.6724 | 3.5997 | 89.3196 | 6.3931 | 9.1364 | 94.201 | 28.889 | 8.5199 | 22.4064 | 22.4067 | 23.797 | 11 | 0
| 25 | 8.5126 | 30.8782 | 2.6653 | 3.3668 | 89.6326 | 6.3702 | 9.1037 | 93.8474 | 28.8964 | 8.5102 | 22.4136 | 22.4139 | 24.789 | 10 | 0
| 26 | 8.4961 | 30.8783 | 2.6547 | 3.5163 | 89.943 | 6.3361 | 9.055 | 93.3188 | 28.9097 | 8.4936 | 22.4263 | 22.4266 | 25.78 | 10 | 0
| 27 | 8.4827 | 30.8781 | 2.6423 | 3.5093 | 89.8178 | 6.3043 | 9.0095 | 92.8281 | 28.92 | 8.4802 | 22.4363 | 22.4366 | 26.772 | 9 | 0
| 28 | 8.4716 | 30.8777 | 2.6325 | 3.1516 | 89.874 | 6.2787 | 8.9729 | 92.4326 | 28.9283 | 8.469 | 22.4443 | 22.4447 | 27.763 | 9 | 0
| 29 | 8.4613 | 30.8764 | 2.6259 | 2.9557 | 89.9429 | 6.2577 | 8.9428 | 92.1056 | 28.9349 | 8.4585 | 22.451 | 22.4514 | 28.755 | 9 | 0
| 30 | 8.4357 | 30.8843 | 2.605 | 3.2913 | 90.0159 | 6.1852 | 8.8393 | 91.0031 | 28.9637 | 8.4329 | 22.4771 | 22.4775 | 29.746 | 10 | 0
| 31 | 8.4138 | 30.8899 | 2.5913 | 2.9689 | 89.891 | 6.1642 | 8.8093 | 90.6635 | 28.987 | 8.4109 | 22.4985 | 22.4989 | 30.738 | 10 | 0
| 32 | 8.4047 | 30.8929 | 2.5835 | 3.0353 | 90.1559 | 6.1466 | 8.7841 | 90.3914 | 28.9973 | 8.4017 | 22.5078 | 22.5082 | 31.729 | 10 | 0
| 33 | 8.3983 | 30.896 | 2.576 | 2.986 | 90.1039 | 6.1173 | 8.7422 | 89.9518 | 29.0054 | 8.3952 | 22.515 | 22.5154 | 32.72 | 10 | 0
| 34 | 8.384 | 30.8998 | 2.5657 | 2.8998 | 90.2595 | 6.087 | 8.699 | 89.4874 | 29.0207 | 8.3808 | 22.5289 | 22.5294 | 33.712 | 11 | 0
| 35 | 8.3477 | 30.9098 | 2.5465 | 2.8986 | 90.2537 | 6.0374 | 8.6281 | 88.7076 | 29.0605 | 8.3444 | 22.5653 | 22.5657 | 34.703 | 7 | 0