## 2014041800401
* | Sea-Bird | SBE19 | Data | File:
* | FileName | = | C:\Documents | and | Settings\Cheryl\2014Estuaries\20140418ComBay2\20140418001004.hex
* | Software | Version | 1.59
* | Temperature | SN | = | 2809
* | Conductivity | SN | = | 2809
* | System | UpLoad | Time | = | Apr | 18 | 2014 | 21:14
** | Com | Bay | 2 | 2014-04-18 | Station | 4 | central | com | bay
* | ds
* | SEACAT | PROFILER | V3.1b | SN | 2809 | 2014-04-18 | 17:32
* | strain | gauge | pressure | sensor: | SN | = | 193007, | range | = | 1000 | psia, | tc | = | -401
* | clk | = | 32768.188 | iop | = | 199 | vmain | = | 11.3 | vlith | = | 5.1
* | mode | = | PROFILE | ncasts | = | 10
* | sample | rate | = | 1 | scan | every | 0.5 | seconds
* | minimum | raw | conductivity | frequency | for | pump | turn | on | = | 1000 | hertz
* | pump | delay | = | 40 | seconds
* | samples | = | 16844 | free | = | 70220 | lwait | = | 0 | msec
* | SW1 | = | C8 | battery | cutoff | = | 7.3 | volts
* | number | of | voltages | sampled | = | 4
* | logdata | = | NO
* | S>
* | dh
* | cast | 4 | 2014-04-18 | 10:43 | samples | 8107 | to | 11088 | sample | rate | = | 1 | scan | every | 0.5 | seconds | stop | = | switch | off
* | S>
# | nquan | = | 16
# | nvalues | = | 118
# | units | = | specified
# | name | 0 | = | prSM: | Pressure, | Strain | Gauge | [db]
# | name | 1 | = | t090C: | Temperature | [ITS-90, | deg | C]
# | name | 2 | = | c0mS/cm: | Conductivity | [mS/cm]
# | name | 3 | = | sbeox0V: | Oxygen | Voltage, | SBE | 43
# | name | 4 | = | wetStar: | Fluorescence, | Wetlab | Wetstar | [mg/m^3]
# | name | 5 | = | xmiss: | Beam | Transmission, | Chelsea/Seatech/Wetlab | CStar | [%]
# | name | 6 | = | sbeox0ML/L: | Oxygen, | SBE | 43 | [ml/l], | WS | = | 2
# | name | 7 | = | sbeox0Mg/L: | Oxygen, | SBE | 43 | [mg/l], | WS | = | 2
# | name | 8 | = | sbeox0PS: | Oxygen, | SBE | 43 | [% | saturation], | WS | = | 2
# | name | 9 | = | sal00: | Salinity | [PSU]
# | name | 10 | = | potemp090C: | Potential | Temperature | [ITS-90, | deg | C]
# | name | 11 | = | sigma-t00: | Density | [sigma-t, | Kg/m^3 | ]
# | name | 12 | = | sigma-é00: | Density | [sigma-theta, | Kg/m^3]
# | name | 13 | = | depSM: | Depth | [salt | water, | m], | lat | = | 48
# | name | 14 | = | nbin: | number | of | scans | per | bin
# | name | 15 | = | flag: | flag
# | span | 0 | = | 1.000, | 118
# | span | 1 | = | 7.9574, | 8.8693
# | span | 2 | = | 29.703552, | 31.2142
# | span | 3 | = | 2.2818, | 3.1034
# | span | 4 | = | 0.7596, | 8.1547
# | span | 5 | = | 80.5293, | 91.7086
# | span | 6 | = | 5.34059, | 7.6611
# | span | 7 | = | 7.63223, | 10.9485
# | span | 8 | = | 78.08724, | 112.6919
# | span | 9 | = | 27.4173, | 29.67
# | span | 10 | = | 7.9466, | 8.8692
# | span | 11 | = | 21.2064, | 23.097
# | span | 12 | = | 21.2065, | 23.0985
# | span | 13 | = | 0.992, | 116.976
# | span | 14 | = | 4, | 10
# | span | 15 | = | 0.0000e+00, | 0
# | interval | = | decibars: | 1
# | start_time | = | Apr | 18 | 2014 | 10:43
# | bad_flag | = | -9.99e-29
# | sensor | 0 | = | Frequency | 0 | temperature, | 2809, | 2013-11-13
# | sensor | 1 | = | Frequency | 1 | conductivity, | 2809, | 13-Nov-13, | cpcor | = | -9.57e-08
# | sensor | 2 | = | Extrnl | Volt | 0 | Oxygen, | SBE, | primary, | 1380, | 2013-11-21
# | sensor | 3 | = | Extrnl | Volt | 1 | transmissometer, | primary, | CST-482PR, | 2013-12-24
# | sensor | 4 | = | Extrnl | Volt | 2 | WET | Labs, | WETStar | fluorometer, | WS1S-785, | 2012-03-07
# | sensor | 5 | = | Pressure | Voltage, | 2809, | 2013-11-05
# | datcnv_date | = | Apr | 21 | 2014 | 00:38:19, | 7.18d
# | datcnv_in | = | c:\ctdtemp\2014041800401.hex | c:\ctdtemp\2809.con
# | datcnv_skipover | = | 0
# | datcnv_ox_hysteresis_correction | = | yes
# | filter_date | = | Apr | 21 | 2014 | 00:38:20, | 7.18d
# | filter_in | = | c:\ctdtemp\2014041800401.cnv
# | filter_low_pass_tc_A | = | 0.5
# | filter_low_pass_tc_B | = | 2
# | filter_low_pass_A_vars | = | t090C | c0mS/cm
# | filter_low_pass_B_vars | = | prSM
# | alignctd_date | = | Apr | 21 | 2014 | 00:38:20, | 7.18d
# | alignctd_in | = | c:\ctdtemp\2014041800401.cnv
# | alignctd_adv | = | t090C | 0.500, | sbeox0V | 4
# | celltm_date | = | Apr | 21 | 2014 | 00:38:21, | 7.18d
# | celltm_in | = | c:\ctdtemp\2014041800401.cnv
# | celltm_alpha | = | 0.0400, | 0
# | celltm_tau | = | 8.0000, | 0
# | celltm_temp_sensor_use_for_cond | = | primary,
# | loopedit_date | = | Apr | 21 | 2014 | 00:38:21, | 7.18d
# | loopedit_in | = | c:\ctdtemp\2014041800401.cnv
# | loopedit_minVelocity | = | 0.1
# | loopedit_surfaceSoak: | do | not | remove
# | loopedit_excl_bad_scans | = | yes
# | Derive_date | = | Apr | 21 | 2014 | 00:38:22, | 7.18d
# | Derive_in | = | c:\ctdtemp\2014041800401.cnv | c:\ctdtemp\2809.con
# | derive_time_window_docdt | = | seconds: | 2
# | derive_ox_tau_correction | = | yes
# | binavg_date | = | Apr | 21 | 2014 | 00:38:23, | 7.18d
# | binavg_in | = | c:\ctdtemp\2014041800401.cnv
# | binavg_bintype | = | decibars
# | binavg_binsize | = | 1
# | binavg_excl_bad_scans | = | yes
# | binavg_skipover | = | 0
# | binavg_surface_bin | = | no, | min | = | 0.000, | max | = | 0.000, | value | = | 0
# | file_type | = | ascii
*END*
| 1 | 8.8693 | 29.7036 | 3.1034 | 4.5198 | 80.6372 | 7.6611 | 10.9485 | 112.6919 | 27.4173 | 8.8692 | 21.2064 | 21.2065 | 0.992 | 10 | 0
| 2 | 8.8217 | 30.3877 | 3.0819 | 7.5717 | 84.6078 | 7.5772 | 10.8286 | 111.8707 | 28.1518 | 8.8215 | 21.7872 | 21.7872 | 1.983 | 7 | 0
| 3 | 8.8057 | 30.292 | 3.0505 | 5.9347 | 83.7479 | 7.4634 | 10.6659 | 110.0879 | 28.0667 | 8.8054 | 21.7229 | 21.723 | 2.975 | 10 | 0
| 4 | 8.769 | 30.5889 | 3.0139 | 7.3738 | 85.607 | 7.3161 | 10.4554 | 108.0588 | 28.3995 | 8.7686 | 21.9884 | 21.9884 | 3.966 | 6 | 0
| 5 | 8.7635 | 30.6591 | 2.9829 | 7.4723 | 85.4232 | 7.2384 | 10.3444 | 106.9506 | 28.4755 | 8.763 | 22.0486 | 22.0486 | 4.958 | 6 | 0
| 6 | 8.7637 | 30.6784 | 2.9637 | 8.1547 | 85.3042 | 7.1945 | 10.2817 | 106.3161 | 28.4948 | 8.7631 | 22.0636 | 22.0637 | 5.949 | 5 | 0
| 7 | 8.7597 | 30.6931 | 2.9437 | 7.9736 | 85.6478 | 7.1228 | 10.1792 | 105.2594 | 28.5127 | 8.759 | 22.0782 | 22.0783 | 6.941 | 5 | 0
| 8 | 8.7357 | 30.7264 | 2.9187 | 7.5802 | 85.6782 | 7.0512 | 10.0768 | 104.1804 | 28.5657 | 8.735 | 22.1231 | 22.1232 | 7.933 | 5 | 0
| 9 | 8.7086 | 30.7584 | 2.902 | 5.6187 | 86.5602 | 7.0264 | 10.0415 | 103.788 | 28.6202 | 8.7077 | 22.1696 | 22.1697 | 8.924 | 5 | 0
| 10 | 8.7063 | 30.776 | 2.893 | 6.6628 | 87.0046 | 7.014 | 10.0236 | 103.6114 | 28.6397 | 8.7053 | 22.1851 | 22.1853 | 9.916 | 5 | 0
| 11 | 8.7048 | 30.7784 | 2.8887 | 6.0665 | 87.688 | 7.0082 | 10.0154 | 103.525 | 28.643 | 8.7038 | 22.1879 | 22.1881 | 10.907 | 5 | 0
| 12 | 8.7022 | 30.7806 | 2.8823 | 5.3672 | 88.0863 | 6.9615 | 9.9487 | 102.8317 | 28.6469 | 8.701 | 22.1914 | 22.1915 | 11.899 | 5 | 0
| 13 | 8.6908 | 30.7924 | 2.8577 | 5.6749 | 87.4108 | 6.8606 | 9.8045 | 101.329 | 28.6678 | 8.6896 | 22.2094 | 22.2096 | 12.891 | 4 | 0
| 14 | 8.6725 | 30.8053 | 2.8405 | 5.0986 | 87.2272 | 6.853 | 9.7936 | 101.1933 | 28.6955 | 8.6712 | 22.2337 | 22.2339 | 13.882 | 6 | 0
| 15 | 8.6679 | 30.8517 | 2.8191 | 4.9758 | 87.1314 | 6.7498 | 9.6461 | 99.6921 | 28.7465 | 8.6665 | 22.2742 | 22.2744 | 14.874 | 6 | 0
| 16 | 8.6217 | 30.863 | 2.7863 | 4.5915 | 88.6295 | 6.6787 | 9.5446 | 98.5711 | 28.7954 | 8.6202 | 22.319 | 22.3192 | 15.865 | 6 | 0
| 17 | 8.6066 | 30.8645 | 2.7725 | 4.1016 | 89.5076 | 6.6657 | 9.5259 | 98.3529 | 28.8089 | 8.6049 | 22.3317 | 22.3319 | 16.857 | 6 | 0
| 18 | 8.6006 | 30.8701 | 2.7654 | 3.6628 | 89.3185 | 6.6516 | 9.5058 | 98.139 | 28.8191 | 8.5989 | 22.3406 | 22.3408 | 17.848 | 5 | 0
| 19 | 8.5905 | 30.8775 | 2.7604 | 3.4691 | 89.5054 | 6.6348 | 9.4818 | 97.8779 | 28.8346 | 8.5887 | 22.3542 | 22.3544 | 18.84 | 5 | 0
| 20 | 8.5877 | 30.8788 | 2.754 | 3.6742 | 89.7651 | 6.6238 | 9.4661 | 97.7124 | 28.8378 | 8.5858 | 22.3571 | 22.3573 | 19.831 | 6 | 0
| 21 | 8.5827 | 30.8795 | 2.7508 | 3.2945 | 89.5769 | 6.6162 | 9.4552 | 97.591 | 28.8422 | 8.5807 | 22.3612 | 22.3615 | 20.823 | 5 | 0
| 22 | 8.5799 | 30.8832 | 2.7463 | 3.2685 | 89.852 | 6.5954 | 9.4255 | 97.2825 | 28.8478 | 8.5778 | 22.366 | 22.3663 | 21.814 | 5 | 0
| 23 | 8.5749 | 30.8898 | 2.7358 | 3.2116 | 90.0626 | 6.5556 | 9.3687 | 96.6914 | 28.8584 | 8.5727 | 22.375 | 22.3753 | 22.806 | 5 | 0
| 24 | 8.56 | 30.8949 | 2.7271 | 3.7148 | 90.6665 | 6.5431 | 9.3507 | 96.4845 | 28.8754 | 8.5577 | 22.3904 | 22.3907 | 23.797 | 5 | 0
| 25 | 8.545 | 30.8889 | 2.7196 | 3.1087 | 90.527 | 6.5207 | 9.3187 | 96.1252 | 28.881 | 8.5426 | 22.3969 | 22.3973 | 24.789 | 5 | 0
| 26 | 8.5383 | 30.8889 | 2.7148 | 3.3531 | 90.742 | 6.5211 | 9.3193 | 96.1201 | 28.886 | 8.5358 | 22.4018 | 22.4021 | 25.78 | 5 | 0
| 27 | 8.5365 | 30.8907 | 2.7147 | 3.1068 | 91.0259 | 6.5276 | 9.3287 | 96.214 | 28.8889 | 8.5339 | 22.4044 | 22.4047 | 26.772 | 4 | 0
| 28 | 8.5364 | 30.8916 | 2.7145 | 2.8844 | 90.9869 | 6.5208 | 9.3189 | 96.1138 | 28.8896 | 8.5337 | 22.4049 | 22.4052 | 27.763 | 5 | 0
| 29 | 8.535 | 30.8918 | 2.7107 | 2.7135 | 90.6312 | 6.5122 | 9.3066 | 95.9839 | 28.8905 | 8.5323 | 22.4058 | 22.4062 | 28.755 | 6 | 0
| 30 | 8.5331 | 30.8919 | 2.7101 | 3.0054 | 90.5103 | 6.5139 | 9.309 | 96.0059 | 28.8918 | 8.5302 | 22.4071 | 22.4075 | 29.746 | 7 | 0
| 31 | 8.5313 | 30.8916 | 2.7079 | 3.284 | 90.6843 | 6.5043 | 9.2954 | 95.8616 | 28.8925 | 8.5284 | 22.4079 | 22.4083 | 30.738 | 7 | 0
| 32 | 8.5272 | 30.8901 | 2.703 | 3.047 | 90.4957 | 6.4853 | 9.2682 | 95.5731 | 28.8939 | 8.5242 | 22.4095 | 22.4099 | 31.729 | 6 | 0
| 33 | 8.5176 | 30.8877 | 2.6969 | 3.0858 | 90.3268 | 6.4634 | 9.2369 | 95.2328 | 28.8988 | 8.5145 | 22.4147 | 22.4152 | 32.721 | 5 | 0
| 34 | 8.5023 | 30.8836 | 2.6865 | 3.6343 | 90.4412 | 6.4306 | 9.1899 | 94.721 | 28.9068 | 8.4991 | 22.4232 | 22.4236 | 33.712 | 6 | 0
| 35 | 8.493 | 30.8791 | 2.6766 | 2.9461 | 90.3501 | 6.4031 | 9.1507 | 94.2984 | 28.9093 | 8.4897 | 22.4264 | 22.4269 | 34.703 | 5 | 0
| 36 | 8.4774 | 30.8713 | 2.6611 | 3.1308 | 90.5455 | 6.336 | 9.0547 | 93.2792 | 28.9136 | 8.474 | 22.432 | 22.4325 | 35.695 | 6 | 0
| 37 | 8.4414 | 30.8582 | 2.6362 | 2.772 | 90.2401 | 6.2708 | 8.9616 | 92.2535 | 28.9291 | 8.4379 | 22.4492 | 22.4497 | 36.686 | 6 | 0
| 38 | 8.4185 | 30.8531 | 2.6197 | 3.1348 | 89.8684 | 6.2399 | 8.9175 | 91.7597 | 28.9422 | 8.415 | 22.4627 | 22.4632 | 37.678 | 6 | 0
| 39 | 8.4073 | 30.8555 | 2.6106 | 2.9555 | 89.983 | 6.2259 | 8.8974 | 91.5366 | 28.9534 | 8.4037 | 22.473 | 22.4736 | 38.669 | 6 | 0
| 40 | 8.4037 | 30.8641 | 2.6065 | 3.2606 | 89.5718 | 6.2234 | 8.8938 | 91.4989 | 28.965 | 8.3999 | 22.4826 | 22.4832 | 39.661 | 5 | 0
| 41 | 8.3997 | 30.8771 | 2.5985 | 3.0079 | 90.0754 | 6.1604 | 8.8038 | 90.5747 | 28.9813 | 8.3958 | 22.4959 | 22.4965 | 40.652 | 4 | 0
| 42 | 8.3707 | 30.8759 | 2.5777 | 3.0093 | 89.6165 | 6.0998 | 8.7173 | 89.6384 | 29.0035 | 8.3667 | 22.5174 | 22.518 | 41.643 | 5 | 0
| 43 | 8.3486 | 30.8756 | 2.5632 | 3.2313 | 89.7601 | 6.0803 | 8.6893 | 89.316 | 29.0209 | 8.3445 | 22.5342 | 22.5347 | 42.635 | 5 | 0
| 44 | 8.3353 | 30.877 | 2.5537 | 2.9755 | 90.0129 | 6.061 | 8.6618 | 89.0135 | 29.033 | 8.3312 | 22.5454 | 22.546 | 43.626 | 5 | 0
| 45 | 8.3291 | 30.8779 | 2.5476 | 2.5098 | 90.3022 | 6.0526 | 8.6498 | 88.8812 | 29.0385 | 8.325 | 22.5506 | 22.5512 | 44.618 | 5 | 0
| 46 | 8.3246 | 30.8797 | 2.5418 | 2.5425 | 89.9492 | 6.0334 | 8.6224 | 88.5931 | 29.0438 | 8.3203 | 22.5554 | 22.556 | 45.609 | 5 | 0
| 47 | 8.3174 | 30.8825 | 2.5365 | 2.6892 | 90.0349 | 6.0201 | 8.6034 | 88.3882 | 29.0521 | 8.313 | 22.563 | 22.5636 | 46.6 | 4 | 0
| 48 | 8.3145 | 30.8834 | 2.5312 | 2.7872 | 89.8328 | 6.0066 | 8.5841 | 88.1857 | 29.055 | 8.31 | 22.5656 | 22.5662 | 47.592 | 5 | 0
| 49 | 8.3105 | 30.8848 | 2.5279 | 2.469 | 90.2196 | 6.0071 | 8.5847 | 88.1872 | 29.0595 | 8.3059 | 22.5697 | 22.5703 | 48.583 | 5 | 0
| 50 | 8.3072 | 30.8853 | 2.5285 | 2.6397 | 89.9444 | 6.0052 | 8.5821 | 88.1546 | 29.0623 | 8.3025 | 22.5723 | 22.573 | 49.574 | 4 | 0
| 51 | 8.3013 | 30.8873 | 2.5182 | 2.8136 | 90.1538 | 5.9482 | 8.5006 | 87.3102 | 29.0689 | 8.2965 | 22.5783 | 22.579 | 50.566 | 5 | 0
| 52 | 8.2813 | 30.8942 | 2.5065 | 2.5095 | 90.1402 | 5.9227 | 8.4641 | 86.9093 | 29.0921 | 8.2765 | 22.5993 | 22.6 | 51.557 | 4 | 0
| 53 | 8.2611 | 30.9 | 2.4934 | 2.5777 | 90.5232 | 5.8693 | 8.3878 | 86.098 | 29.1144 | 8.2562 | 22.6195 | 22.6202 | 52.549 | 5 | 0
| 54 | 8.2441 | 30.9073 | 2.4757 | 2.3763 | 89.9948 | 5.8148 | 8.31 | 85.2785 | 29.1356 | 8.2391 | 22.6386 | 22.6393 | 53.54 | 4 | 0
| 55 | 8.22 | 30.9202 | 2.4595 | 2.4769 | 90.9554 | 5.774 | 8.2517 | 84.6518 | 29.1686 | 8.2149 | 22.6678 | 22.6685 | 54.531 | 5 | 0
| 56 | 8.1981 | 30.9365 | 2.4432 | 2.385 | 91.2992 | 5.7231 | 8.1789 | 83.8826 | 29.2035 | 8.1929 | 22.6981 | 22.6988 | 55.522 | 4 | 0
| 57 | 8.1633 | 30.9667 | 2.4262 | 2.0897 | 91.2764 | 5.6827 | 8.1212 | 83.2574 | 29.2635 | 8.158 | 22.75 | 22.7507 | 56.514 | 5 | 0
| 58 | 8.1401 | 30.9777 | 2.4144 | 1.8144 | 91.7086 | 5.6699 | 8.1029 | 83.0427 | 29.2939 | 8.1348 | 22.7769 | 22.7777 | 57.505 | 5 | 0
| 59 | 8.1271 | 30.9791 | 2.4052 | 1.5443 | 91.631 | 5.6386 | 8.0582 | 82.5662 | 29.3058 | 8.1216 | 22.7881 | 22.7888 | 58.497 | 6 | 0
| 60 | 8.1062 | 30.9868 | 2.3945 | 1.6848 | 90.7002 | 5.6156 | 8.0253 | 82.2034 | 29.3309 | 8.1006 | 22.8107 | 22.8115 | 59.488 | 5 | 0
| 61 | 8.0869 | 30.993 | 2.3883 | 1.3769 | 89.8323 | 5.6039 | 8.0085 | 82.0075 | 29.3531 | 8.0813 | 22.8308 | 22.8315 | 60.479 | 6 | 0
| 62 | 8.0814 | 30.9962 | 2.3831 | 1.5249 | 89.2687 | 5.589 | 7.9873 | 81.7837 | 29.3607 | 8.0757 | 22.8374 | 22.8382 | 61.47 | 5 | 0
| 63 | 8.074 | 31.0026 | 2.3772 | 1.4146 | 89.4165 | 5.5706 | 7.9609 | 81.5067 | 29.3731 | 8.0682 | 22.8482 | 22.849 | 62.462 | 4 | 0
| 64 | 8.0598 | 31.0127 | 2.3716 | 1.3006 | 88.9408 | 5.5571 | 7.9416 | 81.2944 | 29.3951 | 8.0539 | 22.8674 | 22.8682 | 63.453 | 5 | 0
| 65 | 8.0565 | 31.0183 | 2.3677 | 1.3296 | 88.594 | 5.5489 | 7.9299 | 81.1735 | 29.4035 | 8.0505 | 22.8744 | 22.8752 | 64.444 | 4 | 0
| 66 | 8.0551 | 31.0244 | 2.3638 | 1.3217 | 88.9361 | 5.5404 | 7.9178 | 81.05 | 29.4105 | 8.049 | 22.8801 | 22.8809 | 65.436 | 5 | 0
| 67 | 8.0533 | 31.0297 | 2.362 | 1.3796 | 89.014 | 5.5382 | 7.9147 | 81.0189 | 29.4172 | 8.0471 | 22.8856 | 22.8864 | 66.427 | 4 | 0
| 68 | 8.0512 | 31.0321 | 2.3606 | 1.3929 | 89.2241 | 5.5398 | 7.9169 | 81.0397 | 29.4211 | 8.0449 | 22.8889 | 22.8898 | 67.419 | 4 | 0
| 69 | 8.0501 | 31.0334 | 2.3603 | 1.2888 | 89.0288 | 5.5362 | 7.9117 | 80.9853 | 29.4229 | 8.0437 | 22.8905 | 22.8914 | 68.41 | 5 | 0
| 70 | 8.0492 | 31.0378 | 2.359 | 1.1682 | 88.9597 | 5.5318 | 7.9055 | 80.9228 | 29.4279 | 8.0427 | 22.8946 | 22.8955 | 69.401 | 4 | 0
| 71 | 8.0492 | 31.0403 | 2.3566 | 1.2493 | 88.8462 | 5.5247 | 7.8953 | 80.8192 | 29.43 | 8.0427 | 22.8962 | 22.8971 | 70.392 | 4 | 0
| 72 | 8.0481 | 31.0447 | 2.355 | 1.2214 | 89.191 | 5.5226 | 7.8924 | 80.7897 | 29.4352 | 8.0414 | 22.9004 | 22.9014 | 71.383 | 4 | 0
| 73 | 8.0402 | 31.0499 | 2.3554 | 1.0548 | 89.1779 | 5.5274 | 7.8992 | 80.852 | 29.4468 | 8.0335 | 22.9106 | 22.9116 | 72.375 | 4 | 0
| 74 | 8.0331 | 31.0519 | 2.3534 | 1.0625 | 88.1809 | 5.5157 | 7.8825 | 80.6718 | 29.4545 | 8.0263 | 22.9176 | 22.9186 | 73.366 | 4 | 0
| 75 | 8.0318 | 31.0534 | 2.3503 | 1.1772 | 88.053 | 5.5043 | 7.8661 | 80.5029 | 29.4567 | 8.0248 | 22.9195 | 22.9205 | 74.357 | 5 | 0
| 76 | 8.0305 | 31.0548 | 2.3471 | 1.0427 | 87.6376 | 5.5031 | 7.8645 | 80.485 | 29.4589 | 8.0235 | 22.9214 | 22.9224 | 75.348 | 4 | 0
| 77 | 8.0287 | 31.0566 | 2.3467 | 1.0948 | 87.4009 | 5.5019 | 7.8628 | 80.4652 | 29.4618 | 8.0216 | 22.924 | 22.9249 | 76.339 | 4 | 0
| 78 | 8.0271 | 31.0615 | 2.3443 | 1.1004 | 87.1275 | 5.4892 | 7.8446 | 80.2799 | 29.468 | 8.0199 | 22.929 | 22.93 | 77.331 | 5 | 0
| 79 | 8.0252 | 31.0669 | 2.3406 | 1.0943 | 85.2383 | 5.4819 | 7.8342 | 80.173 | 29.4748 | 8.0179 | 22.9346 | 22.9356 | 78.322 | 4 | 0
| 80 | 8.0249 | 31.0708 | 2.3397 | 1.1501 | 83.5528 | 5.4844 | 7.8377 | 80.2111 | 29.4787 | 8.0175 | 22.9377 | 22.9387 | 79.314 | 4 | 0
| 81 | 8.0245 | 31.0724 | 2.3396 | 1.1804 | 82.5115 | 5.4877 | 7.8424 | 80.2592 | 29.4802 | 8.017 | 22.9389 | 22.94 | 80.304 | 4 | 0
| 82 | 8.0243 | 31.0726 | 2.338 | 1.1546 | 82.5165 | 5.4748 | 7.8241 | 80.0709 | 29.4802 | 8.0168 | 22.939 | 22.94 | 81.296 | 4 | 0
| 83 | 8.0238 | 31.0738 | 2.3369 | 1.2351 | 82.4358 | 5.4775 | 7.8279 | 80.1096 | 29.4814 | 8.0161 | 22.94 | 22.9411 | 82.287 | 4 | 0
| 84 | 8.0229 | 31.0759 | 2.3345 | 1.1702 | 82.2074 | 5.468 | 7.8143 | 79.9707 | 29.484 | 8.0151 | 22.9421 | 22.9432 | 83.278 | 5 | 0
| 85 | 8.0212 | 31.0791 | 2.3331 | 1.1572 | 82.0265 | 5.4643 | 7.8091 | 79.9159 | 29.4884 | 8.0134 | 22.9459 | 22.9469 | 84.269 | 4 | 0
| 86 | 8.0196 | 31.0822 | 2.3311 | 1.1568 | 81.7189 | 5.4584 | 7.8006 | 79.8288 | 29.4926 | 8.0116 | 22.9493 | 22.9504 | 85.261 | 4 | 0
| 87 | 8.0191 | 31.085 | 2.3287 | 1.0645 | 81.6267 | 5.4584 | 7.8006 | 79.8297 | 29.4955 | 8.0111 | 22.9516 | 22.9527 | 86.252 | 5 | 0
| 88 | 8.018 | 31.0858 | 2.3306 | 1.2494 | 81.2737 | 5.463 | 7.8072 | 79.8954 | 29.4967 | 8.0099 | 22.9528 | 22.9539 | 87.243 | 5 | 0
| 89 | 8.0166 | 31.0896 | 2.3277 | 1.1574 | 82.0366 | 5.449 | 7.7872 | 79.6904 | 29.5016 | 8.0083 | 22.9568 | 22.9579 | 88.234 | 5 | 0
| 90 | 8.0131 | 31.0989 | 2.3239 | 1.0823 | 81.7383 | 5.436 | 7.7686 | 79.5007 | 29.5138 | 8.0048 | 22.9669 | 22.9681 | 89.225 | 5 | 0
| 91 | 8.0065 | 31.113 | 2.3216 | 1.0443 | 82.5113 | 5.4347 | 7.7668 | 79.4804 | 29.5338 | 7.9981 | 22.9834 | 22.9846 | 90.216 | 4 | 0
| 92 | 8.0027 | 31.1187 | 2.3212 | 1.0217 | 83.8716 | 5.4416 | 7.7766 | 79.5785 | 29.5425 | 7.9942 | 22.9908 | 22.9919 | 91.208 | 5 | 0
| 93 | 8.0022 | 31.12 | 2.3219 | 0.9744 | 83.8836 | 5.442 | 7.7772 | 79.5839 | 29.5439 | 7.9936 | 22.9919 | 22.9931 | 92.199 | 4 | 0
| 94 | 8.0021 | 31.1205 | 2.3204 | 0.9226 | 84.0594 | 5.4342 | 7.7661 | 79.4704 | 29.5441 | 7.9935 | 22.9921 | 22.9933 | 93.19 | 4 | 0
| 95 | 8.0017 | 31.1209 | 2.3206 | 0.9682 | 84.0654 | 5.4405 | 7.7751 | 79.5619 | 29.5444 | 7.993 | 22.9924 | 22.9936 | 94.181 | 4 | 0
| 96 | 8.0008 | 31.1251 | 2.3202 | 1.06 | 84.0861 | 5.4355 | 7.7679 | 79.4892 | 29.5492 | 7.9919 | 22.9963 | 22.9975 | 95.172 | 4 | 0
| 97 | 8.0008 | 31.1294 | 2.3192 | 1.0031 | 84.7151 | 5.4343 | 7.7662 | 79.4738 | 29.5533 | 7.9919 | 22.9995 | 23.0007 | 96.164 | 4 | 0
| 98 | 8.0007 | 31.131 | 2.3182 | 0.9574 | 84.8397 | 5.4301 | 7.7601 | 79.4124 | 29.5547 | 7.9916 | 23.0006 | 23.0018 | 97.154 | 4 | 0
| 99 | 7.9991 | 31.1371 | 2.3182 | 0.9937 | 84.6672 | 5.4346 | 7.7666 | 79.4791 | 29.562 | 7.99 | 23.0065 | 23.0078 | 98.146 | 4 | 0
| 100 | 7.9937 | 31.1464 | 2.3159 | 0.8898 | 84.4167 | 5.4193 | 7.7448 | 79.2538 | 29.5758 | 7.9845 | 23.0182 | 23.0194 | 99.137 | 4 | 0
| 101 | 7.9889 | 31.1573 | 2.3132 | 0.8046 | 85.5324 | 5.4145 | 7.7379 | 79.1824 | 29.5909 | 7.9796 | 23.0306 | 23.0319 | 100.128 | 4 | 0
| 102 | 7.986 | 31.1657 | 2.3102 | 0.8909 | 85.7753 | 5.4009 | 7.7185 | 78.9838 | 29.6018 | 7.9766 | 23.0395 | 23.0408 | 101.119 | 5 | 0
| 103 | 7.979 | 31.1671 | 2.3045 | 0.7996 | 85.0975 | 5.3842 | 7.6946 | 78.7309 | 29.6088 | 7.9695 | 23.046 | 23.0473 | 102.11 | 6 | 0
| 104 | 7.9745 | 31.1664 | 2.3005 | 0.8162 | 83.711 | 5.3816 | 7.6909 | 78.6859 | 29.6114 | 7.9649 | 23.0486 | 23.0499 | 103.101 | 7 | 0
| 105 | 7.9716 | 31.1707 | 2.2994 | 0.8597 | 82.6462 | 5.3819 | 7.6913 | 78.6886 | 29.618 | 7.9619 | 23.0542 | 23.0556 | 104.092 | 5 | 0
| 106 | 7.9701 | 31.1766 | 2.298 | 0.8752 | 81.8285 | 5.3759 | 7.6827 | 78.6014 | 29.625 | 7.9603 | 23.0599 | 23.0612 | 105.084 | 5 | 0
| 107 | 7.9673 | 31.1795 | 2.2964 | 0.7977 | 80.8969 | 5.3709 | 7.6756 | 78.5258 | 29.63 | 7.9575 | 23.0642 | 23.0656 | 106.074 | 5 | 0
| 108 | 7.9675 | 31.1846 | 2.2949 | 0.811 | 82.6275 | 5.3679 | 7.6713 | 78.4852 | 29.6347 | 7.9576 | 23.0678 | 23.0692 | 107.066 | 5 | 0
| 109 | 7.9679 | 31.186 | 2.2944 | 0.7948 | 83.7456 | 5.3704 | 7.6748 | 78.5223 | 29.6354 | 7.9579 | 23.0685 | 23.0698 | 108.057 | 4 | 0
| 110 | 7.9674 | 31.191 | 2.2945 | 0.8058 | 83.6753 | 5.3701 | 7.6744 | 78.5195 | 29.6408 | 7.9572 | 23.0726 | 23.074 | 109.048 | 5 | 0
| 111 | 7.9655 | 31.1983 | 2.2928 | 0.8135 | 82.6893 | 5.3591 | 7.6586 | 78.3595 | 29.6496 | 7.9552 | 23.0798 | 23.0812 | 110.039 | 4 | 0
| 112 | 7.9625 | 31.2033 | 2.2884 | 0.7773 | 81.8612 | 5.3417 | 7.6338 | 78.1042 | 29.6569 | 7.9522 | 23.086 | 23.0875 | 111.03 | 4 | 0
| 113 | 7.9615 | 31.2053 | 2.2859 | 0.796 | 81.6265 | 5.3406 | 7.6322 | 78.0872 | 29.6594 | 7.9511 | 23.0881 | 23.0895 | 112.021 | 4 | 0
| 114 | 7.9608 | 31.2064 | 2.2848 | 0.773 | 80.5293 | 5.3461 | 7.6402 | 78.1678 | 29.6608 | 7.9503 | 23.0893 | 23.0907 | 113.012 | 5 | 0
| 115 | 7.96 | 31.207 | 2.2856 | 0.8282 | 81.1596 | 5.35 | 7.6456 | 78.2227 | 29.6616 | 7.9494 | 23.09 | 23.0915 | 114.003 | 4 | 0
| 116 | 7.9598 | 31.2085 | 2.2854 | 0.7596 | 82.1645 | 5.3453 | 7.6389 | 78.1541 | 29.663 | 7.9491 | 23.0912 | 23.0926 | 114.994 | 5 | 0
| 117 | 7.9574 | 31.2132 | 2.2848 | 0.8715 | 82.3232 | 5.3466 | 7.6409 | 78.1736 | 29.6695 | 7.9467 | 23.0965 | 23.098 | 115.985 | 8 | 0
| 118 | 7.9575 | 31.2142 | 2.2818 | 0.8388 | 82.6637 | 5.3457 | 7.6396 | 78.1606 | 29.67 | 7.9466 | 23.097 | 23.0985 | 116.976 | 6 | 0