## 2014041800601
* | Sea-Bird | SBE19 | Data | File:
* | FileName | = | C:\Documents | and | Settings\Cheryl\2014Estuaries\20140418ComBay2\20140418001007.hex
* | Software | Version | 1.59
* | Temperature | SN | = | 2809
* | Conductivity | SN | = | 2809
* | System | UpLoad | Time | = | Apr | 18 | 2014 | 22:06
** | com | bay | 2 | 2014-04-18 | STP | station | 6
* | ds
* | SEACAT | PROFILER | V3.1b | SN | 2809 | 2014-04-18 | 17:32
* | strain | gauge | pressure | sensor: | SN | = | 193007, | range | = | 1000 | psia, | tc | = | -401
* | clk | = | 32768.188 | iop | = | 199 | vmain | = | 11.3 | vlith | = | 5.1
* | mode | = | PROFILE | ncasts | = | 10
* | sample | rate | = | 1 | scan | every | 0.5 | seconds
* | minimum | raw | conductivity | frequency | for | pump | turn | on | = | 1000 | hertz
* | pump | delay | = | 40 | seconds
* | samples | = | 16844 | free | = | 70220 | lwait | = | 0 | msec
* | SW1 | = | C8 | battery | cutoff | = | 7.3 | volts
* | number | of | voltages | sampled | = | 4
* | logdata | = | NO
* | S>
* | dh
* | cast | 7 | 2014-04-18 | 13:10 | samples | 12877 | to | 14334 | sample | rate | = | 1 | scan | every | 0.5 | seconds | stop | = | switch | off
* | S>
# | nquan | = | 16
# | nvalues | = | 40
# | units | = | specified
# | name | 0 | = | prSM: | Pressure, | Strain | Gauge | [db]
# | name | 1 | = | t090C: | Temperature | [ITS-90, | deg | C]
# | name | 2 | = | c0mS/cm: | Conductivity | [mS/cm]
# | name | 3 | = | sbeox0V: | Oxygen | Voltage, | SBE | 43
# | name | 4 | = | wetStar: | Fluorescence, | Wetlab | Wetstar | [mg/m^3]
# | name | 5 | = | xmiss: | Beam | Transmission, | Chelsea/Seatech/Wetlab | CStar | [%]
# | name | 6 | = | sbeox0ML/L: | Oxygen, | SBE | 43 | [ml/l], | WS | = | 2
# | name | 7 | = | sbeox0Mg/L: | Oxygen, | SBE | 43 | [mg/l], | WS | = | 2
# | name | 8 | = | sbeox0PS: | Oxygen, | SBE | 43 | [% | saturation], | WS | = | 2
# | name | 9 | = | sal00: | Salinity | [PSU]
# | name | 10 | = | potemp090C: | Potential | Temperature | [ITS-90, | deg | C]
# | name | 11 | = | sigma-t00: | Density | [sigma-t, | Kg/m^3 | ]
# | name | 12 | = | sigma-é00: | Density | [sigma-theta, | Kg/m^3]
# | name | 13 | = | depSM: | Depth | [salt | water, | m], | lat | = | 48
# | name | 14 | = | nbin: | number | of | scans | per | bin
# | name | 15 | = | flag: | flag
# | span | 0 | = | 1.000, | 40
# | span | 1 | = | 8.3778, | 9.0937
# | span | 2 | = | 27.721407, | 30.8933
# | span | 3 | = | 2.5663, | 3.0768
# | span | 4 | = | 2.5913, | 6.6759
# | span | 5 | = | 73.1961, | 89.1308
# | span | 6 | = | 6.09101, | 7.54
# | span | 7 | = | 8.70466, | 10.7753
# | span | 8 | = | 89.53111, | 109.9237
# | span | 9 | = | 25.2735, | 29.0105
# | span | 10 | = | 8.3748, | 9.0937
# | span | 11 | = | 19.5025, | 22.5209
# | span | 12 | = | 19.5025, | 22.5215
# | span | 13 | = | 0.992, | 39.66
# | span | 14 | = | 4, | 15
# | span | 15 | = | 0.0000e+00, | 0
# | interval | = | decibars: | 1
# | start_time | = | Apr | 18 | 2014 | 13:10
# | bad_flag | = | -9.99e-29
# | sensor | 0 | = | Frequency | 0 | temperature, | 2809, | 2013-11-13
# | sensor | 1 | = | Frequency | 1 | conductivity, | 2809, | 13-Nov-13, | cpcor | = | -9.57e-08
# | sensor | 2 | = | Extrnl | Volt | 0 | Oxygen, | SBE, | primary, | 1380, | 2013-11-21
# | sensor | 3 | = | Extrnl | Volt | 1 | transmissometer, | primary, | CST-482PR, | 2013-12-24
# | sensor | 4 | = | Extrnl | Volt | 2 | WET | Labs, | WETStar | fluorometer, | WS1S-785, | 2012-03-07
# | sensor | 5 | = | Pressure | Voltage, | 2809, | 2013-11-05
# | datcnv_date | = | Apr | 21 | 2014 | 00:38:19, | 7.18d
# | datcnv_in | = | c:\ctdtemp\2014041800601.hex | c:\ctdtemp\2809.con
# | datcnv_skipover | = | 0
# | datcnv_ox_hysteresis_correction | = | yes
# | filter_date | = | Apr | 21 | 2014 | 00:38:20, | 7.18d
# | filter_in | = | c:\ctdtemp\2014041800601.cnv
# | filter_low_pass_tc_A | = | 0.5
# | filter_low_pass_tc_B | = | 2
# | filter_low_pass_A_vars | = | t090C | c0mS/cm
# | filter_low_pass_B_vars | = | prSM
# | alignctd_date | = | Apr | 21 | 2014 | 00:38:21, | 7.18d
# | alignctd_in | = | c:\ctdtemp\2014041800601.cnv
# | alignctd_adv | = | t090C | 0.500, | sbeox0V | 4
# | celltm_date | = | Apr | 21 | 2014 | 00:38:21, | 7.18d
# | celltm_in | = | c:\ctdtemp\2014041800601.cnv
# | celltm_alpha | = | 0.0400, | 0
# | celltm_tau | = | 8.0000, | 0
# | celltm_temp_sensor_use_for_cond | = | primary,
# | loopedit_date | = | Apr | 21 | 2014 | 00:38:22, | 7.18d
# | loopedit_in | = | c:\ctdtemp\2014041800601.cnv
# | loopedit_minVelocity | = | 0.1
# | loopedit_surfaceSoak: | do | not | remove
# | loopedit_excl_bad_scans | = | yes
# | Derive_date | = | Apr | 21 | 2014 | 00:38:22, | 7.18d
# | Derive_in | = | c:\ctdtemp\2014041800601.cnv | c:\ctdtemp\2809.con
# | derive_time_window_docdt | = | seconds: | 2
# | derive_ox_tau_correction | = | yes
# | binavg_date | = | Apr | 21 | 2014 | 00:38:23, | 7.18d
# | binavg_in | = | c:\ctdtemp\2014041800601.cnv
# | binavg_bintype | = | decibars
# | binavg_binsize | = | 1
# | binavg_excl_bad_scans | = | yes
# | binavg_skipover | = | 0
# | binavg_surface_bin | = | no, | min | = | 0.000, | max | = | 0.000, | value | = | 0
# | file_type | = | ascii
*END*
| 1 | 9.0937 | 27.7214 | 3.0768 | 3.5454 | 73.1961 | 7.54 | 10.7753 | 109.9237 | 25.2735 | 9.0937 | 19.5025 | 19.5025 | 0.992 | 12 | 0
| 2 | 8.8474 | 30.182 | 2.9969 | 5.4471 | 82.4509 | 7.2793 | 10.4029 | 107.3734 | 27.9199 | 8.8472 | 21.6022 | 21.6022 | 1.983 | 15 | 0
| 3 | 8.7301 | 30.6197 | 2.9056 | 6.6759 | 82.7876 | 6.9801 | 9.9752 | 103.0485 | 28.4625 | 8.7298 | 22.0432 | 22.0432 | 2.975 | 9 | 0
| 4 | 8.6887 | 30.624 | 2.8675 | 5.8521 | 84.024 | 6.9103 | 9.8755 | 101.9477 | 28.5 | 8.6883 | 22.0785 | 22.0785 | 3.966 | 9 | 0
| 5 | 8.6568 | 30.6532 | 2.8182 | 5.8391 | 84.1605 | 6.7345 | 9.6243 | 99.3179 | 28.5554 | 8.6563 | 22.1263 | 22.1264 | 4.958 | 7 | 0
| 6 | 8.6063 | 30.7315 | 2.8023 | 5.8189 | 82.3362 | 6.801 | 9.7193 | 100.2632 | 28.6764 | 8.6057 | 22.2282 | 22.2282 | 5.95 | 6 | 0
| 7 | 8.6501 | 30.7613 | 2.8219 | 4.9251 | 84.0435 | 6.8551 | 9.7966 | 101.1573 | 28.6712 | 8.6494 | 22.2179 | 22.2179 | 6.941 | 6 | 0
| 8 | 8.6653 | 30.7651 | 2.8359 | 5.245 | 85.3827 | 6.8796 | 9.8316 | 101.5478 | 28.6625 | 8.6645 | 22.2088 | 22.2089 | 7.933 | 6 | 0
| 9 | 8.6729 | 30.7723 | 2.849 | 4.7478 | 86.3032 | 6.9326 | 9.9074 | 102.3488 | 28.6633 | 8.6721 | 22.2084 | 22.2085 | 8.924 | 6 | 0
| 10 | 8.684 | 30.7848 | 2.8495 | 5.2433 | 86.5923 | 6.8266 | 9.7559 | 100.8107 | 28.6667 | 8.683 | 22.2095 | 22.2096 | 9.916 | 6 | 0
| 11 | 8.6156 | 30.731 | 2.7651 | 5.4233 | 86.7648 | 6.4952 | 9.2822 | 95.7686 | 28.6664 | 8.6145 | 22.219 | 22.2191 | 10.907 | 7 | 0
| 12 | 8.5214 | 30.7019 | 2.6722 | 4.5477 | 84.2534 | 6.2926 | 8.9927 | 92.6116 | 28.7123 | 8.5203 | 22.2683 | 22.2684 | 11.899 | 8 | 0
| 13 | 8.4833 | 30.7142 | 2.6582 | 3.9062 | 81.0025 | 6.4453 | 9.211 | 94.8047 | 28.7557 | 8.4821 | 22.3076 | 22.3078 | 12.891 | 7 | 0
| 14 | 8.5648 | 30.7817 | 2.7286 | 3.5589 | 81.8655 | 6.6588 | 9.5161 | 98.1275 | 28.7586 | 8.5634 | 22.2984 | 22.2986 | 13.882 | 6 | 0
| 15 | 8.606 | 30.8023 | 2.7726 | 4.43 | 83.8955 | 6.7374 | 9.6284 | 99.3693 | 28.746 | 8.6046 | 22.2826 | 22.2828 | 14.873 | 6 | 0
| 16 | 8.6256 | 30.815 | 2.7794 | 4.4661 | 84.6052 | 6.6787 | 9.5446 | 98.5462 | 28.7428 | 8.6241 | 22.2773 | 22.2775 | 15.865 | 6 | 0
| 17 | 8.6043 | 30.7939 | 2.7591 | 4.4578 | 86.0359 | 6.6057 | 9.4402 | 97.418 | 28.738 | 8.6027 | 22.2766 | 22.2768 | 16.857 | 6 | 0
| 18 | 8.5831 | 30.7843 | 2.7292 | 4.4011 | 84.8965 | 6.4749 | 9.2533 | 95.4487 | 28.7448 | 8.5814 | 22.2849 | 22.2852 | 17.848 | 7 | 0
| 19 | 8.516 | 30.7603 | 2.6562 | 4.1128 | 84.1278 | 6.2588 | 8.9445 | 92.1415 | 28.7742 | 8.5142 | 22.3175 | 22.3178 | 18.84 | 9 | 0
| 20 | 8.4681 | 30.7531 | 2.6097 | 3.2718 | 82.7844 | 6.2002 | 8.8608 | 91.1975 | 28.8054 | 8.4662 | 22.3487 | 22.3489 | 19.831 | 8 | 0
| 21 | 8.4472 | 30.7467 | 2.5993 | 3.3058 | 80.6535 | 6.1795 | 8.8312 | 90.8562 | 28.8155 | 8.4452 | 22.3594 | 22.3597 | 20.823 | 5 | 0
| 22 | 8.4428 | 30.7421 | 2.5943 | 3.1757 | 80.1394 | 6.163 | 8.8076 | 90.6029 | 28.8139 | 8.4407 | 22.3589 | 22.3592 | 21.814 | 4 | 0
| 23 | 8.4364 | 30.7351 | 2.5869 | 3.0991 | 79.8969 | 6.1374 | 8.7709 | 90.2117 | 28.8115 | 8.4342 | 22.3579 | 22.3582 | 22.806 | 4 | 0
| 24 | 8.4305 | 30.7327 | 2.5815 | 3.2581 | 79.7855 | 6.1367 | 8.7699 | 90.1906 | 28.8134 | 8.4282 | 22.3602 | 22.3605 | 23.797 | 6 | 0
| 25 | 8.4298 | 30.7323 | 2.5813 | 3.2261 | 79.7816 | 6.1453 | 8.7822 | 90.3154 | 28.8131 | 8.4275 | 22.36 | 22.3604 | 24.789 | 5 | 0
| 26 | 8.4306 | 30.7325 | 2.5805 | 3.3873 | 79.6403 | 6.1469 | 8.7846 | 90.3408 | 28.8122 | 8.4281 | 22.3593 | 22.3596 | 25.78 | 6 | 0
| 27 | 8.434 | 30.7372 | 2.5844 | 3.1704 | 79.6393 | 6.167 | 8.8133 | 90.6443 | 28.8138 | 8.4315 | 22.3601 | 22.3604 | 26.772 | 6 | 0
| 28 | 8.4413 | 30.753 | 2.606 | 3.213 | 79.7977 | 6.3121 | 9.0206 | 92.7974 | 28.8239 | 8.4387 | 22.3668 | 22.3672 | 27.763 | 5 | 0
| 29 | 8.4747 | 30.8609 | 2.6442 | 3.2792 | 82.0176 | 6.343 | 9.0648 | 93.3733 | 28.9079 | 8.4719 | 22.4279 | 22.4283 | 28.755 | 5 | 0
| 30 | 8.466 | 30.8515 | 2.6215 | 3.0746 | 89.1308 | 6.1779 | 8.8288 | 90.9233 | 28.9049 | 8.4632 | 22.4268 | 22.4272 | 29.746 | 5 | 0
| 31 | 8.4081 | 30.8128 | 2.5875 | 3.0165 | 85.3144 | 6.091 | 8.7047 | 89.5311 | 28.9118 | 8.4052 | 22.4404 | 22.4408 | 30.738 | 5 | 0
| 32 | 8.3778 | 30.7986 | 2.5663 | 2.827 | 83.6178 | 6.0969 | 8.7131 | 89.5622 | 28.9215 | 8.3748 | 22.4523 | 22.4527 | 31.729 | 5 | 0
| 33 | 8.3821 | 30.8166 | 2.5721 | 2.7131 | 81.4576 | 6.1432 | 8.7793 | 90.2595 | 28.9362 | 8.379 | 22.4632 | 22.4636 | 32.72 | 5 | 0
| 34 | 8.3974 | 30.8353 | 2.5843 | 2.7655 | 82.8315 | 6.2035 | 8.8654 | 91.1801 | 28.9428 | 8.3942 | 22.4661 | 22.4666 | 33.712 | 5 | 0
| 35 | 8.42 | 30.8818 | 2.6021 | 2.5913 | 82.7472 | 6.2352 | 8.9107 | 91.7106 | 28.9719 | 8.4167 | 22.4858 | 22.4862 | 34.703 | 5 | 0
| 36 | 8.4301 | 30.8919 | 2.6101 | 2.8987 | 81.6083 | 6.2453 | 8.9251 | 91.8815 | 28.9737 | 8.4267 | 22.4857 | 22.4862 | 35.695 | 7 | 0
| 37 | 8.4334 | 30.8933 | 2.6137 | 3.2089 | 81.3738 | 6.2382 | 8.915 | 91.7831 | 28.972 | 8.4299 | 22.4839 | 22.4844 | 36.686 | 6 | 0
| 38 | 8.4178 | 30.893 | 2.6011 | 3.2022 | 81.2649 | 6.1807 | 8.8329 | 90.9129 | 28.9842 | 8.4142 | 22.4956 | 22.4961 | 37.678 | 7 | 0
| 39 | 8.3939 | 30.8917 | 2.5892 | 3.3034 | 78.7201 | 6.162 | 8.8061 | 90.5988 | 29.002 | 8.3903 | 22.513 | 22.5135 | 38.669 | 8 | 0
| 40 | 8.3845 | 30.8928 | 2.5785 | 3.5446 | 78.5003 | 6.1316 | 8.7627 | 90.1377 | 29.0105 | 8.3808 | 22.5209 | 22.5215 | 39.66 | 8 | 0