## 20140426002
* | Sea-Bird | SBE | 19 | Data | File:
* | FileName | = | C:\Program | Files\Sea-Bird\Seasave-Win32\CTD | files\UWTacoma\2014\20140426002.hex
* | Software | Version | Seasave | V | 7.21d
* | Temperature | SN | = | 121
* | Conductivity | SN | = | 121
* | System | UpLoad | Time | = | Apr | 26 | 2014 | 13:48
** | Ship: | Cenntenial
** | Station: | 2
** | Operator: | Greengrove
** | 2014 | UWT | Estuaries
* | Real-Time | Sample | Interval | = | 0.5 | seconds
* | System | UTC | = | Apr | 26 | 2014 | 20:48
# | nquan | = | 14
# | nvalues | = | 141
# | units | = | specified
# | name | 0 | = | prSM: | Pressure, | Strain | Gauge | [db]
# | name | 1 | = | t090C: | Temperature | [ITS-90, | deg | C]
# | name | 2 | = | c0S/m: | Conductivity | [S/m]
# | name | 3 | = | sbeox0V: | Oxygen | raw, | SBE | 43 | [V]
# | name | 4 | = | wetStar: | Fluorescence, | WET | Labs | WETstar | [mg/m^3]
# | name | 5 | = | sbeox0ML/L: | Oxygen, | SBE | 43 | [ml/l], | WS | = | 2
# | name | 6 | = | sbeox0Mg/L: | Oxygen, | SBE | 43 | [mg/l], | WS | = | 2
# | name | 7 | = | sbeox0PS: | Oxygen, | SBE | 43 | [% | saturation], | WS | = | 2
# | name | 8 | = | sal00: | Salinity, | Practical | [PSU]
# | name | 9 | = | potemp090C: | Potential | Temperature | [ITS-90, | deg | C]
# | name | 10 | = | sigma-t00: | Density | [sigma-t, | Kg/m^3 | ]
# | name | 11 | = | sigma-é00: | Density | [sigma-theta, | Kg/m^3]
# | name | 12 | = | depSM: | Depth | [salt | water, | m], | lat | = | 48
# | name | 13 | = | flag: | flag
# | span | 0 | = | 1.000, | 141
# | span | 1 | = | 8.4987, | 8.5124
# | span | 2 | = | 3.272179, | 3.2848
# | span | 3 | = | 1.8837, | 1.9208
# | span | 4 | = | 0.6082, | 1.7204
# | span | 5 | = | 4.45365, | 4.6139
# | span | 6 | = | 6.36471, | 6.5937
# | span | 7 | = | 66.43822, | 68.8268
# | span | 8 | = | 30.8250, | 30.9034
# | span | 9 | = | 8.4879, | 8.5124
# | span | 10 | = | 23.9234, | 23.9863
# | span | 11 | = | 23.9233, | 23.9881
# | span | 12 | = | 0.992, | 139.769
# | span | 13 | = | 0.0000e+00, | 0
# | interval | = | decibars: | 1
# | start_time | = | Apr | 26 | 2014 | 20:48 | [System | UTC, | header]
# | bad_flag | = | -9.99e-29
# | <Sensors | count="5" | >
# | <sensor | Channel="1" | >
# | <!-- | Frequency | 0, | Temperature | -->
# | <TemperatureSensor | SensorID="55" | >
# | <SerialNumber>0121</SerialNumber>
# | <CalibrationDate>14-Jun-11</CalibrationDate>
# | <UseG_J>1</UseG_J>
# | <A>0.00000000e+000</A>
# | <B>0.00000000e+000</B>
# | <C>0.00000000e+000</C>
# | <D>0.00000000e+000</D>
# | <F0_Old>0.000</F0_Old>
# | <G>4.16055157e-003</G>
# | <H>6.01629191e-004</H>
# | <I>2.08404450e-006</I>
# | <J>-2.13347257e-006</J>
# | <F0>1000.000</F0>
# | <Slope>1.00000000</Slope>
# | <Offset>0.0000</Offset>
# | </TemperatureSensor>
# | </sensor>
# | <sensor | Channel="2" | >
# | <!-- | Frequency | 1, | Conductivity | -->
# | <ConductivitySensor | SensorID="3" | >
# | <SerialNumber>0121</SerialNumber>
# | <CalibrationDate>14-Jun-11</CalibrationDate>
# | <UseG_J>1</UseG_J>
# | <!-- | Cell | const | and | series | R | are | applicable | only | for | wide | range | sensors. | -->
# | <SeriesR>0.0000</SeriesR>
# | <CellConst>2000.0000</CellConst>
# | <ConductivityType>0</ConductivityType>
# | <Coefficients | equation="0" | >
# | <A>0.00000000e+000</A>
# | <B>0.00000000e+000</B>
# | <C>0.00000000e+000</C>
# | <D>0.00000000e+000</D>
# | <M>0.0</M>
# | <CPcor>-9.57000000e-008</CPcor>
# | </Coefficients>
# | <Coefficients | equation="1" | >
# | <G>-4.14981290e+000</G>
# | <H>4.95609866e-001</H>
# | <I>9.84618526e-004</I>
# | <J>-1.00863889e-005</J>
# | <CPcor>-9.57000000e-008</CPcor>
# | <CTcor>3.2500e-006</CTcor>
# | <!-- | WBOTC | not | applicable | unless | ConductivityType | = | 1 | -->
# | <WBOTC>0.00000000e+000</WBOTC>
# | </Coefficients>
# | <Slope>1.00000000</Slope>
# | <Offset>0.00000</Offset>
# | </ConductivitySensor>
# | </sensor>
# | <sensor | Channel="3" | >
# | <!-- | A/D | voltage | 0, | Oxygen, | SBE | 43 | -->
# | <OxygenSensor | SensorID="38" | >
# | <SerialNumber>1254</SerialNumber>
# | <CalibrationDate>Mar | 2013</CalibrationDate>
# | <Use2007Equation>1</Use2007Equation>
# | <CalibrationCoefficients | equation="0" | >
# | <!-- | Coefficients | for | Owens-Millard | equation. | -->
# | <Boc>0.0000</Boc>
# | <Soc>0.0000e+000</Soc>
# | <offset>0.0000</offset>
# | <Pcor>0.00e+000</Pcor>
# | <Tcor>0.0000</Tcor>
# | <Tau>0.0</Tau>
# | </CalibrationCoefficients>
# | <CalibrationCoefficients | equation="1" | >
# | <!-- | Coefficients | for | Sea-Bird | equation | - | SBE | calibration | in | 2007 | and | later. | -->
# | <Soc>4.8540e-001</Soc>
# | <offset>-0.4992</offset>
# | <A>-2.0471e-003</A>
# | <B> | 1.3501e-004</B>
# | <C>-2.8867e-006</C>
# | <D0> | 2.5826e+000</D0>
# | <D1> | 1.92634e-004</D1>
# | <D2>-4.64803e-002</D2>
# | <E> | 3.6000e-002</E>
# | <Tau20> | 1.3200</Tau20>
# | <H1>-3.3000e-002</H1>
# | <H2> | 5.0000e+003</H2>
# | <H3> | 1.4500e+003</H3>
# | </CalibrationCoefficients>
# | </OxygenSensor>
# | </sensor>
# | <sensor | Channel="4" | >
# | <!-- | A/D | voltage | 1, | Fluorometer, | WET | Labs | WETstar | -->
# | <FluoroWetlabWetstarSensor | SensorID="21" | >
# | <SerialNumber>WS3S-827P</SerialNumber>
# | <CalibrationDate>29-Jul-2010</CalibrationDate>
# | <ScaleFactor>15.000</ScaleFactor>
# | <!-- | Blank | output | -->
# | <Vblank>0.049</Vblank>
# | </FluoroWetlabWetstarSensor>
# | </sensor>
# | <sensor | Channel="5" | >
# | <!-- | Pressure | voltage, | Pressure, | Strain | Gauge | -->
# | <PressureSensor | SensorID="49" | >
# | <SerialNumber>142916</SerialNumber>
# | <CalibrationDate>15-Jun-11</CalibrationDate>
# | <A0>1.486435e+002</A0>
# | <A1>-3.890722e-002</A1>
# | <A2>3.106135e-008</A2>
# | <Offset>0.00000</Offset>
# | </PressureSensor>
# | </sensor>
# | </Sensors>
# | datcnv_date | = | Apr | 26 | 2014 | 15:56:44, | 7.21d | [datcnv_vars | = | 5]
# | datcnv_in | = | C:\Program | Files\Sea-Bird\Seasave-Win32\CTD | files\UWTacoma\2014\20140426002.hex | C:\JEMS\FHL19_2013.xmlcon
# | datcnv_skipover | = | 0
# | datcnv_ox_hysteresis_correction | = | yes
# | filter_date | = | Apr | 26 | 2014 | 16:00:26, | 7.21d
# | filter_in | = | C:\Program | Files\Sea-Bird\Seasave-Win32\CTD | files\UWTacoma\2014\20140426002.cnv
# | filter_low_pass_tc_A | = | 0.5
# | filter_low_pass_tc_B | = | 2
# | filter_low_pass_A_vars | = | c0S/m
# | filter_low_pass_B_vars | = | prSM
# | alignctd_date | = | Apr | 26 | 2014 | 16:03:50, | 7.21d
# | alignctd_in | = | C:\Program | Files\Sea-Bird\Seasave-Win32\CTD | files\UWTacoma\2014\20140426002.cnv
# | alignctd_adv | = | t090C | 0.500, | sbeox0V | 4
# | alignctd_date | = | Apr | 26 | 2014 | 16:04:27, | 7.21d
# | alignctd_in | = | C:\Program | Files\Sea-Bird\Seasave-Win32\CTD | files\UWTacoma\2014\20140426002.cnv
# | alignctd_adv | = | t090C | 0.500, | sbeox0V | 4
# | celltm_date | = | Apr | 26 | 2014 | 16:05:51, | 7.21d
# | celltm_in | = | C:\Program | Files\Sea-Bird\Seasave-Win32\CTD | files\UWTacoma\2014\20140426002.cnv
# | celltm_alpha | = | 0.0400, | 0
# | celltm_tau | = | 8.0000, | 0
# | celltm_temp_sensor_use_for_cond | = | primary,
# | loopedit_date | = | Apr | 26 | 2014 | 16:08:07, | 7.21d
# | loopedit_in | = | C:\Program | Files\Sea-Bird\Seasave-Win32\CTD | files\UWTacoma\2014\20140426002.cnv
# | loopedit_minVelocity | = | 0.1
# | loopedit_surfaceSoak: | minDepth | = | 5.0, | maxDepth | = | 20, | useDeckPress | = | 1
# | loopedit_excl_bad_scans | = | yes
# | Derive_date | = | Apr | 26 | 2014 | 16:11:39, | 7.21d | [derive_vars | = | 8]
# | Derive_in | = | C:\Program | Files\Sea-Bird\Seasave-Win32\CTD | files\UWTacoma\2014\20140426002.cnv | C:\Program | Files\Sea-Bird\Seasave-Win32\CTD | files\UWTacoma\2014\20140426002.XMLCON
# | derive_time_window_docdt | = | seconds: | 2
# | derive_ox_tau_correction | = | yes
# | binavg_date | = | Apr | 26 | 2014 | 16:12:41, | 7.21d
# | binavg_in | = | C:\Program | Files\Sea-Bird\Seasave-Win32\CTD | files\UWTacoma\2014\20140426002.cnv
# | binavg_bintype | = | decibars
# | binavg_binsize | = | 1
# | binavg_excl_bad_scans | = | yes
# | binavg_skipover | = | 0
# | binavg_surface_bin | = | no, | min | = | 0.000, | max | = | 0.000, | value | = | 0
# | file_type | = | ascii
*END*
| 1 | 8.5124 | 3.2725 | 1.8849 | 0.6082 | 4.4536 | 6.3647 | 66.4382 | 30.825 | 8.5124 | 23.9234 | 23.9233 | 0.992 | 0
| 2 | 8.5072 | 3.2722 | 1.8837 | 0.6303 | 4.4637 | 6.379 | 66.5802 | 30.826 | 8.507 | 23.9249 | 23.9249 | 1.983 | 0
| 3 | 8.5058 | 3.2734 | 1.8846 | 0.6386 | 4.4726 | 6.3918 | 66.7176 | 30.8394 | 8.5055 | 23.9356 | 23.9356 | 2.975 | 0
| 4 | 8.5019 | 3.2726 | 1.8858 | 0.7225 | 4.4867 | 6.4119 | 66.9189 | 30.8337 | 8.5015 | 23.9317 | 23.9317 | 3.966 | 0
| 5 | 8.5022 | 3.2723 | 1.8923 | 0.7435 | 4.5186 | 6.4576 | 67.3942 | 30.8302 | 8.5017 | 23.9289 | 23.929 | 4.958 | 0
| 6 | 8.5019 | 3.2724 | 1.8977 | 0.8172 | 4.5296 | 6.4732 | 67.5576 | 30.831 | 8.5013 | 23.9295 | 23.9296 | 5.949 | 0
| 7 | 8.5019 | 3.2724 | 1.9011 | 0.7499 | 4.5349 | 6.4808 | 67.6363 | 30.8311 | 8.5012 | 23.9297 | 23.9298 | 6.941 | 0
| 8 | 8.5016 | 3.2725 | 1.9041 | 0.7749 | 4.55 | 6.5023 | 67.8613 | 30.8316 | 8.5008 | 23.93 | 23.9302 | 7.933 | 0
| 9 | 8.5021 | 3.2726 | 1.9077 | 0.8029 | 4.5563 | 6.5114 | 67.9562 | 30.8321 | 8.5012 | 23.9304 | 23.9305 | 8.924 | 0
| 10 | 8.5023 | 3.2727 | 1.9104 | 0.8221 | 4.565 | 6.5239 | 68.0875 | 30.8327 | 8.5013 | 23.9309 | 23.931 | 9.916 | 0
| 11 | 8.5028 | 3.2727 | 1.9119 | 0.8475 | 4.5594 | 6.5159 | 68.0041 | 30.8309 | 8.5017 | 23.9294 | 23.9296 | 10.908 | 0
| 12 | 8.5028 | 3.2728 | 1.9113 | 0.8595 | 4.5631 | 6.5211 | 68.059 | 30.8321 | 8.5016 | 23.9303 | 23.9305 | 11.899 | 0
| 13 | 8.5027 | 3.2729 | 1.9119 | 0.9745 | 4.5589 | 6.5151 | 67.9961 | 30.8324 | 8.5014 | 23.9306 | 23.9307 | 12.89 | 0
| 14 | 8.503 | 3.273 | 1.9118 | 1.1579 | 4.5693 | 6.53 | 68.1532 | 30.8335 | 8.5017 | 23.9314 | 23.9316 | 13.882 | 0
| 15 | 8.5029 | 3.2731 | 1.9135 | 0.9207 | 4.5693 | 6.5299 | 68.152 | 30.834 | 8.5015 | 23.9318 | 23.932 | 14.874 | 0
| 16 | 8.5034 | 3.2733 | 1.9139 | 0.9255 | 4.5755 | 6.5389 | 68.2466 | 30.8347 | 8.5018 | 23.9323 | 23.9325 | 15.865 | 0
| 17 | 8.5042 | 3.2733 | 1.9148 | 0.814 | 4.5761 | 6.5396 | 68.2551 | 30.8336 | 8.5025 | 23.9312 | 23.9315 | 16.857 | 0
| 18 | 8.5025 | 3.2732 | 1.9153 | 0.9015 | 4.5736 | 6.5361 | 68.2158 | 30.8341 | 8.5007 | 23.9319 | 23.9322 | 17.848 | 0
| 19 | 8.503 | 3.2734 | 1.9143 | 0.8344 | 4.5712 | 6.5327 | 68.1814 | 30.8355 | 8.5011 | 23.9329 | 23.9332 | 18.84 | 0
| 20 | 8.5028 | 3.2741 | 1.9147 | 0.8449 | 4.5747 | 6.5377 | 68.2366 | 30.8423 | 8.5009 | 23.9383 | 23.9386 | 19.831 | 0
| 21 | 8.5015 | 3.2746 | 1.9147 | 0.8191 | 4.5796 | 6.5448 | 68.3111 | 30.8485 | 8.4994 | 23.9434 | 23.9437 | 20.823 | 0
| 22 | 8.5003 | 3.2749 | 1.9158 | 1.4174 | 4.5791 | 6.544 | 68.3029 | 30.8512 | 8.4982 | 23.9456 | 23.946 | 21.814 | 0
| 23 | 8.503 | 3.2744 | 1.9159 | 1.0024 | 4.5863 | 6.5542 | 68.4105 | 30.8441 | 8.5008 | 23.9397 | 23.94 | 22.806 | 0
| 24 | 8.5035 | 3.2742 | 1.918 | 0.8414 | 4.591 | 6.561 | 68.4802 | 30.8411 | 8.5012 | 23.9373 | 23.9376 | 23.797 | 0
| 25 | 8.5038 | 3.2739 | 1.9184 | 0.9235 | 4.5915 | 6.5617 | 68.4865 | 30.8372 | 8.5013 | 23.9341 | 23.9345 | 24.789 | 0
| 26 | 8.5035 | 3.2739 | 1.9196 | 0.9768 | 4.5968 | 6.5692 | 68.5646 | 30.8373 | 8.5009 | 23.9342 | 23.9346 | 25.78 | 0
| 27 | 8.5048 | 3.2743 | 1.9183 | 0.8793 | 4.5805 | 6.5461 | 68.3259 | 30.8395 | 8.5021 | 23.9358 | 23.9362 | 26.772 | 0
| 28 | 8.5052 | 3.2745 | 1.9173 | 0.9159 | 4.5903 | 6.5599 | 68.4715 | 30.8404 | 8.5025 | 23.9365 | 23.9369 | 27.763 | 0
| 29 | 8.5049 | 3.2747 | 1.9186 | 0.9134 | 4.5996 | 6.5733 | 68.6117 | 30.8422 | 8.5021 | 23.9379 | 23.9384 | 28.755 | 0
| 30 | 8.504 | 3.2749 | 1.9206 | 0.905 | 4.6005 | 6.5745 | 68.6244 | 30.8453 | 8.5011 | 23.9405 | 23.9409 | 29.746 | 0
| 31 | 8.5046 | 3.2748 | 1.9192 | 0.824 | 4.5894 | 6.5588 | 68.4598 | 30.8428 | 8.5016 | 23.9384 | 23.9388 | 30.738 | 0
| 32 | 8.5071 | 3.2745 | 1.9193 | 0.8458 | 4.5984 | 6.5716 | 68.5955 | 30.8373 | 8.504 | 23.9338 | 23.9342 | 31.729 | 0
| 33 | 8.5074 | 3.2745 | 1.9187 | 0.8581 | 4.5916 | 6.5618 | 68.4932 | 30.8366 | 8.5042 | 23.9331 | 23.9336 | 32.72 | 0
| 34 | 8.5072 | 3.2746 | 1.9187 | 0.908 | 4.6012 | 6.5756 | 68.6367 | 30.8376 | 8.5039 | 23.9339 | 23.9344 | 33.712 | 0
| 35 | 8.508 | 3.2749 | 1.92 | 0.783 | 4.5997 | 6.5735 | 68.6169 | 30.8398 | 8.5045 | 23.9356 | 23.9361 | 34.703 | 0
| 36 | 8.5098 | 3.2756 | 1.9187 | 0.8249 | 4.589 | 6.5581 | 68.4617 | 30.8448 | 8.5062 | 23.9392 | 23.9398 | 35.695 | 0
| 37 | 8.5078 | 3.2749 | 1.9179 | 0.8399 | 4.5979 | 6.5709 | 68.5893 | 30.8387 | 8.5042 | 23.9347 | 23.9353 | 36.686 | 0
| 38 | 8.5073 | 3.2748 | 1.9186 | 0.8026 | 4.5989 | 6.5724 | 68.6035 | 30.8378 | 8.5036 | 23.9341 | 23.9347 | 37.678 | 0
| 39 | 8.508 | 3.2748 | 1.9178 | 0.795 | 4.5904 | 6.5601 | 68.476 | 30.8369 | 8.5042 | 23.9333 | 23.9339 | 38.669 | 0
| 40 | 8.5071 | 3.2748 | 1.9179 | 0.8493 | 4.6023 | 6.5771 | 68.6526 | 30.837 | 8.5032 | 23.9336 | 23.9341 | 39.66 | 0
| 41 | 8.508 | 3.2749 | 1.9192 | 0.8224 | 4.6051 | 6.5812 | 68.6962 | 30.837 | 8.504 | 23.9334 | 23.934 | 40.652 | 0
| 42 | 8.5083 | 3.2749 | 1.9204 | 0.9141 | 4.6139 | 6.5937 | 68.8268 | 30.8361 | 8.5042 | 23.9326 | 23.9332 | 41.643 | 0
| 43 | 8.5084 | 3.2749 | 1.9208 | 1.7204 | 4.602 | 6.5767 | 68.6499 | 30.8357 | 8.5042 | 23.9323 | 23.9329 | 42.635 | 0
| 44 | 8.5079 | 3.2749 | 1.9197 | 0.9201 | 4.6041 | 6.5798 | 68.681 | 30.836 | 8.5036 | 23.9326 | 23.9332 | 43.626 | 0
| 45 | 8.5085 | 3.2751 | 1.92 | 0.8048 | 4.606 | 6.5824 | 68.7095 | 30.8367 | 8.5041 | 23.9331 | 23.9337 | 44.617 | 0
| 46 | 8.5086 | 3.2751 | 1.9192 | 0.7753 | 4.5978 | 6.5708 | 68.5878 | 30.8358 | 8.504 | 23.9323 | 23.933 | 45.609 | 0
| 47 | 8.5083 | 3.2751 | 1.9192 | 0.8274 | 4.6122 | 6.5912 | 68.8015 | 30.8361 | 8.5037 | 23.9326 | 23.9333 | 46.6 | 0
| 48 | 8.5087 | 3.2752 | 1.9199 | 0.8162 | 4.6013 | 6.5758 | 68.6402 | 30.8358 | 8.504 | 23.9323 | 23.933 | 47.592 | 0
| 49 | 8.509 | 3.2752 | 1.9186 | 0.8265 | 4.5992 | 6.5728 | 68.6094 | 30.8358 | 8.5042 | 23.9323 | 23.933 | 48.583 | 0
| 50 | 8.5094 | 3.2753 | 1.9179 | 0.7706 | 4.6048 | 6.5807 | 68.6927 | 30.8358 | 8.5044 | 23.9322 | 23.9329 | 49.574 | 0
| 51 | 8.5091 | 3.2754 | 1.9177 | 0.8403 | 4.5989 | 6.5722 | 68.6045 | 30.8367 | 8.5041 | 23.933 | 23.9337 | 50.566 | 0
| 52 | 8.5089 | 3.2754 | 1.9177 | 0.8223 | 4.5983 | 6.5713 | 68.5949 | 30.8368 | 8.5038 | 23.9331 | 23.9339 | 51.557 | 0
| 53 | 8.5095 | 3.2755 | 1.9155 | 0.8885 | 4.5901 | 6.5598 | 68.4751 | 30.8369 | 8.5043 | 23.933 | 23.9338 | 52.548 | 0
| 54 | 8.5098 | 3.2756 | 1.9153 | 0.8345 | 4.5946 | 6.5662 | 68.5427 | 30.8366 | 8.5045 | 23.9328 | 23.9335 | 53.54 | 0
| 55 | 8.5108 | 3.2756 | 1.9147 | 0.8403 | 4.5944 | 6.5659 | 68.5406 | 30.836 | 8.5054 | 23.9322 | 23.933 | 54.531 | 0
| 56 | 8.5099 | 3.2758 | 1.9157 | 0.8008 | 4.602 | 6.5768 | 68.6533 | 30.8375 | 8.5044 | 23.9335 | 23.9343 | 55.523 | 0
| 57 | 8.5083 | 3.2759 | 1.9159 | 0.8477 | 4.5993 | 6.5729 | 68.6117 | 30.8405 | 8.5027 | 23.9361 | 23.9369 | 56.514 | 0
| 58 | 8.5071 | 3.2763 | 1.9159 | 1.0454 | 4.5979 | 6.5708 | 68.5906 | 30.8452 | 8.5015 | 23.94 | 23.9408 | 57.505 | 0
| 59 | 8.5057 | 3.2764 | 1.9144 | 0.7902 | 4.5928 | 6.5636 | 68.514 | 30.8469 | 8.5 | 23.9415 | 23.9423 | 58.496 | 0
| 60 | 8.5041 | 3.2769 | 1.9139 | 0.9181 | 4.5856 | 6.5532 | 68.4056 | 30.8527 | 8.4982 | 23.9463 | 23.9471 | 59.488 | 0
| 61 | 8.5011 | 3.2774 | 1.9118 | 0.9085 | 4.5865 | 6.5545 | 68.4179 | 30.8602 | 8.4952 | 23.9525 | 23.9534 | 60.479 | 0
| 62 | 8.5012 | 3.2777 | 1.9127 | 0.9655 | 4.5976 | 6.5705 | 68.5856 | 30.8627 | 8.4951 | 23.9545 | 23.9554 | 61.47 | 0
| 63 | 8.5015 | 3.2775 | 1.9116 | 0.8561 | 4.5829 | 6.5494 | 68.3651 | 30.8604 | 8.4954 | 23.9526 | 23.9535 | 62.462 | 0
| 64 | 8.5011 | 3.2778 | 1.9118 | 0.8386 | 4.5962 | 6.5684 | 68.5636 | 30.8626 | 8.4949 | 23.9544 | 23.9553 | 63.453 | 0
| 65 | 8.5006 | 3.2779 | 1.9126 | 0.8889 | 4.595 | 6.5667 | 68.5459 | 30.864 | 8.4943 | 23.9557 | 23.9566 | 64.444 | 0
| 66 | 8.5009 | 3.2779 | 1.9129 | 0.9159 | 4.5901 | 6.5597 | 68.4725 | 30.8636 | 8.4944 | 23.9553 | 23.9562 | 65.436 | 0
| 67 | 8.5007 | 3.278 | 1.9108 | 0.8056 | 4.5807 | 6.5463 | 68.3328 | 30.8639 | 8.4942 | 23.9555 | 23.9565 | 66.427 | 0
| 68 | 8.501 | 3.2781 | 1.909 | 0.8501 | 4.5832 | 6.5499 | 68.3711 | 30.8643 | 8.4943 | 23.9558 | 23.9568 | 67.418 | 0
| 69 | 8.5026 | 3.2786 | 1.9101 | 0.8581 | 4.5938 | 6.565 | 68.533 | 30.8682 | 8.4958 | 23.9586 | 23.9596 | 68.41 | 0
| 70 | 8.5023 | 3.2785 | 1.9098 | 0.8285 | 4.5799 | 6.5452 | 68.3249 | 30.8669 | 8.4955 | 23.9577 | 23.9587 | 69.401 | 0
| 71 | 8.5023 | 3.2781 | 1.9087 | 0.9016 | 4.5855 | 6.5531 | 68.4055 | 30.8622 | 8.4953 | 23.954 | 23.955 | 70.392 | 0
| 72 | 8.5015 | 3.2782 | 1.909 | 0.7622 | 4.5841 | 6.5511 | 68.3845 | 30.8633 | 8.4945 | 23.9549 | 23.956 | 71.383 | 0
| 73 | 8.5018 | 3.2781 | 1.9095 | 0.9714 | 4.5933 | 6.5642 | 68.521 | 30.8622 | 8.4946 | 23.954 | 23.955 | 72.374 | 0
| 74 | 8.5019 | 3.2784 | 1.909 | 0.9948 | 4.5818 | 6.5478 | 68.3505 | 30.8644 | 8.4946 | 23.9557 | 23.9567 | 73.366 | 0
| 75 | 8.5015 | 3.279 | 1.9089 | 0.8406 | 4.5909 | 6.5608 | 68.4886 | 30.8706 | 8.4941 | 23.9607 | 23.9618 | 74.357 | 0
| 76 | 8.5005 | 3.2799 | 1.9099 | 1.1656 | 4.5855 | 6.5532 | 68.4115 | 30.8801 | 8.493 | 23.9682 | 23.9693 | 75.348 | 0
| 77 | 8.4997 | 3.2802 | 1.9069 | 0.8426 | 4.5725 | 6.5346 | 68.2179 | 30.8835 | 8.4922 | 23.971 | 23.9721 | 76.339 | 0
| 78 | 8.5002 | 3.2801 | 1.9068 | 0.8846 | 4.5832 | 6.5499 | 68.3774 | 30.8813 | 8.4925 | 23.9692 | 23.9703 | 77.331 | 0
| 79 | 8.4999 | 3.28 | 1.9065 | 0.7859 | 4.5756 | 6.5389 | 68.2622 | 30.8809 | 8.4922 | 23.9689 | 23.97 | 78.322 | 0
| 80 | 8.4995 | 3.28 | 1.9052 | 0.8188 | 4.5793 | 6.5443 | 68.3173 | 30.8808 | 8.4917 | 23.9689 | 23.9701 | 79.313 | 0
| 81 | 8.5007 | 3.2801 | 1.9062 | 0.9249 | 4.5887 | 6.5577 | 68.4595 | 30.8805 | 8.4928 | 23.9685 | 23.9697 | 80.304 | 0
| 82 | 8.4998 | 3.2803 | 1.9083 | 0.7895 | 4.5935 | 6.5646 | 68.5306 | 30.8824 | 8.4918 | 23.9702 | 23.9713 | 81.296 | 0
| 83 | 8.5009 | 3.2796 | 1.9083 | 0.8382 | 4.5911 | 6.5612 | 68.4934 | 30.8739 | 8.4928 | 23.9633 | 23.9645 | 82.287 | 0
| 84 | 8.502 | 3.2791 | 1.9077 | 0.9093 | 4.5828 | 6.5493 | 68.3674 | 30.8672 | 8.4938 | 23.9579 | 23.9592 | 83.278 | 0
| 85 | 8.5015 | 3.2791 | 1.9074 | 0.8315 | 4.5928 | 6.5636 | 68.516 | 30.867 | 8.4931 | 23.9579 | 23.9591 | 84.269 | 0
| 86 | 8.5011 | 3.2793 | 1.9077 | 0.8354 | 4.5904 | 6.5602 | 68.4808 | 30.8697 | 8.4927 | 23.96 | 23.9612 | 85.261 | 0
| 87 | 8.5014 | 3.2793 | 1.909 | 0.8772 | 4.5984 | 6.5716 | 68.5997 | 30.8685 | 8.4929 | 23.959 | 23.9602 | 86.252 | 0
| 88 | 8.5013 | 3.2793 | 1.9086 | 0.8289 | 4.5919 | 6.5624 | 68.5033 | 30.8682 | 8.4927 | 23.9588 | 23.96 | 87.243 | 0
| 89 | 8.5027 | 3.2794 | 1.9072 | 0.8181 | 4.5877 | 6.5563 | 68.4421 | 30.8672 | 8.4939 | 23.9579 | 23.9591 | 88.234 | 0
| 90 | 8.5024 | 3.2794 | 1.9085 | 0.8617 | 4.5975 | 6.5703 | 68.5874 | 30.867 | 8.4935 | 23.9577 | 23.959 | 89.225 | 0
| 91 | 8.5029 | 3.2793 | 1.9083 | 0.9811 | 4.5936 | 6.5648 | 68.5295 | 30.8653 | 8.494 | 23.9563 | 23.9576 | 90.216 | 0
| 92 | 8.5026 | 3.2795 | 1.9074 | 0.9749 | 4.5901 | 6.5598 | 68.4775 | 30.867 | 8.4936 | 23.9576 | 23.959 | 91.208 | 0
| 93 | 8.5022 | 3.2796 | 1.9071 | 0.8592 | 4.5866 | 6.5547 | 68.4248 | 30.8687 | 8.4931 | 23.9591 | 23.9604 | 92.199 | 0
| 94 | 8.5022 | 3.2797 | 1.905 | 0.8815 | 4.5825 | 6.5488 | 68.3638 | 30.8693 | 8.493 | 23.9595 | 23.9608 | 93.19 | 0
| 95 | 8.5008 | 3.2808 | 1.9052 | 0.8275 | 4.5822 | 6.5484 | 68.3629 | 30.8809 | 8.4914 | 23.9688 | 23.9701 | 94.181 | 0
| 96 | 8.5009 | 3.2815 | 1.9033 | 0.8279 | 4.5749 | 6.538 | 68.2569 | 30.8876 | 8.4915 | 23.974 | 23.9754 | 95.172 | 0
| 97 | 8.5004 | 3.2815 | 1.9025 | 0.8263 | 4.5767 | 6.5406 | 68.2834 | 30.8881 | 8.4909 | 23.9745 | 23.9759 | 96.163 | 0
| 98 | 8.5004 | 3.2816 | 1.9017 | 0.8008 | 4.5741 | 6.5368 | 68.2444 | 30.8885 | 8.4908 | 23.9748 | 23.9763 | 97.155 | 0
| 99 | 8.5002 | 3.2817 | 1.9021 | 0.8618 | 4.5803 | 6.5457 | 68.3374 | 30.889 | 8.4905 | 23.9753 | 23.9767 | 98.146 | 0
| 100 | 8.5007 | 3.2818 | 1.9016 | 0.863 | 4.5763 | 6.54 | 68.2783 | 30.8899 | 8.4909 | 23.9759 | 23.9773 | 99.137 | 0
| 101 | 8.5009 | 3.2819 | 1.9016 | 0.8798 | 4.5806 | 6.5461 | 68.3427 | 30.89 | 8.491 | 23.976 | 23.9774 | 100.128 | 0
| 102 | 8.501 | 3.282 | 1.9025 | 0.8945 | 4.58 | 6.5453 | 68.3342 | 30.8901 | 8.491 | 23.976 | 23.9774 | 101.119 | 0
| 103 | 8.502 | 3.2826 | 1.9007 | 0.8446 | 4.5694 | 6.5301 | 68.1801 | 30.8952 | 8.4919 | 23.9799 | 23.9813 | 102.11 | 0
| 104 | 8.4994 | 3.2825 | 1.9001 | 0.859 | 4.5719 | 6.5336 | 68.213 | 30.8961 | 8.4892 | 23.9809 | 23.9824 | 103.101 | 0
| 105 | 8.5004 | 3.2821 | 1.8994 | 0.8386 | 4.5763 | 6.54 | 68.2784 | 30.8908 | 8.4901 | 23.9766 | 23.9781 | 104.092 | 0
| 106 | 8.5012 | 3.2822 | 1.9001 | 0.804 | 4.5762 | 6.5398 | 68.278 | 30.8904 | 8.4908 | 23.9762 | 23.9777 | 105.084 | 0
| 107 | 8.5001 | 3.2823 | 1.9001 | 0.7909 | 4.5781 | 6.5425 | 68.3051 | 30.8928 | 8.4896 | 23.9782 | 23.9797 | 106.074 | 0
| 108 | 8.4994 | 3.2828 | 1.9011 | 0.8534 | 4.5843 | 6.5514 | 68.3989 | 30.898 | 8.4888 | 23.9824 | 23.9839 | 107.066 | 0
| 109 | 8.4997 | 3.283 | 1.9007 | 0.8627 | 4.5731 | 6.5355 | 68.2337 | 30.8989 | 8.489 | 23.9831 | 23.9847 | 108.057 | 0
| 110 | 8.4987 | 3.283 | 1.8992 | 0.8522 | 4.5757 | 6.5392 | 68.2712 | 30.8996 | 8.4879 | 23.9838 | 23.9853 | 109.048 | 0
| 111 | 8.5 | 3.2829 | 1.9001 | 0.9173 | 4.5842 | 6.5512 | 68.3977 | 30.8966 | 8.4891 | 23.9812 | 23.9828 | 110.039 | 0
| 112 | 8.4996 | 3.2826 | 1.9007 | 0.7934 | 4.5827 | 6.5492 | 68.3739 | 30.8932 | 8.4886 | 23.9786 | 23.9802 | 111.03 | 0
| 113 | 8.5003 | 3.2823 | 1.9017 | 0.8098 | 4.5881 | 6.5569 | 68.454 | 30.8897 | 8.4892 | 23.9758 | 23.9774 | 112.021 | 0
| 114 | 8.5006 | 3.2822 | 1.9006 | 0.832 | 4.5758 | 6.5393 | 68.2707 | 30.888 | 8.4894 | 23.9744 | 23.976 | 113.012 | 0
| 115 | 8.5005 | 3.2827 | 1.8986 | 0.7655 | 4.572 | 6.5338 | 68.2148 | 30.8927 | 8.4892 | 23.9781 | 23.9798 | 114.003 | 0
| 116 | 8.5005 | 3.2835 | 1.8989 | 0.8211 | 4.5766 | 6.5405 | 68.288 | 30.9001 | 8.4891 | 23.9838 | 23.9855 | 114.994 | 0
| 117 | 8.501 | 3.2837 | 1.8985 | 0.7887 | 4.5826 | 6.549 | 68.3779 | 30.902 | 8.4895 | 23.9853 | 23.9869 | 115.985 | 0
| 118 | 8.5005 | 3.2838 | 1.8992 | 0.8546 | 4.5762 | 6.5398 | 68.2824 | 30.9032 | 8.4889 | 23.9863 | 23.988 | 116.976 | 0
| 119 | 8.5011 | 3.2838 | 1.8985 | 0.8524 | 4.5801 | 6.5454 | 68.3406 | 30.9021 | 8.4894 | 23.9854 | 23.9871 | 117.967 | 0
| 120 | 8.5014 | 3.2838 | 1.8989 | 0.8348 | 4.5791 | 6.544 | 68.326 | 30.9011 | 8.4896 | 23.9845 | 23.9863 | 118.958 | 0
| 121 | 8.5015 | 3.2838 | 1.8989 | 0.9019 | 4.5842 | 6.5512 | 68.402 | 30.9007 | 8.4896 | 23.9842 | 23.986 | 119.949 | 0
| 122 | 8.5017 | 3.2839 | 1.8993 | 0.8639 | 4.5775 | 6.5418 | 68.3033 | 30.9007 | 8.4897 | 23.9841 | 23.9859 | 120.941 | 0
| 123 | 8.5018 | 3.2839 | 1.8978 | 0.8776 | 4.5761 | 6.5396 | 68.2814 | 30.9008 | 8.4897 | 23.9842 | 23.986 | 121.931 | 0
| 124 | 8.5022 | 3.284 | 1.8982 | 0.9128 | 4.5822 | 6.5484 | 68.3728 | 30.9004 | 8.49 | 23.9839 | 23.9857 | 122.923 | 0
| 125 | 8.5012 | 3.2841 | 1.8985 | 0.9323 | 4.5751 | 6.5382 | 68.2664 | 30.9018 | 8.4889 | 23.9852 | 23.987 | 123.913 | 0
| 126 | 8.5015 | 3.2842 | 1.8959 | 1.051 | 4.5708 | 6.5321 | 68.2027 | 30.9028 | 8.4891 | 23.9858 | 23.9876 | 124.905 | 0
| 127 | 8.5017 | 3.2843 | 1.8973 | 0.873 | 4.5834 | 6.5501 | 68.3915 | 30.9034 | 8.4892 | 23.9862 | 23.9881 | 125.896 | 0
| 128 | 8.5021 | 3.2843 | 1.8976 | 0.9982 | 4.5752 | 6.5385 | 68.2701 | 30.9019 | 8.4895 | 23.985 | 23.9869 | 126.886 | 0
| 129 | 8.5021 | 3.2842 | 1.8953 | 0.9462 | 4.5681 | 6.5282 | 68.1629 | 30.9007 | 8.4894 | 23.9841 | 23.986 | 127.878 | 0
| 130 | 8.5021 | 3.2842 | 1.8961 | 0.8768 | 4.584 | 6.551 | 68.4002 | 30.9001 | 8.4893 | 23.9837 | 23.9856 | 128.869 | 0
| 131 | 8.5023 | 3.2842 | 1.8961 | 0.898 | 4.5732 | 6.5356 | 68.2395 | 30.8994 | 8.4894 | 23.983 | 23.9849 | 129.859 | 0
| 132 | 8.5027 | 3.2842 | 1.8964 | 0.9789 | 4.5835 | 6.5503 | 68.3934 | 30.8991 | 8.4897 | 23.9828 | 23.9847 | 130.85 | 0
| 133 | 8.5032 | 3.2842 | 1.8967 | 0.7862 | 4.5804 | 6.5458 | 68.3469 | 30.8985 | 8.4902 | 23.9823 | 23.9842 | 131.841 | 0
| 134 | 8.5032 | 3.2843 | 1.8974 | 1.0513 | 4.5832 | 6.5499 | 68.3895 | 30.8985 | 8.49 | 23.9823 | 23.9842 | 132.832 | 0
| 135 | 8.5036 | 3.2843 | 1.8952 | 0.8857 | 4.5651 | 6.524 | 68.12 | 30.8985 | 8.4903 | 23.9822 | 23.9841 | 133.824 | 0
| 136 | 8.5042 | 3.2848 | 1.8946 | 0.8415 | 4.5777 | 6.542 | 68.3101 | 30.9022 | 8.4908 | 23.985 | 23.9869 | 134.814 | 0
| 137 | 8.5034 | 3.2844 | 1.8958 | 0.8627 | 4.5804 | 6.5458 | 68.3471 | 30.8986 | 8.4899 | 23.9822 | 23.9842 | 135.805 | 0
| 138 | 8.5034 | 3.2845 | 1.8938 | 0.8461 | 4.558 | 6.5138 | 68.0127 | 30.8991 | 8.4898 | 23.9826 | 23.9846 | 136.796 | 0
| 139 | 8.5027 | 3.2847 | -9.99e-29 | 0.9397 | -9.99e-29 | -9.99e-29 | -9.99e-29 | 30.9016 | 8.4891 | 23.9848 | 23.9868 | 137.787 | 0
| 140 | 8.5034 | 3.2847 | -9.99e-29 | 1.0452 | -9.99e-29 | -9.99e-29 | -9.99e-29 | 30.8996 | 8.4896 | 23.9831 | 23.9851 | 138.778 | 0
| 141 | 8.5036 | 3.2845 | -9.99e-29 | 1.0073 | -9.99e-29 | -9.99e-29 | -9.99e-29 | 30.8974 | 8.4898 | 23.9813 | 23.9833 | 139.769 | 0