## 20140426003
* | Sea-Bird | SBE | 19 | Data | File:
* | FileName | = | C:\Program | Files\Sea-Bird\Seasave-Win32\CTD | files\UWTacoma\2014\20140426003.hex
* | Software | Version | Seasave | V | 7.21d
* | Temperature | SN | = | 121
* | Conductivity | SN | = | 121
* | System | UpLoad | Time | = | Apr | 26 | 2014 | 15:30
** | Ship: | Cenntenial
** | Station: | 3
** | Operator: | Greengrove
** | 2014 | UWT | Estuaries
* | Real-Time | Sample | Interval | = | 0.5 | seconds
* | System | UTC | = | Apr | 26 | 2014 | 22:30
# | nquan | = | 14
# | nvalues | = | 101
# | units | = | specified
# | name | 0 | = | prSM: | Pressure, | Strain | Gauge | [db]
# | name | 1 | = | t090C: | Temperature | [ITS-90, | deg | C]
# | name | 2 | = | c0S/m: | Conductivity | [S/m]
# | name | 3 | = | sbeox0V: | Oxygen | raw, | SBE | 43 | [V]
# | name | 4 | = | wetStar: | Fluorescence, | WET | Labs | WETstar | [mg/m^3]
# | name | 5 | = | sbeox0ML/L: | Oxygen, | SBE | 43 | [ml/l], | WS | = | 2
# | name | 6 | = | sbeox0Mg/L: | Oxygen, | SBE | 43 | [mg/l], | WS | = | 2
# | name | 7 | = | sbeox0PS: | Oxygen, | SBE | 43 | [% | saturation], | WS | = | 2
# | name | 8 | = | sal00: | Salinity, | Practical | [PSU]
# | name | 9 | = | potemp090C: | Potential | Temperature | [ITS-90, | deg | C]
# | name | 10 | = | sigma-t00: | Density | [sigma-t, | Kg/m^3 | ]
# | name | 11 | = | sigma-é00: | Density | [sigma-theta, | Kg/m^3]
# | name | 12 | = | depSM: | Depth | [salt | water, | m], | lat | = | 48
# | name | 13 | = | flag: | flag
# | span | 0 | = | 1.000, | 101
# | span | 1 | = | 8.7239, | 8.7372
# | span | 2 | = | 3.287588, | 3.2933
# | span | 3 | = | 1.9481, | 1.9664
# | span | 4 | = | 0.8803, | 1.8404
# | span | 5 | = | 4.64758, | 4.7445
# | span | 6 | = | 6.64185, | 6.7803
# | span | 7 | = | 69.67048, | 71.1184
# | span | 8 | = | 30.7961, | 30.8071
# | span | 9 | = | 8.7228, | 8.7371
# | span | 10 | = | 23.8681, | 23.8772
# | span | 11 | = | 23.8693, | 23.8777
# | span | 12 | = | 0.991, | 100.128
# | span | 13 | = | 0.0000e+00, | 0
# | interval | = | decibars: | 1
# | start_time | = | Apr | 26 | 2014 | 22:30 | [System | UTC, | header]
# | bad_flag | = | -9.99e-29
# | <Sensors | count="5" | >
# | <sensor | Channel="1" | >
# | <!-- | Frequency | 0, | Temperature | -->
# | <TemperatureSensor | SensorID="55" | >
# | <SerialNumber>0121</SerialNumber>
# | <CalibrationDate>14-Jun-11</CalibrationDate>
# | <UseG_J>1</UseG_J>
# | <A>0.00000000e+000</A>
# | <B>0.00000000e+000</B>
# | <C>0.00000000e+000</C>
# | <D>0.00000000e+000</D>
# | <F0_Old>0.000</F0_Old>
# | <G>4.16055157e-003</G>
# | <H>6.01629191e-004</H>
# | <I>2.08404450e-006</I>
# | <J>-2.13347257e-006</J>
# | <F0>1000.000</F0>
# | <Slope>1.00000000</Slope>
# | <Offset>0.0000</Offset>
# | </TemperatureSensor>
# | </sensor>
# | <sensor | Channel="2" | >
# | <!-- | Frequency | 1, | Conductivity | -->
# | <ConductivitySensor | SensorID="3" | >
# | <SerialNumber>0121</SerialNumber>
# | <CalibrationDate>14-Jun-11</CalibrationDate>
# | <UseG_J>1</UseG_J>
# | <!-- | Cell | const | and | series | R | are | applicable | only | for | wide | range | sensors. | -->
# | <SeriesR>0.0000</SeriesR>
# | <CellConst>2000.0000</CellConst>
# | <ConductivityType>0</ConductivityType>
# | <Coefficients | equation="0" | >
# | <A>0.00000000e+000</A>
# | <B>0.00000000e+000</B>
# | <C>0.00000000e+000</C>
# | <D>0.00000000e+000</D>
# | <M>0.0</M>
# | <CPcor>-9.57000000e-008</CPcor>
# | </Coefficients>
# | <Coefficients | equation="1" | >
# | <G>-4.14981290e+000</G>
# | <H>4.95609866e-001</H>
# | <I>9.84618526e-004</I>
# | <J>-1.00863889e-005</J>
# | <CPcor>-9.57000000e-008</CPcor>
# | <CTcor>3.2500e-006</CTcor>
# | <!-- | WBOTC | not | applicable | unless | ConductivityType | = | 1 | -->
# | <WBOTC>0.00000000e+000</WBOTC>
# | </Coefficients>
# | <Slope>1.00000000</Slope>
# | <Offset>0.00000</Offset>
# | </ConductivitySensor>
# | </sensor>
# | <sensor | Channel="3" | >
# | <!-- | A/D | voltage | 0, | Oxygen, | SBE | 43 | -->
# | <OxygenSensor | SensorID="38" | >
# | <SerialNumber>1254</SerialNumber>
# | <CalibrationDate>Mar | 2013</CalibrationDate>
# | <Use2007Equation>1</Use2007Equation>
# | <CalibrationCoefficients | equation="0" | >
# | <!-- | Coefficients | for | Owens-Millard | equation. | -->
# | <Boc>0.0000</Boc>
# | <Soc>0.0000e+000</Soc>
# | <offset>0.0000</offset>
# | <Pcor>0.00e+000</Pcor>
# | <Tcor>0.0000</Tcor>
# | <Tau>0.0</Tau>
# | </CalibrationCoefficients>
# | <CalibrationCoefficients | equation="1" | >
# | <!-- | Coefficients | for | Sea-Bird | equation | - | SBE | calibration | in | 2007 | and | later. | -->
# | <Soc>4.8540e-001</Soc>
# | <offset>-0.4992</offset>
# | <A>-2.0471e-003</A>
# | <B> | 1.3501e-004</B>
# | <C>-2.8867e-006</C>
# | <D0> | 2.5826e+000</D0>
# | <D1> | 1.92634e-004</D1>
# | <D2>-4.64803e-002</D2>
# | <E> | 3.6000e-002</E>
# | <Tau20> | 1.3200</Tau20>
# | <H1>-3.3000e-002</H1>
# | <H2> | 5.0000e+003</H2>
# | <H3> | 1.4500e+003</H3>
# | </CalibrationCoefficients>
# | </OxygenSensor>
# | </sensor>
# | <sensor | Channel="4" | >
# | <!-- | A/D | voltage | 1, | Fluorometer, | WET | Labs | WETstar | -->
# | <FluoroWetlabWetstarSensor | SensorID="21" | >
# | <SerialNumber>WS3S-827P</SerialNumber>
# | <CalibrationDate>29-Jul-2010</CalibrationDate>
# | <ScaleFactor>15.000</ScaleFactor>
# | <!-- | Blank | output | -->
# | <Vblank>0.049</Vblank>
# | </FluoroWetlabWetstarSensor>
# | </sensor>
# | <sensor | Channel="5" | >
# | <!-- | Pressure | voltage, | Pressure, | Strain | Gauge | -->
# | <PressureSensor | SensorID="49" | >
# | <SerialNumber>142916</SerialNumber>
# | <CalibrationDate>15-Jun-11</CalibrationDate>
# | <A0>1.486435e+002</A0>
# | <A1>-3.890722e-002</A1>
# | <A2>3.106135e-008</A2>
# | <Offset>0.00000</Offset>
# | </PressureSensor>
# | </sensor>
# | </Sensors>
# | datcnv_date | = | Apr | 26 | 2014 | 15:56:45, | 7.21d | [datcnv_vars | = | 5]
# | datcnv_in | = | C:\Program | Files\Sea-Bird\Seasave-Win32\CTD | files\UWTacoma\2014\20140426003.hex | C:\JEMS\FHL19_2013.xmlcon
# | datcnv_skipover | = | 0
# | datcnv_ox_hysteresis_correction | = | yes
# | filter_date | = | Apr | 26 | 2014 | 16:00:26, | 7.21d
# | filter_in | = | C:\Program | Files\Sea-Bird\Seasave-Win32\CTD | files\UWTacoma\2014\20140426003.cnv
# | filter_low_pass_tc_A | = | 0.5
# | filter_low_pass_tc_B | = | 2
# | filter_low_pass_A_vars | = | c0S/m
# | filter_low_pass_B_vars | = | prSM
# | alignctd_date | = | Apr | 26 | 2014 | 16:03:50, | 7.21d
# | alignctd_in | = | C:\Program | Files\Sea-Bird\Seasave-Win32\CTD | files\UWTacoma\2014\20140426003.cnv
# | alignctd_adv | = | t090C | 0.500, | sbeox0V | 4
# | alignctd_date | = | Apr | 26 | 2014 | 16:04:27, | 7.21d
# | alignctd_in | = | C:\Program | Files\Sea-Bird\Seasave-Win32\CTD | files\UWTacoma\2014\20140426003.cnv
# | alignctd_adv | = | t090C | 0.500, | sbeox0V | 4
# | celltm_date | = | Apr | 26 | 2014 | 16:05:51, | 7.21d
# | celltm_in | = | C:\Program | Files\Sea-Bird\Seasave-Win32\CTD | files\UWTacoma\2014\20140426003.cnv
# | celltm_alpha | = | 0.0400, | 0
# | celltm_tau | = | 8.0000, | 0
# | celltm_temp_sensor_use_for_cond | = | primary,
# | loopedit_date | = | Apr | 26 | 2014 | 16:08:07, | 7.21d
# | loopedit_in | = | C:\Program | Files\Sea-Bird\Seasave-Win32\CTD | files\UWTacoma\2014\20140426003.cnv
# | loopedit_minVelocity | = | 0.1
# | loopedit_surfaceSoak: | minDepth | = | 5.0, | maxDepth | = | 20, | useDeckPress | = | 1
# | loopedit_excl_bad_scans | = | yes
# | Derive_date | = | Apr | 26 | 2014 | 16:11:39, | 7.21d | [derive_vars | = | 8]
# | Derive_in | = | C:\Program | Files\Sea-Bird\Seasave-Win32\CTD | files\UWTacoma\2014\20140426003.cnv | C:\Program | Files\Sea-Bird\Seasave-Win32\CTD | files\UWTacoma\2014\20140426003.XMLCON
# | derive_time_window_docdt | = | seconds: | 2
# | derive_ox_tau_correction | = | yes
# | binavg_date | = | Apr | 26 | 2014 | 16:12:41, | 7.21d
# | binavg_in | = | C:\Program | Files\Sea-Bird\Seasave-Win32\CTD | files\UWTacoma\2014\20140426003.cnv
# | binavg_bintype | = | decibars
# | binavg_binsize | = | 1
# | binavg_excl_bad_scans | = | yes
# | binavg_skipover | = | 0
# | binavg_surface_bin | = | no, | min | = | 0.000, | max | = | 0.000, | value | = | 0
# | file_type | = | ascii
*END*
| 1 | 8.7372 | 3.2889 | 1.9481 | 0.9788 | 4.6476 | 6.6418 | 69.6705 | 30.7998 | 8.7371 | 23.8705 | 23.8705 | 0.991 | 0
| 2 | 8.7264 | 3.2878 | 1.9503 | 0.8803 | 4.6653 | 6.6672 | 69.9188 | 30.7979 | 8.7262 | 23.8706 | 23.8707 | 1.983 | 0
| 3 | 8.7246 | 3.2876 | 1.9527 | 0.9035 | 4.6699 | 6.6737 | 69.9837 | 30.7968 | 8.7243 | 23.87 | 23.87 | 2.975 | 0
| 4 | 8.7239 | 3.2876 | 1.9528 | 0.997 | 4.6679 | 6.6708 | 69.9524 | 30.7966 | 8.7235 | 23.87 | 23.87 | 3.966 | 0
| 5 | 8.7245 | 3.2877 | 1.9529 | 0.9636 | 4.664 | 6.6654 | 69.896 | 30.7964 | 8.724 | 23.8697 | 23.8698 | 4.958 | 0
| 6 | 8.7246 | 3.2878 | 1.9522 | 1.0516 | 4.6638 | 6.665 | 69.8927 | 30.7971 | 8.724 | 23.8703 | 23.8704 | 5.949 | 0
| 7 | 8.7239 | 3.2878 | 1.9534 | 1.0795 | 4.6838 | 6.6936 | 70.1916 | 30.7977 | 8.7232 | 23.8708 | 23.871 | 6.941 | 0
| 8 | 8.724 | 3.2879 | 1.9564 | 1.1178 | 4.6854 | 6.6959 | 70.2159 | 30.7978 | 8.7232 | 23.8708 | 23.8709 | 7.933 | 0
| 9 | 8.7249 | 3.288 | 1.9577 | 1.1907 | 4.69 | 6.7025 | 70.2858 | 30.7974 | 8.7241 | 23.8704 | 23.8705 | 8.924 | 0
| 10 | 8.7247 | 3.2881 | 1.9586 | 1.2553 | 4.6891 | 6.7012 | 70.2731 | 30.799 | 8.7237 | 23.8717 | 23.8718 | 9.916 | 0
| 11 | 8.7262 | 3.2882 | 1.9583 | 1.2898 | 4.687 | 6.6982 | 70.2428 | 30.7975 | 8.7252 | 23.8703 | 23.8705 | 10.907 | 0
| 12 | 8.726 | 3.2882 | 1.9589 | 1.2973 | 4.6943 | 6.7087 | 70.3526 | 30.7974 | 8.7248 | 23.8702 | 23.8704 | 11.899 | 0
| 13 | 8.726 | 3.2882 | 1.9602 | 1.1993 | 4.7017 | 6.7192 | 70.4634 | 30.7976 | 8.7247 | 23.8704 | 23.8706 | 12.89 | 0
| 14 | 8.7249 | 3.2882 | 1.9623 | 1.1433 | 4.7045 | 6.7232 | 70.5034 | 30.7982 | 8.7235 | 23.8711 | 23.8713 | 13.882 | 0
| 15 | 8.7254 | 3.2883 | 1.9619 | 1.1392 | 4.7003 | 6.7172 | 70.442 | 30.7982 | 8.7239 | 23.871 | 23.8712 | 14.874 | 0
| 16 | 8.7259 | 3.2884 | 1.9611 | 1.5697 | 4.6972 | 6.7128 | 70.3959 | 30.7978 | 8.7243 | 23.8706 | 23.8708 | 15.865 | 0
| 17 | 8.7248 | 3.2885 | 1.9611 | 1.281 | 4.702 | 6.7197 | 70.4672 | 30.7994 | 8.7231 | 23.8721 | 23.8723 | 16.857 | 0
| 18 | 8.7261 | 3.2885 | 1.9622 | 1.5412 | 4.7072 | 6.7271 | 70.546 | 30.7981 | 8.7243 | 23.8708 | 23.8711 | 17.848 | 0
| 19 | 8.7255 | 3.2886 | 1.962 | 1.2119 | 4.7009 | 6.718 | 70.4505 | 30.7993 | 8.7236 | 23.8718 | 23.8721 | 18.84 | 0
| 20 | 8.7256 | 3.2886 | 1.9615 | 1.305 | 4.7085 | 6.7288 | 70.5641 | 30.7988 | 8.7236 | 23.8715 | 23.8718 | 19.831 | 0
| 21 | 8.7263 | 3.2887 | 1.962 | 1.2174 | 4.6993 | 6.7158 | 70.4287 | 30.7984 | 8.7242 | 23.871 | 23.8713 | 20.823 | 0
| 22 | 8.7267 | 3.2887 | 1.9603 | 1.3691 | 4.7 | 6.7167 | 70.4386 | 30.7981 | 8.7245 | 23.8707 | 23.871 | 21.814 | 0
| 23 | 8.7251 | 3.2888 | 1.9618 | 1.691 | 4.7165 | 6.7404 | 70.685 | 30.7995 | 8.7228 | 23.872 | 23.8724 | 22.806 | 0
| 24 | 8.7258 | 3.2888 | 1.9635 | 1.3072 | 4.7108 | 6.7322 | 70.5997 | 30.7989 | 8.7235 | 23.8714 | 23.8718 | 23.797 | 0
| 25 | 8.727 | 3.2889 | 1.9631 | 1.3482 | 4.7136 | 6.7362 | 70.6433 | 30.7983 | 8.7246 | 23.8708 | 23.8711 | 24.789 | 0
| 26 | 8.7261 | 3.289 | 1.9632 | 1.2297 | 4.7139 | 6.7367 | 70.6471 | 30.7994 | 8.7235 | 23.8719 | 23.8723 | 25.78 | 0
| 27 | 8.7273 | 3.289 | 1.9644 | 1.1841 | 4.7161 | 6.7398 | 70.6816 | 30.7986 | 8.7247 | 23.871 | 23.8714 | 26.772 | 0
| 28 | 8.7267 | 3.289 | 1.9618 | 1.3589 | 4.6944 | 6.7088 | 70.3554 | 30.7988 | 8.724 | 23.8712 | 23.8716 | 27.763 | 0
| 29 | 8.7278 | 3.2891 | 1.9607 | 1.3128 | 4.71 | 6.731 | 70.5905 | 30.7983 | 8.7249 | 23.8707 | 23.8711 | 28.755 | 0
| 30 | 8.7275 | 3.2893 | 1.9617 | 1.3718 | 4.7136 | 6.7362 | 70.6442 | 30.7995 | 8.7245 | 23.8717 | 23.8722 | 29.746 | 0
| 31 | 8.7275 | 3.2895 | 1.9637 | 1.293 | 4.7225 | 6.7489 | 70.7796 | 30.8022 | 8.7244 | 23.8738 | 23.8742 | 30.737 | 0
| 32 | 8.7304 | 3.2903 | 1.9635 | 1.4217 | 4.7078 | 6.7279 | 70.5659 | 30.8071 | 8.7272 | 23.8772 | 23.8777 | 31.729 | 0
| 33 | 8.7277 | 3.2895 | 1.9629 | 1.3196 | 4.7202 | 6.7457 | 70.7449 | 30.801 | 8.7244 | 23.8728 | 23.8733 | 32.72 | 0
| 34 | 8.729 | 3.2895 | 1.9643 | 1.1804 | 4.721 | 6.7467 | 70.7575 | 30.7995 | 8.7256 | 23.8714 | 23.8719 | 33.712 | 0
| 35 | 8.7292 | 3.2896 | 1.9631 | 1.1758 | 4.7141 | 6.737 | 70.6555 | 30.7998 | 8.7258 | 23.8716 | 23.8721 | 34.703 | 0
| 36 | 8.7287 | 3.2896 | 1.9635 | 1.1932 | 4.7177 | 6.742 | 70.7081 | 30.7997 | 8.7251 | 23.8716 | 23.8722 | 35.695 | 0
| 37 | 8.7289 | 3.2896 | 1.9624 | 1.2099 | 4.7166 | 6.7405 | 70.6917 | 30.7992 | 8.7252 | 23.8713 | 23.8718 | 36.686 | 0
| 38 | 8.7279 | 3.2896 | 1.9642 | 1.2951 | 4.7315 | 6.7618 | 70.9144 | 30.7998 | 8.7241 | 23.8719 | 23.8724 | 37.678 | 0
| 39 | 8.7286 | 3.2897 | 1.9656 | 1.3853 | 4.7315 | 6.7618 | 70.9143 | 30.7991 | 8.7247 | 23.8712 | 23.8718 | 38.669 | 0
| 40 | 8.7284 | 3.2897 | 1.9664 | 1.1677 | 4.7274 | 6.756 | 70.8531 | 30.7992 | 8.7244 | 23.8713 | 23.8719 | 39.66 | 0
| 41 | 8.7293 | 3.2898 | 1.9649 | 1.3256 | 4.7261 | 6.754 | 70.8343 | 30.7991 | 8.7252 | 23.8712 | 23.8718 | 40.652 | 0
| 42 | 8.7294 | 3.2899 | 1.965 | 1.3773 | 4.7219 | 6.748 | 70.7718 | 30.7997 | 8.7252 | 23.8715 | 23.8722 | 41.643 | 0
| 43 | 8.7292 | 3.2898 | 1.9624 | 1.2479 | 4.7087 | 6.7292 | 70.5737 | 30.7986 | 8.7249 | 23.8708 | 23.8714 | 42.635 | 0
| 44 | 8.7281 | 3.2899 | 1.9614 | 1.1801 | 4.7152 | 6.7384 | 70.6691 | 30.7993 | 8.7238 | 23.8714 | 23.8721 | 43.626 | 0
| 45 | 8.7285 | 3.2899 | 1.9611 | 1.2926 | 4.7166 | 6.7405 | 70.6915 | 30.7992 | 8.724 | 23.8713 | 23.872 | 44.618 | 0
| 46 | 8.7275 | 3.29 | 1.9617 | 1.3407 | 4.7274 | 6.7559 | 70.8515 | 30.8002 | 8.7229 | 23.8722 | 23.8729 | 45.609 | 0
| 47 | 8.7281 | 3.2901 | 1.9644 | 1.3729 | 4.7343 | 6.7658 | 70.9563 | 30.8008 | 8.7234 | 23.8727 | 23.8734 | 46.6 | 0
| 48 | 8.7305 | 3.2902 | 1.9647 | 1.3467 | 4.7295 | 6.759 | 70.8878 | 30.7987 | 8.7258 | 23.8706 | 23.8713 | 47.592 | 0
| 49 | 8.7301 | 3.2902 | 1.9636 | 1.1647 | 4.7222 | 6.7485 | 70.7777 | 30.7995 | 8.7252 | 23.8713 | 23.872 | 48.583 | 0
| 50 | 8.7302 | 3.2903 | 1.9631 | 1.1279 | 4.7218 | 6.748 | 70.7726 | 30.7996 | 8.7252 | 23.8713 | 23.8721 | 49.575 | 0
| 51 | 8.73 | 3.2903 | 1.9614 | 1.1376 | 4.7167 | 6.7407 | 70.6956 | 30.7995 | 8.7249 | 23.8713 | 23.8721 | 50.566 | 0
| 52 | 8.7311 | 3.2904 | 1.9615 | 1.2437 | 4.7295 | 6.759 | 70.8886 | 30.7986 | 8.7259 | 23.8704 | 23.8712 | 51.557 | 0
| 53 | 8.7296 | 3.2904 | 1.9635 | 1.3695 | 4.7321 | 6.7627 | 70.9263 | 30.8 | 8.7243 | 23.8717 | 23.8725 | 52.548 | 0
| 54 | 8.7294 | 3.2904 | 1.9635 | 1.2138 | 4.7308 | 6.7608 | 70.9054 | 30.7995 | 8.724 | 23.8714 | 23.8722 | 53.54 | 0
| 55 | 8.7303 | 3.2904 | 1.9644 | 1.1965 | 4.7393 | 6.7729 | 71.0333 | 30.7985 | 8.7249 | 23.8705 | 23.8713 | 54.531 | 0
| 56 | 8.7306 | 3.2905 | 1.9656 | 1.1626 | 4.7324 | 6.7631 | 70.9318 | 30.7991 | 8.725 | 23.8709 | 23.8717 | 55.522 | 0
| 57 | 8.73 | 3.2906 | 1.9632 | 1.3658 | 4.7245 | 6.7518 | 70.8129 | 30.7999 | 8.7243 | 23.8717 | 23.8725 | 56.514 | 0
| 58 | 8.7308 | 3.2906 | 1.9631 | 1.1458 | 4.733 | 6.7639 | 70.9404 | 30.7986 | 8.7251 | 23.8705 | 23.8713 | 57.505 | 0
| 59 | 8.7313 | 3.2907 | 1.9632 | 1.2459 | 4.7281 | 6.757 | 70.8686 | 30.7991 | 8.7254 | 23.8708 | 23.8717 | 58.497 | 0
| 60 | 8.7311 | 3.2908 | 1.9603 | 1.1894 | 4.7076 | 6.7276 | 70.5606 | 30.7997 | 8.7251 | 23.8713 | 23.8722 | 59.488 | 0
| 61 | 8.7322 | 3.2908 | 1.9596 | 1.1434 | 4.7272 | 6.7557 | 70.856 | 30.7984 | 8.7261 | 23.8701 | 23.871 | 60.479 | 0
| 62 | 8.731 | 3.2909 | 1.9618 | 1.1512 | 4.7354 | 6.7674 | 70.9774 | 30.7994 | 8.7248 | 23.8711 | 23.872 | 61.471 | 0
| 63 | 8.7319 | 3.2909 | 1.962 | 1.2368 | 4.7236 | 6.7506 | 70.8017 | 30.7985 | 8.7256 | 23.8702 | 23.8712 | 62.462 | 0
| 64 | 8.7328 | 3.291 | 1.9595 | 1.1589 | 4.7184 | 6.743 | 70.7241 | 30.7986 | 8.7264 | 23.8702 | 23.8712 | 63.453 | 0
| 65 | 8.7342 | 3.2914 | 1.9599 | 1.2418 | 4.7271 | 6.7556 | 70.859 | 30.801 | 8.7278 | 23.8719 | 23.8728 | 64.445 | 0
| 66 | 8.7335 | 3.2917 | 1.9611 | 1.0925 | 4.7286 | 6.7576 | 70.881 | 30.8038 | 8.7269 | 23.8742 | 23.8752 | 65.436 | 0
| 67 | 8.7335 | 3.2912 | 1.9602 | 1.1643 | 4.726 | 6.754 | 70.8406 | 30.7991 | 8.7269 | 23.8705 | 23.8715 | 66.427 | 0
| 68 | 8.7328 | 3.2912 | 1.9607 | 1.2124 | 4.7322 | 6.7628 | 70.9322 | 30.7991 | 8.726 | 23.8706 | 23.8716 | 67.418 | 0
| 69 | 8.7328 | 3.2913 | 1.9611 | 1.4627 | 4.7306 | 6.7606 | 70.9083 | 30.799 | 8.7259 | 23.8705 | 23.8715 | 68.41 | 0
| 70 | 8.7321 | 3.2913 | 1.9611 | 1.316 | 4.7313 | 6.7615 | 70.9174 | 30.7992 | 8.7252 | 23.8708 | 23.8718 | 69.401 | 0
| 71 | 8.7323 | 3.2913 | 1.9608 | 1.2007 | 4.7269 | 6.7552 | 70.8509 | 30.7991 | 8.7252 | 23.8707 | 23.8717 | 70.392 | 0
| 72 | 8.7331 | 3.2914 | 1.9595 | 1.3172 | 4.7254 | 6.753 | 70.8297 | 30.7991 | 8.726 | 23.8705 | 23.8716 | 71.383 | 0
| 73 | 8.7335 | 3.2914 | 1.9599 | 1.4751 | 4.7333 | 6.7643 | 70.9488 | 30.7985 | 8.7263 | 23.87 | 23.8711 | 72.375 | 0
| 74 | 8.7328 | 3.2914 | 1.9616 | 1.2798 | 4.738 | 6.7711 | 71.0189 | 30.7987 | 8.7254 | 23.8703 | 23.8714 | 73.366 | 0
| 75 | 8.7333 | 3.2915 | 1.9614 | 1.4694 | 4.7378 | 6.7708 | 71.0164 | 30.7988 | 8.7259 | 23.8702 | 23.8713 | 74.357 | 0
| 76 | 8.7338 | 3.2917 | 1.9623 | 1.8404 | 4.7386 | 6.772 | 71.0302 | 30.7999 | 8.7263 | 23.8711 | 23.8722 | 75.348 | 0
| 77 | 8.7356 | 3.2918 | 1.9607 | 1.106 | 4.7227 | 6.7492 | 70.794 | 30.7987 | 8.7279 | 23.8699 | 23.871 | 76.34 | 0
| 78 | 8.7344 | 3.2918 | 1.959 | 1.2167 | 4.7348 | 6.7664 | 70.9724 | 30.7988 | 8.7266 | 23.8701 | 23.8713 | 77.331 | 0
| 79 | 8.7351 | 3.2918 | 1.9609 | 1.4874 | 4.7359 | 6.7681 | 70.9908 | 30.7981 | 8.7272 | 23.8695 | 23.8707 | 78.322 | 0
| 80 | 8.7354 | 3.2918 | 1.9589 | 1.0915 | 4.7248 | 6.7522 | 70.8243 | 30.798 | 8.7275 | 23.8693 | 23.8705 | 79.313 | 0
| 81 | 8.7337 | 3.2918 | 1.96 | 1.2811 | 4.7344 | 6.766 | 70.9666 | 30.799 | 8.7256 | 23.8703 | 23.8715 | 80.304 | 0
| 82 | 8.7347 | 3.2919 | 1.9584 | 1.2012 | 4.726 | 6.754 | 70.8418 | 30.7979 | 8.7266 | 23.8693 | 23.8705 | 81.296 | 0
| 83 | 8.7339 | 3.2919 | 1.9582 | 1.1541 | 4.7267 | 6.7549 | 70.8499 | 30.7984 | 8.7256 | 23.8699 | 23.8711 | 82.287 | 0
| 84 | 8.7352 | 3.292 | 1.9566 | 1.2568 | 4.7196 | 6.7448 | 70.7463 | 30.7979 | 8.7268 | 23.8693 | 23.8705 | 83.278 | 0
| 85 | 8.7335 | 3.292 | 1.9566 | 1.2019 | 4.7267 | 6.7549 | 70.8496 | 30.799 | 8.725 | 23.8704 | 23.8717 | 84.27 | 0
| 86 | 8.7346 | 3.292 | 1.9565 | 1.2571 | 4.7219 | 6.748 | 70.7788 | 30.7974 | 8.726 | 23.869 | 23.8703 | 85.26 | 0
| 87 | 8.7341 | 3.2918 | 1.9546 | 1.1634 | 4.7171 | 6.7412 | 70.706 | 30.7961 | 8.7254 | 23.8681 | 23.8693 | 86.252 | 0
| 88 | 8.7332 | 3.2921 | 1.9546 | 1.3687 | 4.722 | 6.7482 | 70.7793 | 30.7992 | 8.7244 | 23.8706 | 23.8719 | 87.243 | 0
| 89 | 8.7338 | 3.2921 | 1.9559 | 1.1692 | 4.7346 | 6.7663 | 70.9695 | 30.7985 | 8.7249 | 23.87 | 23.8713 | 88.234 | 0
| 90 | 8.7338 | 3.2921 | 1.9575 | 1.2711 | 4.7305 | 6.7603 | 70.9074 | 30.7981 | 8.7249 | 23.8697 | 23.871 | 89.225 | 0
| 91 | 8.7346 | 3.2922 | 1.9564 | 1.2315 | 4.723 | 6.7497 | 70.7965 | 30.7978 | 8.7255 | 23.8693 | 23.8706 | 90.216 | 0
| 92 | 8.7343 | 3.2923 | 1.9556 | 1.4335 | 4.7285 | 6.7576 | 70.8788 | 30.7982 | 8.7252 | 23.8696 | 23.871 | 91.208 | 0
| 93 | 8.7345 | 3.2923 | 1.9562 | 1.2062 | 4.7274 | 6.756 | 70.8625 | 30.7979 | 8.7252 | 23.8694 | 23.8708 | 92.199 | 0
| 94 | 8.7341 | 3.2924 | 1.9559 | 1.2693 | 4.7309 | 6.761 | 70.9144 | 30.7988 | 8.7247 | 23.8702 | 23.8716 | 93.19 | 0
| 95 | 8.7348 | 3.2924 | 1.9575 | 1.2673 | 4.7445 | 6.7803 | 71.1184 | 30.798 | 8.7254 | 23.8694 | 23.8708 | 94.181 | 0
| 96 | 8.7345 | 3.2924 | 1.9588 | 1.2954 | 4.7386 | 6.7719 | 71.0298 | 30.7978 | 8.7249 | 23.8693 | 23.8707 | 95.172 | 0
| 97 | 8.7348 | 3.2924 | 1.9581 | 1.2295 | 4.7366 | 6.769 | 70.9996 | 30.7972 | 8.7251 | 23.8688 | 23.8702 | 96.164 | 0
| 98 | 8.735 | 3.2926 | 1.9575 | 1.3083 | 4.7291 | 6.7583 | 70.8882 | 30.7986 | 8.7253 | 23.8699 | 23.8713 | 97.155 | 0
| 99 | 8.7362 | 3.2933 | 1.9548 | 1.1706 | 4.7182 | 6.7427 | 70.7291 | 30.8043 | 8.7263 | 23.8741 | 23.8756 | 98.146 | 0
| 100 | 8.7351 | 3.2928 | 1.9536 | 1.1385 | 4.7266 | 6.7548 | 70.8517 | 30.7992 | 8.7251 | 23.8704 | 23.8718 | 99.137 | 0
| 101 | 8.7366 | 3.2927 | 1.9551 | 1.1064 | 4.7332 | 6.7642 | 70.9521 | 30.7974 | 8.7265 | 23.8687 | 23.8702 | 100.128 | 0