## qmh140509050
* | Sea-Bird | SBE | 9 | Data | File:
* | FileName | = | C:\Users\user\Desktop\Seabird\data\qmh140509050.hex
* | Software | Version | Seasave | V | 7.23.1
* | Temperature | SN | = | 1121
* | Conductivity | SN | = | 155
* | Number | of | Bytes | Per | Scan | = | 41
* | Number | of | Voltage | Words | = | 4
* | Number | of | Scans | Averaged | by | the | Deck | Unit | = | 1
* | Append | System | Time | to | Every | Scan
* | System | UpLoad | Time | = | May | 9 | 2014 | 14:07
* | NMEA | Latitude | = | 47 | 19.13 | N
* | NMEA | Longitude | = | 122 | 28.43 | W
* | NMEA | UTC | (Time) | = | May | 9 | 2014 | 21:07
* | Store | Lat/Lon | Data | = | Append | to | Every | Scan
* | SBE | 11plus | V | 5.2
* | number | of | scans | to | average | = | 1
* | pressure | baud | rate | = | 9600
* | NMEA | baud | rate | = | 4800
* | Latitude/Longitude | added | to | scan
* | GPIB | address | = | 1
* | advance | primary | conductivity | 0.073 | seconds
* | advance | secondary | conductivity | 0.073 | seconds
* | autorun | on | power | up | is | disabled
* | S>
** | Ship: | Clifford | A | Barnes
** | Station: | 50
** | Operator: | Postel
** | Cruise: | CB1016
** | TESC | 445 | Estuaries
** | Greengrove, | Cheryl
** | outer | harbor
* | System | UTC | = | May | 9 | 2014 | 21:07
# | nquan | = | 18
# | nvalues | = | 171
# | units | = | specified
# | name | 0 | = | prDM: | Pressure, | Digiquartz | [db]
# | name | 1 | = | t090C: | Temperature | [ITS-90, | deg | C]
# | name | 2 | = | c0mS/cm: | Conductivity | [mS/cm]
# | name | 3 | = | sbeox0V: | Oxygen | raw, | SBE | 43 | [V]
# | name | 4 | = | flECO-AFL: | Fluorescence, | WET | Labs | ECO-AFL/FL | [mg/m^3]
# | name | 5 | = | CStarTr0: | Beam | Transmission, | WET | Labs | C-Star | [%]
# | name | 6 | = | par: | PAR/Irradiance, | Biospherical/Licor
# | name | 7 | = | ph: | pH
# | name | 8 | = | sbeox0ML/L: | Oxygen, | SBE | 43 | [ml/l], | WS | = | 2
# | name | 9 | = | sbeox0Mg/L: | Oxygen, | SBE | 43 | [mg/l], | WS | = | 2
# | name | 10 | = | sbeox0PS: | Oxygen, | SBE | 43 | [% | saturation], | WS | = | 2
# | name | 11 | = | sal00: | Salinity, | Practical | [PSU]
# | name | 12 | = | potemp090C: | Potential | Temperature | [ITS-90, | deg | C]
# | name | 13 | = | sigma-t00: | Density | [sigma-t, | kg/m^3 | ]
# | name | 14 | = | sigma-é00: | Density | [sigma-theta, | kg/m^3]
# | name | 15 | = | depSM: | Depth | [salt | water, | m], | lat | = | 47.3188
# | name | 16 | = | nbin: | number | of | scans | per | bin
# | name | 17 | = | flag: | flag
# | span | 0 | = | 2.000, | 172
# | span | 1 | = | 8.3104, | 9.5166
# | span | 2 | = | 30.854571, | 31.7323
# | span | 3 | = | 2.0266, | 2.8379
# | span | 4 | = | -0.0289, | 3.1324
# | span | 5 | = | 84.0785, | 95.6925
# | span | 6 | = | -7.932e-07, | 2628.9
# | span | 7 | = | 7.732, | 8.079
# | span | 8 | = | 4.9661, | 7.3364
# | span | 9 | = | 7.0971, | 10.4844
# | span | 10 | = | 73.153, | 109.989
# | span | 11 | = | 28.0789, | 29.5876
# | span | 12 | = | 8.2942, | 9.5164
# | span | 13 | = | 21.6281, | 22.9832
# | span | 14 | = | 21.6281, | 22.9855
# | span | 15 | = | 1.983, | 170.496
# | span | 16 | = | 6, | 62
# | span | 17 | = | 0.0000e+00, | 0
# | interval | = | decibars: | 1
# | start_time | = | May | 9 | 2014 | 21:07 | [System | UTC, | first | data | scan.]
# | bad_flag | = | -9.99e-29
# | <Sensors | count="13" | >
# | <sensor | Channel="1" | >
# | <!-- | Frequency | 0, | Temperature | -->
# | <TemperatureSensor | SensorID="55" | >
# | <SerialNumber>1121</SerialNumber>
# | <CalibrationDate>06-Feb-14</CalibrationDate>
# | <UseG_J>1</UseG_J>
# | <A>0.00000000e+000</A>
# | <B>0.00000000e+000</B>
# | <C>0.00000000e+000</C>
# | <D>0.00000000e+000</D>
# | <F0_Old>0.000</F0_Old>
# | <G>4.79995181e-003</G>
# | <H>6.68864810e-004</H>
# | <I>2.46209514e-005</I>
# | <J>1.89114454e-006</J>
# | <F0>1000.000</F0>
# | <Slope>1.00000000</Slope>
# | <Offset>0.0000</Offset>
# | </TemperatureSensor>
# | </sensor>
# | <sensor | Channel="2" | >
# | <!-- | Frequency | 1, | Conductivity | -->
# | <ConductivitySensor | SensorID="3" | >
# | <SerialNumber>0155</SerialNumber>
# | <CalibrationDate>06-Feb-14</CalibrationDate>
# | <UseG_J>1</UseG_J>
# | <!-- | Cell | const | and | series | R | are | applicable | only | for | wide | range | sensors. | -->
# | <SeriesR>0.0000</SeriesR>
# | <CellConst>2000.0000</CellConst>
# | <ConductivityType>0</ConductivityType>
# | <Coefficients | equation="0" | >
# | <A>0.00000000e+000</A>
# | <B>0.00000000e+000</B>
# | <C>0.00000000e+000</C>
# | <D>0.00000000e+000</D>
# | <M>0.0</M>
# | <CPcor>-9.57000000e-008</CPcor>
# | </Coefficients>
# | <Coefficients | equation="1" | >
# | <G>3.50578588e-002</G>
# | <H>4.91733132e-001</H>
# | <I>-5.83541562e-004</I>
# | <J>8.10574325e-005</J>
# | <CPcor>-9.57000000e-008</CPcor>
# | <CTcor>3.2500e-006</CTcor>
# | <!-- | WBOTC | not | applicable | unless | ConductivityType | = | 1 | -->
# | <WBOTC>0.00000000e+000</WBOTC>
# | </Coefficients>
# | <Slope>1.00000000</Slope>
# | <Offset>0.00000</Offset>
# | </ConductivitySensor>
# | </sensor>
# | <sensor | Channel="3" | >
# | <!-- | Frequency | 2, | Pressure, | Digiquartz | with | TC | -->
# | <PressureSensor | SensorID="45" | >
# | <SerialNumber>0366</SerialNumber>
# | <CalibrationDate>04-Mar-14</CalibrationDate>
# | <C1>-4.977325e+004</C1>
# | <C2>1.336700e-001</C2>
# | <C3>1.603380e-002</C3>
# | <D1>3.655500e-002</D1>
# | <D2>0.000000e+000</D2>
# | <T1>3.012387e+001</T1>
# | <T2>-2.791900e-004</T2>
# | <T3>4.240330e-006</T3>
# | <T4>3.023140e-009</T4>
# | <Slope>0.99996120</Slope>
# | <Offset>1.47268</Offset>
# | <T5>0.000000e+000</T5>
# | <AD590M>1.138000e-002</AD590M>
# | <AD590B>-8.234680e+000</AD590B>
# | </PressureSensor>
# | </sensor>
# | <sensor | Channel="4" | >
# | <!-- | Frequency | 3, | Free | -->
# | </sensor>
# | <sensor | Channel="5" | >
# | <!-- | Frequency | 4, | Free | -->
# | </sensor>
# | <sensor | Channel="6" | >
# | <!-- | A/D | voltage | 0, | Oxygen, | SBE | 43 | -->
# | <OxygenSensor | SensorID="38" | >
# | <SerialNumber>0542</SerialNumber>
# | <CalibrationDate>15-Mar-14</CalibrationDate>
# | <Use2007Equation>1</Use2007Equation>
# | <CalibrationCoefficients | equation="0" | >
# | <!-- | Coefficients | for | Owens-Millard | equation. | -->
# | <Boc>0.0000</Boc>
# | <Soc>0.0000e+000</Soc>
# | <offset>0.0000</offset>
# | <Pcor>0.00e+000</Pcor>
# | <Tcor>0.0000</Tcor>
# | <Tau>0.0</Tau>
# | </CalibrationCoefficients>
# | <CalibrationCoefficients | equation="1" | >
# | <!-- | Coefficients | for | Sea-Bird | equation | - | SBE | calibration | in | 2007 | and | later. | -->
# | <Soc>4.7648e-001</Soc>
# | <offset>-0.4919</offset>
# | <A>-3.4689e-003</A>
# | <B> | 1.5398e-004</B>
# | <C>-2.3849e-006</C>
# | <D0> | 2.5826e+000</D0>
# | <D1> | 1.92634e-004</D1>
# | <D2>-4.64803e-002</D2>
# | <E> | 3.6000e-002</E>
# | <Tau20> | 1.3000</Tau20>
# | <H1>-3.3000e-002</H1>
# | <H2> | 5.0000e+003</H2>
# | <H3> | 1.4500e+003</H3>
# | </CalibrationCoefficients>
# | </OxygenSensor>
# | </sensor>
# | <sensor | Channel="7" | >
# | <!-- | A/D | voltage | 1, | pH | -->
# | <pH_Sensor | SensorID="43" | >
# | <SerialNumber>0929</SerialNumber>
# | <CalibrationDate>20-Feb-14</CalibrationDate>
# | <Slope>4.6429</Slope>
# | <Offset>2.5183</Offset>
# | </pH_Sensor>
# | </sensor>
# | <sensor | Channel="8" | >
# | <!-- | A/D | voltage | 2, | Fluorometer, | WET | Labs | ECO-AFL/FL | -->
# | <FluoroWetlabECO_AFL_FL_Sensor | SensorID="20" | >
# | <SerialNumber>1714</SerialNumber>
# | <CalibrationDate>4-Mar-14</CalibrationDate>
# | <ScaleFactor>1.20000000e+001</ScaleFactor>
# | <!-- | Dark | output | -->
# | <Vblank>0.0260</Vblank>
# | </FluoroWetlabECO_AFL_FL_Sensor>
# | </sensor>
# | <sensor | Channel="9" | >
# | <!-- | A/D | voltage | 3, | Transmissometer, | WET | Labs | C-Star | -->
# | <WET_LabsCStar | SensorID="71" | >
# | <SerialNumber>CST-539PR</SerialNumber>
# | <CalibrationDate>3-Apr-2014</CalibrationDate>
# | <M>21.6453</M>
# | <B>-1.1905</B>
# | <PathLength>0.250</PathLength>
# | </WET_LabsCStar>
# | </sensor>
# | <sensor | Channel="10" | >
# | <!-- | A/D | voltage | 4, | Altimeter | -->
# | <AltimeterSensor | SensorID="0" | >
# | <SerialNumber>1097</SerialNumber>
# | <CalibrationDate></CalibrationDate>
# | <ScaleFactor>15.000</ScaleFactor>
# | <Offset>0.000</Offset>
# | </AltimeterSensor>
# | </sensor>
# | <sensor | Channel="11" | >
# | <!-- | A/D | voltage | 5, | Free | -->
# | </sensor>
# | <sensor | Channel="12" | >
# | <!-- | A/D | voltage | 6, | PAR/Irradiance, | Biospherical/Licor | -->
# | <PAR_BiosphericalLicorChelseaSensor | SensorID="42" | >
# | <SerialNumber>QSP-2300 | 4747</SerialNumber>
# | <CalibrationDate>03-Mar-2014</CalibrationDate>
# | <M>1.00000000</M>
# | <B>0.00000000</B>
# | <CalibrationConstant>1858740000.00000000</CalibrationConstant>
# | <Multiplier>1.00000000</Multiplier>
# | <Offset>-0.78846000</Offset>
# | </PAR_BiosphericalLicorChelseaSensor>
# | </sensor>
# | <sensor | Channel="13" | >
# | <!-- | A/D | voltage | 7, | Free | -->
# | </sensor>
# | </Sensors>
# | datcnv_date | = | May | 11 | 2014 | 17:10:42, | 7.23.2 | [datcnv_vars | = | 8]
# | datcnv_in | = | C:\Users\Cheryl\Documents\Courses\water\estuariesclass2014\2014EstuariesCTDData\20140509QMH_CB1016\CB1016\CB1016ctd\qmh140509050.hex | C:\Users\Cheryl\Documents\Courses\water\estuariesclass2014\2014EstuariesCTDData\20140509QMH_CB1016\CB1016\CB1016ctd\qmh140509050.XMLCON
# | datcnv_skipover | = | 0
# | datcnv_ox_hysteresis_correction | = | yes
# | filter_date | = | May | 11 | 2014 | 17:11:09, | 7.23.2
# | filter_in | = | C:\Users\Cheryl\Documents\Courses\water\estuariesclass2014\2014EstuariesCTDData\20140509QMH_CB1016\CB1016\CB1016ctd\qmh140509050.cnv
# | filter_low_pass_tc_A | = | 0
# | filter_low_pass_tc_B | = | 0.15
# | filter_low_pass_A_vars | =
# | filter_low_pass_B_vars | = | prDM
# | alignctd_date | = | May | 11 | 2014 | 17:11:33, | 7.23.2
# | alignctd_in | = | C:\Users\Cheryl\Documents\Courses\water\estuariesclass2014\2014EstuariesCTDData\20140509QMH_CB1016\CB1016\CB1016ctd\qmh140509050.cnv
# | alignctd_adv | = | sbeox0V | 3
# | celltm_date | = | May | 11 | 2014 | 17:11:55, | 7.23.2
# | celltm_in | = | C:\Users\Cheryl\Documents\Courses\water\estuariesclass2014\2014EstuariesCTDData\20140509QMH_CB1016\CB1016\CB1016ctd\qmh140509050.cnv
# | celltm_alpha | = | 0.0300, | 0
# | celltm_tau | = | 7.0000, | 0
# | celltm_temp_sensor_use_for_cond | = | primary,
# | loopedit_date | = | May | 11 | 2014 | 17:12:24, | 7.23.2
# | loopedit_in | = | C:\Users\Cheryl\Documents\Courses\water\estuariesclass2014\2014EstuariesCTDData\20140509QMH_CB1016\CB1016\CB1016ctd\qmh140509050.cnv
# | loopedit_minVelocity | = | 0.1
# | loopedit_surfaceSoak: | do | not | remove
# | loopedit_excl_bad_scans | = | yes
# | Derive_date | = | May | 11 | 2014 | 17:12:51, | 7.23.2 | [derive_vars | = | 8]
# | Derive_in | = | C:\Users\Cheryl\Documents\Courses\water\estuariesclass2014\2014EstuariesCTDData\20140509QMH_CB1016\CB1016\CB1016ctd\qmh140509050.cnv | C:\Users\Cheryl\Documents\Courses\water\estuariesclass2014\2014EstuariesCTDData\20140509QMH_CB1016\CB1016\CB1016ctd\qmh140509050.XMLCON
# | derive_time_window_docdt | = | seconds: | 2
# | derive_ox_tau_correction | = | yes
# | binavg_date | = | May | 11 | 2014 | 17:13:04, | 7.23.2
# | binavg_in | = | C:\Users\Cheryl\Documents\Courses\water\estuariesclass2014\2014EstuariesCTDData\20140509QMH_CB1016\CB1016\CB1016ctd\qmh140509050.cnv
# | binavg_bintype | = | decibars
# | binavg_binsize | = | 1
# | binavg_excl_bad_scans | = | yes
# | binavg_skipover | = | 0
# | binavg_surface_bin | = | no, | min | = | 0.000, | max | = | 0.000, | value | = | 0
# | file_type | = | ascii
*END*
| 2 | 9.5166 | 30.8546 | 2.8112 | 1.3434 | 84.2051 | 2628.9 | 8.071 | 7.2931 | 10.4226 | 109.306 | 28.0789 | 9.5164 | 21.6281 | 21.6281 | 1.983 | 62 | 0
| 3 | 9.4445 | 31.0951 | 2.8379 | 2.3946 | 84.6936 | 1255.1 | 8.074 | 7.3364 | 10.4844 | 109.989 | 28.377 | 9.4442 | 21.8715 | 21.8715 | 2.975 | 53 | 0
| 4 | 9.4358 | 31.1059 | 2.8337 | 3.1324 | 84.6776 | 524.58 | 8.079 | 7.2242 | 10.324 | 108.298 | 28.3944 | 9.4354 | 21.8863 | 21.8864 | 3.967 | 54 | 0
| 5 | 9.3657 | 31.1943 | 2.7766 | 2.4334 | 86.1206 | 349.2 | 8.076 | 6.8437 | 9.7804 | 102.531 | 28.5391 | 9.3652 | 22.0098 | 22.0099 | 4.958 | 56 | 0
| 6 | 9.2349 | 31.3277 | 2.6719 | 1.5266 | 90.1957 | 228.06 | 8.046 | 6.5058 | 9.2974 | 97.334 | 28.7786 | 9.2344 | 22.2164 | 22.2164 | 5.95 | 51 | 0
| 7 | 9.1627 | 31.3358 | 2.5891 | 0.9114 | 92.3491 | 153.85 | 8.009 | 6.3687 | 9.1015 | 95.169 | 28.8446 | 9.162 | 22.2787 | 22.2788 | 6.942 | 54 | 0
| 8 | 9.1231 | 31.3307 | 2.5461 | 0.9555 | 92.6647 | 111.44 | 7.984 | 6.3327 | 9.0501 | 94.564 | 28.871 | 9.1223 | 22.3052 | 22.3053 | 7.933 | 53 | 0
| 9 | 9.1041 | 31.3295 | 2.5237 | 0.9119 | 92.6401 | 84.178 | 7.971 | 6.3127 | 9.0215 | 94.234 | 28.8848 | 9.1032 | 22.3188 | 22.3189 | 8.925 | 52 | 0
| 10 | 9.0943 | 31.3281 | 2.5138 | 0.9623 | 92.6613 | 65.006 | 7.964 | 6.3069 | 9.0132 | 94.13 | 28.8909 | 9.0933 | 22.325 | 22.3252 | 9.916 | 53 | 0
| 11 | 9.0919 | 31.3284 | 2.5074 | 0.902 | 92.984 | 50.489 | 7.96 | 6.2958 | 8.9973 | 93.961 | 28.8928 | 9.0908 | 22.3268 | 22.327 | 10.908 | 52 | 0
| 12 | 9.0915 | 31.3293 | 2.5052 | 0.9643 | 92.9981 | 39.568 | 7.957 | 6.3036 | 9.0085 | 94.077 | 28.8935 | 9.0904 | 22.3275 | 22.3277 | 11.9 | 54 | 0
| 13 | 9.09 | 31.3299 | 2.5024 | 0.8005 | 92.8915 | 31.336 | 7.956 | 6.2827 | 8.9786 | 93.763 | 28.895 | 9.0887 | 22.3289 | 22.3291 | 12.891 | 53 | 0
| 14 | 9.0868 | 31.3305 | 2.4989 | 0.7689 | 93.2828 | 24.944 | 7.956 | 6.2761 | 8.9692 | 93.659 | 28.8979 | 9.0854 | 22.3316 | 22.3318 | 13.883 | 53 | 0
| 15 | 9.0738 | 31.3307 | 2.4896 | 0.7164 | 93.5386 | 19.934 | 7.952 | 6.2083 | 8.8723 | 92.627 | 28.9081 | 9.0723 | 22.3415 | 22.3417 | 14.875 | 52 | 0
| 16 | 9.0489 | 31.3295 | 2.4711 | 0.4312 | 94.0078 | 15.971 | 7.945 | 6.16 | 8.8032 | 91.866 | 28.9267 | 9.0473 | 22.3597 | 22.36 | 15.866 | 53 | 0
| 17 | 9.0377 | 31.3286 | 2.4611 | 0.6601 | 94.2502 | 12.837 | 7.941 | 6.1513 | 8.7908 | 91.718 | 28.9345 | 9.036 | 22.3675 | 22.3677 | 16.858 | 52 | 0
| 18 | 9.031 | 31.3281 | 2.4524 | 0.4854 | 93.8941 | 10.414 | 7.937 | 6.1277 | 8.7571 | 91.355 | 28.939 | 9.0292 | 22.3719 | 22.3722 | 17.849 | 54 | 0
| 19 | 9.0233 | 31.3274 | 2.4454 | 0.3945 | 94.372 | 8.4619 | 7.934 | 6.1094 | 8.7309 | 91.069 | 28.9442 | 9.0214 | 22.3771 | 22.3774 | 18.841 | 53 | 0
| 20 | 9.0173 | 31.3268 | 2.4393 | 0.464 | 94.4937 | 6.8752 | 7.932 | 6.1015 | 8.7196 | 90.941 | 28.948 | 9.0153 | 22.381 | 22.3813 | 19.832 | 53 | 0
| 21 | 9.0167 | 31.3271 | 2.4389 | 0.3774 | 94.6202 | 5.6241 | 7.931 | 6.1165 | 8.741 | 91.163 | 28.9485 | 9.0146 | 22.3814 | 22.3817 | 20.824 | 54 | 0
| 22 | 9.0152 | 31.327 | 2.4385 | 0.4515 | 94.5132 | 4.6282 | 7.928 | 6.1074 | 8.728 | 91.025 | 28.9491 | 9.013 | 22.3821 | 22.3825 | 21.816 | 51 | 0
| 23 | 9.0131 | 31.3262 | 2.435 | 0.3785 | 94.6956 | 3.8211 | 7.928 | 6.0889 | 8.7017 | 90.746 | 28.9496 | 9.0108 | 22.3829 | 22.3832 | 22.807 | 54 | 0
| 24 | 9.008 | 31.3233 | 2.4318 | 0.3854 | 94.8806 | 3.1614 | 7.928 | 6.0876 | 8.6997 | 90.716 | 28.9504 | 9.0056 | 22.3842 | 22.3846 | 23.799 | 51 | 0
| 25 | 9.0015 | 31.3191 | 2.4294 | 0.3758 | 94.7832 | 2.6212 | 7.928 | 6.0753 | 8.6822 | 90.521 | 28.951 | 8.999 | 22.3857 | 22.386 | 24.79 | 51 | 0
| 26 | 8.9917 | 31.3123 | 2.4229 | 0.3244 | 95.1062 | 2.1768 | 7.924 | 6.0384 | 8.6295 | 89.952 | 28.9516 | 8.9892 | 22.3876 | 22.388 | 25.782 | 50 | 0
| 27 | 8.945 | 31.2795 | 2.4095 | 0.1691 | 95.1047 | 1.8075 | 7.919 | 5.9874 | 8.5566 | 89.1 | 28.9557 | 8.9423 | 22.3976 | 22.398 | 26.773 | 53 | 0
| 28 | 8.9111 | 31.2645 | 2.3968 | 0.297 | 95.0707 | 1.5104 | 7.911 | 5.9695 | 8.5311 | 88.774 | 28.9675 | 8.9083 | 22.4118 | 22.4122 | 27.765 | 50 | 0
| 29 | 8.8976 | 31.2626 | 2.3895 | 0.2321 | 95.5035 | 1.2718 | 7.905 | 5.961 | 8.5189 | 88.626 | 28.9761 | 8.8948 | 22.4205 | 22.4209 | 28.756 | 50 | 0
| 30 | 8.8934 | 31.263 | 2.3855 | 0.1007 | 95.4141 | 1.0703 | 7.9 | 5.9585 | 8.5153 | 88.581 | 28.9796 | 8.8904 | 22.4238 | 22.4243 | 29.748 | 52 | 0
| 31 | 8.8883 | 31.2627 | 2.3829 | 0.124 | 95.5268 | 0.90448 | 7.899 | 5.9561 | 8.5119 | 88.538 | 28.983 | 8.8853 | 22.4273 | 22.4277 | 30.74 | 51 | 0
| 32 | 8.8878 | 31.2668 | 2.3834 | 0.1253 | 95.6204 | 0.76427 | 7.896 | 5.9674 | 8.528 | 88.707 | 28.9872 | 8.8847 | 22.4306 | 22.4311 | 31.731 | 51 | 0
| 33 | 8.8849 | 31.2661 | 2.3826 | 0.134 | 95.5685 | 0.64567 | 7.895 | 5.957 | 8.5132 | 88.548 | 28.9884 | 8.8817 | 22.432 | 22.4325 | 32.723 | 51 | 0
| 34 | 8.8789 | 31.2633 | 2.3809 | 0.1753 | 95.6424 | 0.54772 | 7.895 | 5.9515 | 8.5053 | 88.454 | 28.9901 | 8.8756 | 22.4342 | 22.4347 | 33.714 | 50 | 0
| 35 | 8.8693 | 31.2614 | 2.3789 | 0.1746 | 95.6925 | 0.46541 | 7.893 | 5.9479 | 8.5001 | 88.385 | 28.9955 | 8.8659 | 22.4398 | 22.4403 | 34.706 | 48 | 0
| 36 | 8.8601 | 31.2619 | 2.3761 | 0.1245 | 95.5891 | 0.39515 | 7.891 | 5.932 | 8.4774 | 88.135 | 29.0032 | 8.8565 | 22.4472 | 22.4477 | 35.697 | 50 | 0
| 37 | 8.845 | 31.2606 | 2.3681 | 0.0746 | 95.4931 | 0.33419 | 7.888 | 5.8798 | 8.4028 | 87.336 | 29.0137 | 8.8414 | 22.4576 | 22.4581 | 36.689 | 51 | 0
| 38 | 8.7943 | 31.2481 | 2.3516 | 0.061 | 95.6683 | 0.28271 | 7.88 | 5.8292 | 8.3304 | 86.501 | 29.0419 | 8.7906 | 22.487 | 22.4875 | 37.68 | 52 | 0
| 39 | 8.7561 | 31.2364 | 2.337 | 0.0554 | 94.9056 | 0.23888 | 7.871 | 5.7944 | 8.2807 | 85.922 | 29.0608 | 8.7523 | 22.5073 | 22.5079 | 38.672 | 52 | 0
| 40 | 8.7404 | 31.2307 | 2.3259 | 0.0649 | 94.9614 | 0.20147 | 7.865 | 5.7744 | 8.2522 | 85.599 | 29.0673 | 8.7365 | 22.5147 | 22.5153 | 39.663 | 51 | 0
| 41 | 8.7186 | 31.225 | 2.3149 | 0.2067 | 94.6003 | 0.16977 | 7.86 | 5.73 | 8.1887 | 84.905 | 29.0789 | 8.7147 | 22.5269 | 22.5275 | 40.654 | 52 | 0
| 42 | 8.6815 | 31.2164 | 2.2994 | 0.0467 | 94.0657 | 0.14303 | 7.853 | 5.6783 | 8.1148 | 84.08 | 29.1001 | 8.6775 | 22.5488 | 22.5494 | 41.646 | 51 | 0
| 43 | 8.6498 | 31.2135 | 2.2845 | 0.0374 | 93.8808 | 0.11943 | 7.845 | 5.641 | 8.0616 | 83.481 | 29.1229 | 8.6456 | 22.5712 | 22.5718 | 42.637 | 50 | 0
| 44 | 8.6259 | 31.2125 | 2.2723 | 0.0379 | 93.5787 | 0.099189 | 7.838 | 5.6209 | 8.0328 | 83.148 | 29.141 | 8.6217 | 22.5888 | 22.5894 | 43.629 | 52 | 0
| 45 | 8.6147 | 31.2132 | 2.2662 | 0.046 | 93.2918 | 0.081527 | 7.833 | 5.6144 | 8.0235 | 83.036 | 29.1506 | 8.6104 | 22.598 | 22.5986 | 44.62 | 51 | 0
| 46 | 8.6063 | 31.218 | 2.2573 | 0.0495 | 93.2734 | 0.066816 | 7.828 | 5.574 | 7.9658 | 82.43 | 29.1621 | 8.6019 | 22.6081 | 22.6087 | 45.612 | 51 | 0
| 47 | 8.5957 | 31.2252 | 2.2486 | 0.1073 | 93.121 | 0.053569 | 7.825 | 5.5635 | 7.9508 | 82.262 | 29.1779 | 8.5912 | 22.622 | 22.6226 | 46.603 | 55 | 0
| 48 | 8.5901 | 31.2272 | 2.2464 | 0.0726 | 93.2724 | 0.042126 | 7.821 | 5.5692 | 7.959 | 82.341 | 29.1841 | 8.5855 | 22.6276 | 22.6283 | 47.595 | 52 | 0
| 49 | 8.586 | 31.227 | 2.2442 | 0.0601 | 93.2655 | 0.032605 | 7.821 | 5.5668 | 7.9555 | 82.298 | 29.1869 | 8.5813 | 22.6304 | 22.6311 | 48.586 | 53 | 0
| 50 | 8.5864 | 31.2344 | 2.2434 | 0.0385 | 93.1686 | 0.024475 | 7.818 | 5.5656 | 7.9538 | 82.285 | 29.1938 | 8.5816 | 22.6357 | 22.6364 | 49.578 | 53 | 0
| 51 | 8.596 | 31.2525 | 2.2442 | 0.0488 | 93.6304 | 0.017755 | 7.819 | 5.5788 | 7.9726 | 82.503 | 29.2041 | 8.5911 | 22.6424 | 22.6431 | 50.569 | 54 | 0
| 52 | 8.6221 | 31.2862 | 2.2493 | 0.0446 | 94.2923 | 0.011725 | 7.823 | 5.5994 | 8.0022 | 82.864 | 29.217 | 8.6171 | 22.6488 | 22.6495 | 51.56 | 53 | 0
| 53 | 8.654 | 31.3214 | 2.2536 | 0.0354 | 94.5299 | 0.0065762 | 7.828 | 5.6064 | 8.0121 | 83.033 | 29.2265 | 8.6489 | 22.6516 | 22.6524 | 52.552 | 54 | 0
| 54 | 8.6678 | 31.3354 | 2.2583 | 0.0218 | 94.3502 | 0.0028726 | 7.833 | 5.6131 | 8.0217 | 83.159 | 29.2293 | 8.6626 | 22.6518 | 22.6526 | 53.543 | 52 | 0
| 55 | 8.6734 | 31.3441 | 2.2579 | 0.0653 | 94.4219 | 0.00016206 | 7.835 | 5.5998 | 8.0027 | 82.974 | 29.2332 | 8.6681 | 22.6541 | 22.6549 | 54.535 | 55 | 0
| 56 | 8.6834 | 31.3719 | 2.2575 | 0.1089 | 94.3413 | -7.932e-07 | 7.835 | 5.6032 | 8.0075 | 83.054 | 29.2532 | 8.6779 | 22.6683 | 22.6691 | 55.526 | 53 | 0
| 57 | 8.6893 | 31.397 | 2.2579 | 0.0438 | 94.4114 | 1e-12 | 7.838 | 5.6026 | 8.0066 | 83.067 | 29.2737 | 8.6838 | 22.6835 | 22.6843 | 56.517 | 53 | 0
| 58 | 8.6904 | 31.4044 | 2.2566 | 0.0921 | 94.2209 | 1e-12 | 7.839 | 5.5835 | 7.9794 | 82.79 | 29.2801 | 8.6848 | 22.6883 | 22.6891 | 57.509 | 52 | 0
| 59 | 8.6732 | 31.4114 | 2.2484 | 0.0503 | 94.8086 | 1e-12 | 7.837 | 5.5414 | 7.9192 | 82.144 | 29.3011 | 8.6675 | 22.7072 | 22.708 | 58.5 | 53 | 0
| 60 | 8.6561 | 31.4304 | 2.2385 | 0.0331 | 94.8508 | 1e-12 | 7.835 | 5.5178 | 7.8855 | 81.782 | 29.3345 | 8.6503 | 22.7358 | 22.7366 | 59.492 | 52 | 0
| 61 | 8.6543 | 31.4576 | 2.2316 | 0.0346 | 94.9225 | 1e-12 | 7.835 | 5.506 | 7.8686 | 81.618 | 29.3636 | 8.6484 | 22.7589 | 22.7597 | 60.483 | 53 | 0
| 62 | 8.6545 | 31.4678 | 2.2284 | 0.0446 | 95.0927 | 1e-12 | 7.835 | 5.5046 | 7.8667 | 81.604 | 29.3736 | 8.6485 | 22.7666 | 22.7675 | 61.474 | 52 | 0
| 63 | 8.6592 | 31.4771 | 2.2262 | 0.0197 | 94.9289 | 1e-12 | 7.835 | 5.5036 | 7.8652 | 81.6 | 29.3788 | 8.6531 | 22.77 | 22.7709 | 62.466 | 54 | 0
| 64 | 8.6608 | 31.4816 | 2.2272 | 0.0636 | 95.0346 | 1e-12 | 7.835 | 5.5127 | 7.8782 | 81.739 | 29.3817 | 8.6546 | 22.7721 | 22.773 | 63.457 | 53 | 0
| 65 | 8.6669 | 31.4943 | 2.2272 | 0.0141 | 94.7963 | 1e-12 | 7.835 | 5.5106 | 7.8753 | 81.724 | 29.3894 | 8.6606 | 22.7773 | 22.7782 | 64.448 | 54 | 0
| 66 | 8.6871 | 31.5241 | 2.2293 | 0.0251 | 94.7545 | 1e-12 | 7.839 | 5.5263 | 7.8976 | 82.001 | 29.403 | 8.6807 | 22.7849 | 22.7859 | 65.44 | 53 | 0
| 67 | 8.7084 | 31.5549 | 2.2351 | 0.0341 | 95.0945 | 1e-12 | 7.844 | 5.5464 | 7.9263 | 82.345 | 29.4166 | 8.7019 | 22.7925 | 22.7935 | 66.431 | 53 | 0
| 68 | 8.7268 | 31.587 | 2.2383 | 0.0161 | 95.0775 | 1e-12 | 7.85 | 5.5438 | 7.9226 | 82.351 | 29.434 | 8.7202 | 22.8035 | 22.8044 | 67.422 | 52 | 0
| 69 | 8.7341 | 31.6093 | 2.2392 | 0.0076 | 95.039 | 1e-12 | 7.853 | 5.5354 | 7.9106 | 82.248 | 29.4506 | 8.7274 | 22.8153 | 22.8163 | 68.414 | 55 | 0
| 70 | 8.7298 | 31.6168 | 2.2362 | 0.0671 | 94.7335 | 1e-12 | 7.853 | 5.5173 | 7.8848 | 81.977 | 29.4614 | 8.723 | 22.8244 | 22.8254 | 69.405 | 51 | 0
| 71 | 8.7296 | 31.6248 | 2.2317 | 0.0194 | 94.5099 | 1e-12 | 7.853 | 5.507 | 7.87 | 81.827 | 29.4695 | 8.7226 | 22.8308 | 22.8319 | 70.396 | 54 | 0
| 72 | 8.7314 | 31.6316 | 2.2316 | 0.0469 | 93.9713 | 1e-12 | 7.853 | 5.5194 | 7.8878 | 82.018 | 29.4745 | 8.7244 | 22.8345 | 22.8355 | 71.388 | 52 | 0
| 73 | 8.7319 | 31.6348 | 2.2316 | 0.0177 | 94.0696 | 1e-12 | 7.853 | 5.5106 | 7.8752 | 81.89 | 29.477 | 8.7248 | 22.8363 | 22.8374 | 72.379 | 54 | 0
| 74 | 8.7336 | 31.6425 | 2.2281 | 0.001 | 94.1345 | 1e-12 | 7.853 | 5.4997 | 7.8596 | 81.734 | 29.4832 | 8.7264 | 22.8409 | 22.842 | 73.37 | 53 | 0
| 75 | 8.7348 | 31.6489 | 2.2291 | -0.0003 | 94.1608 | 1e-12 | 7.854 | 5.5133 | 7.8791 | 81.941 | 29.4883 | 8.7275 | 22.8447 | 22.8458 | 74.362 | 54 | 0
| 76 | 8.7352 | 31.6537 | 2.2288 | 0.0272 | 94.0897 | 1e-12 | 7.855 | 5.5093 | 7.8733 | 81.885 | 29.4925 | 8.7278 | 22.848 | 22.849 | 75.353 | 51 | 0
| 77 | 8.7398 | 31.6636 | 2.2293 | -0.0035 | 94.1544 | 1e-12 | 7.857 | 5.5115 | 7.8764 | 81.928 | 29.4985 | 8.7322 | 22.852 | 22.8531 | 76.344 | 56 | 0
| 78 | 8.7458 | 31.6735 | 2.2296 | 0.036 | 94.2697 | 1e-12 | 7.858 | 5.5125 | 7.8779 | 81.957 | 29.5033 | 8.7382 | 22.8549 | 22.856 | 77.336 | 51 | 0
| 79 | 8.7535 | 31.6849 | 2.2306 | 0.0022 | 94.0804 | 1e-12 | 7.858 | 5.5212 | 7.8904 | 82.104 | 29.5082 | 8.7458 | 22.8576 | 22.8587 | 78.327 | 54 | 0
| 80 | 8.7584 | 31.6918 | 2.2324 | -0.0103 | 94.2017 | 1e-12 | 7.862 | 5.5194 | 7.8878 | 82.087 | 29.5109 | 8.7506 | 22.859 | 22.8601 | 79.318 | 53 | 0
| 81 | 8.7589 | 31.694 | 2.2312 | 0.0039 | 94.2705 | 1e-12 | 7.863 | 5.5167 | 7.8839 | 82.049 | 29.5122 | 8.751 | 22.86 | 22.8611 | 80.31 | 53 | 0
| 82 | 8.7592 | 31.6955 | 2.2327 | -0.0121 | 94.2512 | 1e-12 | 7.863 | 5.5255 | 7.8965 | 82.18 | 29.5132 | 8.7512 | 22.8607 | 22.8618 | 81.301 | 54 | 0
| 83 | 8.7602 | 31.6976 | 2.2325 | -0.0111 | 94.252 | 1e-12 | 7.863 | 5.5195 | 7.8879 | 82.093 | 29.514 | 8.7521 | 22.8612 | 22.8624 | 82.292 | 52 | 0
| 84 | 8.7615 | 31.6996 | 2.2309 | 0.0057 | 94.3111 | 1e-12 | 7.863 | 5.5104 | 7.8749 | 81.961 | 29.5147 | 8.7532 | 22.8615 | 22.8627 | 83.283 | 53 | 0
| 85 | 8.7643 | 31.7038 | 2.2313 | 0.0453 | 94.2432 | 1e-12 | 7.863 | 5.5277 | 7.8996 | 82.224 | 29.5162 | 8.756 | 22.8623 | 22.8635 | 84.275 | 53 | 0
| 86 | 8.7638 | 31.7047 | 2.2314 | -0.0099 | 94.1446 | 1e-12 | 7.863 | 5.51 | 7.8743 | 81.96 | 29.5172 | 8.7554 | 22.8631 | 22.8643 | 85.266 | 53 | 0
| 87 | 8.7528 | 31.6961 | 2.229 | -0.0138 | 94.3373 | 1e-12 | 7.863 | 5.5071 | 7.8702 | 81.897 | 29.517 | 8.7443 | 22.8646 | 22.8658 | 86.257 | 53 | 0
| 88 | 8.743 | 31.6924 | 2.2253 | -0.0186 | 94.2269 | 1e-12 | 7.859 | 5.4966 | 7.8551 | 81.725 | 29.521 | 8.7344 | 22.8691 | 22.8704 | 87.248 | 52 | 0
| 89 | 8.7453 | 31.7004 | 2.2255 | 0.0272 | 94.2344 | 1e-12 | 7.858 | 5.5114 | 7.8764 | 81.953 | 29.527 | 8.7365 | 22.8735 | 22.8747 | 88.24 | 52 | 0
| 90 | 8.7528 | 31.7118 | 2.2258 | -0.0171 | 94.2823 | 1e-12 | 7.86 | 5.4918 | 7.8483 | 81.678 | 29.532 | 8.744 | 22.8763 | 22.8776 | 89.231 | 53 | 0
| 91 | 8.7263 | 31.6861 | 2.2173 | 0.0224 | 94.0284 | 1e-12 | 7.859 | 5.4555 | 7.7964 | 81.087 | 29.5271 | 8.7174 | 22.8763 | 22.8776 | 90.222 | 52 | 0
| 92 | 8.6978 | 31.6607 | 2.211 | -0.0105 | 94.1833 | 1e-12 | 7.853 | 5.4502 | 7.7888 | 80.954 | 29.5242 | 8.6889 | 22.8782 | 22.8795 | 91.213 | 53 | 0
| 93 | 8.6884 | 31.6562 | 2.208 | 0.0127 | 93.9409 | 1e-12 | 7.846 | 5.4641 | 7.8088 | 81.146 | 29.5271 | 8.6793 | 22.8818 | 22.8831 | 92.205 | 51 | 0
| 94 | 8.7074 | 31.6788 | 2.211 | -0.0068 | 94.0656 | 1e-12 | 7.847 | 5.4785 | 7.8293 | 81.397 | 29.5341 | 8.6983 | 22.8845 | 22.8859 | 93.196 | 53 | 0
| 95 | 8.7245 | 31.6976 | 2.2154 | -0.002 | 93.8591 | 1e-12 | 7.851 | 5.4965 | 7.855 | 81.699 | 29.5388 | 8.7153 | 22.8857 | 22.8871 | 94.187 | 51 | 0
| 96 | 8.7373 | 31.7117 | 2.2188 | -0.0099 | 94.1281 | 1e-12 | 7.853 | 5.495 | 7.8529 | 81.703 | 29.5423 | 8.7279 | 22.8866 | 22.888 | 95.178 | 52 | 0
| 97 | 8.744 | 31.7198 | 2.2206 | -0.0202 | 94.0936 | 1e-12 | 7.856 | 5.4999 | 7.86 | 81.789 | 29.5446 | 8.7345 | 22.8874 | 22.8888 | 96.169 | 52 | 0
| 98 | 8.7485 | 31.7268 | 2.2211 | -0.0023 | 94.0854 | 1e-12 | 7.858 | 5.4963 | 7.8548 | 81.745 | 29.5477 | 8.7389 | 22.8892 | 22.8906 | 97.161 | 54 | 0
| 99 | 8.7514 | 31.7317 | 2.2209 | 0.0191 | 94.1075 | 1e-12 | 7.858 | 5.4936 | 7.851 | 81.712 | 29.5499 | 8.7417 | 22.8905 | 22.892 | 98.152 | 51 | 0
| 100 | 8.75 | 31.7317 | 2.2182 | 0.0225 | 94.0796 | 1e-12 | 7.858 | 5.4749 | 7.8242 | 81.431 | 29.5506 | 8.7402 | 22.8913 | 22.8927 | 99.143 | 53 | 0
| 101 | 8.7482 | 31.7307 | 2.2169 | -0.0212 | 93.9389 | 1e-12 | 7.858 | 5.4904 | 7.8463 | 81.658 | 29.5507 | 8.7383 | 22.8916 | 22.8931 | 100.134 | 51 | 0
| 102 | 8.7451 | 31.7286 | 2.2172 | 0.0243 | 93.9566 | 1e-12 | 7.858 | 5.4821 | 7.8344 | 81.529 | 29.5507 | 8.7352 | 22.892 | 22.8935 | 101.125 | 54 | 0
| 103 | 8.7421 | 31.7266 | 2.216 | -0.0163 | 93.973 | 1e-12 | 7.858 | 5.4844 | 7.8377 | 81.557 | 29.5507 | 8.732 | 22.8925 | 22.894 | 102.117 | 52 | 0
| 104 | 8.7415 | 31.7268 | 2.2161 | 0.0165 | 94.0142 | 1e-12 | 7.858 | 5.4851 | 7.8387 | 81.567 | 29.5511 | 8.7313 | 22.8929 | 22.8944 | 103.108 | 53 | 0
| 105 | 8.7395 | 31.7266 | 2.2151 | -0.0139 | 93.8965 | 1e-12 | 7.858 | 5.4807 | 7.8324 | 81.498 | 29.5521 | 8.7292 | 22.894 | 22.8955 | 104.099 | 52 | 0
| 106 | 8.7355 | 31.728 | 2.2151 | -0.0167 | 93.9578 | 1e-12 | 7.858 | 5.4831 | 7.8359 | 81.53 | 29.5564 | 8.7252 | 22.8979 | 22.8994 | 105.09 | 52 | 0
| 107 | 8.7315 | 31.7289 | 2.2128 | -0.0062 | 93.9863 | 1e-12 | 7.858 | 5.4649 | 7.81 | 81.254 | 29.5604 | 8.721 | 22.9016 | 22.9031 | 106.081 | 53 | 0
| 108 | 8.7203 | 31.7214 | 2.2083 | -0.0108 | 93.9155 | 1e-12 | 7.856 | 5.4516 | 7.7909 | 81.036 | 29.5615 | 8.7097 | 22.9041 | 22.9056 | 107.072 | 52 | 0
| 109 | 8.719 | 31.7267 | 2.2054 | -0.0077 | 93.7729 | 1e-12 | 7.854 | 5.4525 | 7.7922 | 81.05 | 29.5677 | 8.7083 | 22.9092 | 22.9107 | 108.064 | 52 | 0
| 110 | 8.7195 | 31.7323 | 2.2028 | -0.01 | 93.9323 | 1e-12 | 7.853 | 5.432 | 7.7629 | 80.749 | 29.5726 | 8.7087 | 22.9129 | 22.9145 | 109.055 | 54 | 0
| 111 | 8.6845 | 31.7066 | 2.1949 | -0.0223 | 93.8553 | 1e-12 | 7.852 | 5.4029 | 7.7213 | 80.255 | 29.5748 | 8.6737 | 22.9197 | 22.9213 | 110.046 | 50 | 0
| 112 | 8.6595 | 31.6857 | 2.1881 | -0.0103 | 93.9042 | 1e-12 | 7.845 | 5.3935 | 7.7079 | 80.069 | 29.5737 | 8.6486 | 22.9225 | 22.9241 | 111.037 | 53 | 0
| 113 | 8.6488 | 31.6778 | 2.1843 | -0.0116 | 93.8245 | 1e-12 | 7.842 | 5.3907 | 7.7038 | 80.008 | 29.574 | 8.6378 | 22.9243 | 22.9259 | 112.028 | 52 | 0
| 114 | 8.6463 | 31.6766 | 2.1806 | -0.0184 | 93.9868 | 1e-12 | 7.84 | 5.3828 | 7.6926 | 79.887 | 29.5745 | 8.6352 | 22.925 | 22.9266 | 113.019 | 52 | 0
| 115 | 8.6421 | 31.6738 | 2.1787 | -0.0229 | 93.8565 | 1e-12 | 7.836 | 5.3796 | 7.688 | 79.832 | 29.5747 | 8.6309 | 22.9258 | 22.9274 | 114.01 | 52 | 0
| 116 | 8.6366 | 31.6697 | 2.1775 | -0.0117 | 93.7989 | 1e-12 | 7.835 | 5.3822 | 7.6917 | 79.86 | 29.5746 | 8.6253 | 22.9265 | 22.9281 | 115.001 | 52 | 0
| 117 | 8.6312 | 31.6665 | 2.1757 | -0.0115 | 93.8515 | 1e-12 | 7.835 | 5.3654 | 7.6676 | 79.601 | 29.5754 | 8.6198 | 22.9279 | 22.9296 | 115.993 | 53 | 0
| 118 | 8.6259 | 31.6628 | 2.1709 | -0.0238 | 93.764 | 1e-12 | 7.831 | 5.3539 | 7.6513 | 79.422 | 29.5756 | 8.6144 | 22.9288 | 22.9305 | 116.984 | 52 | 0
| 119 | 8.622 | 31.66 | 2.1684 | -0.0216 | 93.7521 | 1e-12 | 7.83 | 5.3527 | 7.6496 | 79.398 | 29.5755 | 8.6105 | 22.9293 | 22.931 | 117.975 | 51 | 0
| 120 | 8.6193 | 31.6582 | 2.1681 | -0.0092 | 93.9106 | 1e-12 | 7.829 | 5.3541 | 7.6515 | 79.413 | 29.5755 | 8.6077 | 22.9297 | 22.9314 | 118.966 | 53 | 0
| 121 | 8.6042 | 31.645 | 2.1645 | -0.0262 | 93.7122 | 1e-12 | 7.826 | 5.3372 | 7.6274 | 79.135 | 29.5741 | 8.5925 | 22.9308 | 22.9325 | 119.957 | 50 | 0
| 122 | 8.5987 | 31.6425 | 2.162 | -0.0274 | 93.8328 | 1e-12 | 7.825 | 5.3356 | 7.625 | 79.101 | 29.5757 | 8.5868 | 22.9328 | 22.9345 | 120.948 | 54 | 0
| 123 | 8.5912 | 31.6352 | 2.1586 | -0.0161 | 93.3644 | 1e-12 | 7.821 | 5.3199 | 7.6027 | 78.856 | 29.574 | 8.5793 | 22.9326 | 22.9343 | 121.939 | 51 | 0
| 124 | 8.5764 | 31.6234 | 2.1547 | -0.0173 | 93.6238 | 1e-12 | 7.821 | 5.313 | 7.5928 | 78.727 | 29.5737 | 8.5644 | 22.9345 | 22.9362 | 122.93 | 53 | 0
| 125 | 8.5705 | 31.619 | 2.1521 | -0.0184 | 93.6183 | 1e-12 | 7.818 | 5.3109 | 7.5899 | 78.685 | 29.5736 | 8.5584 | 22.9353 | 22.937 | 123.921 | 51 | 0
| 126 | 8.5714 | 31.621 | 2.1521 | -0.0154 | 93.4877 | 1e-12 | 7.816 | 5.3213 | 7.6047 | 78.841 | 29.5746 | 8.5592 | 22.9359 | 22.9376 | 124.912 | 53 | 0
| 127 | 8.577 | 31.6252 | 2.1513 | -0.0149 | 93.728 | 1e-12 | 7.815 | 5.3026 | 7.5779 | 78.573 | 29.5738 | 8.5647 | 22.9345 | 22.9362 | 125.903 | 50 | 0
| 128 | 8.5574 | 31.6087 | 2.147 | -0.019 | 93.6418 | 1e-12 | 7.813 | 5.292 | 7.5628 | 78.381 | 29.5727 | 8.5451 | 22.9364 | 22.9382 | 126.895 | 54 | 0
| 129 | 8.5489 | 31.602 | 2.1418 | -0.0259 | 93.4366 | 1e-12 | 7.812 | 5.2684 | 7.529 | 78.017 | 29.5724 | 8.5365 | 22.9375 | 22.9392 | 127.886 | 49 | 0
| 130 | 8.5346 | 31.5904 | 2.138 | -0.0158 | 93.5322 | 1e-12 | 7.808 | 5.2735 | 7.5363 | 78.066 | 29.5721 | 8.522 | 22.9392 | 22.941 | 128.877 | 55 | 0
| 131 | 8.5292 | 31.587 | 2.1364 | 0.0364 | 93.4756 | 1e-12 | 7.806 | 5.2711 | 7.5329 | 78.022 | 29.5726 | 8.5166 | 22.9404 | 22.9422 | 129.868 | 50 | 0
| 132 | 8.5275 | 31.5862 | 2.1343 | -0.0172 | 93.3613 | 1e-12 | 7.802 | 5.262 | 7.5199 | 77.884 | 29.5727 | 8.5148 | 22.9408 | 22.9426 | 130.859 | 53 | 0
| 133 | 8.5271 | 31.5864 | 2.134 | -0.019 | 93.3997 | 1e-12 | 7.802 | 5.2755 | 7.5392 | 78.084 | 29.5729 | 8.5143 | 22.9409 | 22.9428 | 131.85 | 51 | 0
| 134 | 8.5265 | 31.5863 | 2.1351 | -0.0184 | 93.4202 | 1e-12 | 7.802 | 5.2782 | 7.543 | 78.122 | 29.5729 | 8.5136 | 22.941 | 22.9429 | 132.841 | 54 | 0
| 135 | 8.5253 | 31.5857 | 2.1348 | -0.0213 | 93.5469 | 1e-12 | 7.802 | 5.2644 | 7.5233 | 77.916 | 29.5728 | 8.5123 | 22.9411 | 22.943 | 133.832 | 51 | 0
| 136 | 8.5241 | 31.5854 | 2.1326 | -0.0122 | 93.4992 | 1e-12 | 7.8 | 5.2657 | 7.5252 | 77.933 | 29.5732 | 8.5109 | 22.9416 | 22.9435 | 134.823 | 56 | 0
| 137 | 8.5276 | 31.5898 | 2.1332 | -0.0067 | 93.4183 | 1e-12 | 7.801 | 5.2736 | 7.5365 | 78.057 | 29.5743 | 8.5144 | 22.942 | 22.9439 | 135.814 | 51 | 0
| 138 | 8.5301 | 31.5926 | 2.1323 | -0.0086 | 93.4985 | 1e-12 | 7.801 | 5.262 | 7.5199 | 77.89 | 29.5747 | 8.5168 | 22.9419 | 22.9438 | 136.805 | 55 | 0
| 139 | 8.5317 | 31.5949 | 2.1327 | -0.0184 | 93.447 | 1e-12 | 7.801 | 5.275 | 7.5385 | 78.086 | 29.5754 | 8.5183 | 22.9422 | 22.9441 | 137.796 | 51 | 0
| 140 | 8.5309 | 31.5944 | 2.1331 | -0.0107 | 93.6169 | 1e-12 | 7.802 | 5.2691 | 7.5301 | 77.997 | 29.5751 | 8.5174 | 22.9422 | 22.9441 | 138.787 | 55 | 0
| 141 | 8.5312 | 31.5952 | 2.1327 | 0.0551 | 93.624 | 1e-12 | 7.802 | 5.2725 | 7.5349 | 78.048 | 29.5753 | 8.5175 | 22.9422 | 22.9442 | 139.778 | 53 | 0
| 142 | 8.5312 | 31.5958 | 2.1331 | -0.0265 | 93.3557 | 1e-12 | 7.802 | 5.2692 | 7.5302 | 77.999 | 29.5755 | 8.5175 | 22.9424 | 22.9443 | 140.769 | 56 | 0
| 143 | 8.5297 | 31.5945 | 2.1308 | -0.0165 | 93.5929 | 1e-12 | 7.802 | 5.2575 | 7.5135 | 77.823 | 29.575 | 8.5158 | 22.9422 | 22.9442 | 141.76 | 53 | 0
| 144 | 8.5246 | 31.5904 | 2.1287 | -0.0187 | 93.5822 | 1e-12 | 7.802 | 5.2527 | 7.5067 | 77.743 | 29.5746 | 8.5106 | 22.9427 | 22.9447 | 142.751 | 57 | 0
| 145 | 8.5182 | 31.5855 | 2.1249 | -0.0116 | 93.5767 | 1e-12 | 7.8 | 5.2278 | 7.471 | 77.363 | 29.5744 | 8.5042 | 22.9434 | 22.9454 | 143.742 | 53 | 0
| 146 | 8.458 | 31.5286 | 2.1117 | -0.0047 | 93.3055 | 1e-12 | 7.796 | 5.1602 | 7.3745 | 76.255 | 29.5653 | 8.444 | 22.9449 | 22.9469 | 144.733 | 56 | 0
| 147 | 8.384 | 31.4719 | 2.0941 | -0.0157 | 92.9837 | 1e-12 | 7.786 | 5.1139 | 7.3083 | 75.446 | 29.5681 | 8.3699 | 22.9576 | 22.9595 | 145.724 | 54 | 0
| 148 | 8.3682 | 31.4632 | 2.0821 | -0.0258 | 92.7729 | 1e-12 | 7.775 | 5.1137 | 7.308 | 75.417 | 29.5718 | 8.3541 | 22.9627 | 22.9647 | 146.715 | 52 | 0
| 149 | 8.3643 | 31.4626 | 2.0786 | -0.0289 | 92.7468 | 1e-12 | 7.768 | 5.1136 | 7.3079 | 75.41 | 29.574 | 8.3501 | 22.965 | 22.967 | 147.706 | 56 | 0
| 150 | 8.3625 | 31.4627 | 2.0773 | -0.0252 | 92.6703 | 1e-12 | 7.764 | 5.1138 | 7.3082 | 75.411 | 29.5753 | 8.3482 | 22.9662 | 22.9683 | 148.697 | 52 | 0
| 151 | 8.359 | 31.4616 | 2.0735 | -0.0183 | 92.604 | 1e-12 | 7.76 | 5.0933 | 7.2789 | 75.103 | 29.5766 | 8.3446 | 22.9678 | 22.9699 | 149.687 | 55 | 0
| 152 | 8.353 | 31.4588 | 2.0703 | -0.0181 | 92.4697 | 1e-12 | 7.759 | 5.0915 | 7.2763 | 75.067 | 29.5783 | 8.3385 | 22.97 | 22.972 | 150.678 | 51 | 0
| 153 | 8.3519 | 31.4587 | 2.0686 | -0.0256 | 92.3839 | 1e-12 | 7.756 | 5.0918 | 7.2766 | 75.069 | 29.5788 | 8.3373 | 22.9705 | 22.9726 | 151.669 | 55 | 0
| 154 | 8.348 | 31.4571 | 2.0682 | -0.0182 | 92.3007 | 1e-12 | 7.756 | 5.0892 | 7.273 | 75.026 | 29.5799 | 8.3333 | 22.972 | 22.974 | 152.66 | 51 | 0
| 155 | 8.3431 | 31.4542 | 2.0642 | -0.0098 | 91.7092 | 1e-12 | 7.753 | 5.0641 | 7.2371 | 74.648 | 29.5806 | 8.3283 | 22.9732 | 22.9753 | 153.651 | 56 | 0
| 156 | 8.3381 | 31.451 | 2.0598 | -0.0158 | 90.6387 | 1e-12 | 7.751 | 5.0597 | 7.2308 | 74.574 | 29.581 | 8.3233 | 22.9742 | 22.9763 | 154.642 | 52 | 0
| 157 | 8.3344 | 31.4488 | 2.057 | -0.0171 | 90.1564 | 1e-12 | 7.748 | 5.0513 | 7.2188 | 74.444 | 29.5814 | 8.3195 | 22.975 | 22.9772 | 155.633 | 54 | 0
| 158 | 8.3308 | 31.4468 | 2.0534 | -0.0074 | 89.6356 | 1e-12 | 7.746 | 5.0356 | 7.1964 | 74.208 | 29.582 | 8.3157 | 22.976 | 22.9781 | 156.624 | 51 | 0
| 159 | 8.3267 | 31.4446 | 2.0485 | 0.0139 | 89.4151 | 1e-12 | 7.746 | 5.0225 | 7.1777 | 74.008 | 29.5826 | 8.3116 | 22.9771 | 22.9792 | 157.615 | 56 | 0
| 160 | 8.3242 | 31.4437 | 2.0457 | -0.0199 | 89.078 | 1e-12 | 7.743 | 5.023 | 7.1783 | 74.011 | 29.5834 | 8.309 | 22.9781 | 22.9802 | 158.606 | 50 | 0
| 161 | 8.3235 | 31.4438 | 2.0453 | 0.0171 | 89.1848 | 1e-12 | 7.742 | 5.0274 | 7.1846 | 74.075 | 29.5837 | 8.3082 | 22.9784 | 22.9805 | 159.597 | 54 | 0
| 162 | 8.3218 | 31.4433 | 2.0443 | -0.0183 | 89.1018 | 1e-12 | 7.742 | 5.022 | 7.1769 | 73.992 | 29.5841 | 8.3064 | 22.9789 | 22.9811 | 160.588 | 53 | 0
| 163 | 8.3217 | 31.4437 | 2.0445 | -0.0187 | 88.9659 | 1e-12 | 7.742 | 5.0247 | 7.1809 | 74.033 | 29.5842 | 8.3062 | 22.979 | 22.9812 | 161.579 | 53 | 0
| 164 | 8.3189 | 31.4428 | 2.0422 | 0.0308 | 88.1969 | 1e-12 | 7.741 | 5.0118 | 7.1623 | 73.838 | 29.5853 | 8.3033 | 22.9803 | 22.9825 | 162.569 | 53 | 0
| 165 | 8.3191 | 31.4434 | 2.0411 | -0.0086 | 88.2991 | 1e-12 | 7.739 | 5.0139 | 7.1654 | 73.87 | 29.5853 | 8.3034 | 22.9803 | 22.9825 | 163.56 | 55 | 0
| 166 | 8.3188 | 31.4437 | 2.0403 | -0.0089 | 88.383 | 1e-12 | 7.738 | 5.0143 | 7.1659 | 73.875 | 29.5854 | 8.303 | 22.9804 | 22.9826 | 164.551 | 51 | 0
| 167 | 8.3175 | 31.4434 | 2.0394 | -0.0014 | 87.8803 | 1e-12 | 7.737 | 5.0046 | 7.152 | 73.73 | 29.5859 | 8.3016 | 22.9809 | 22.9832 | 165.542 | 56 | 0
| 168 | 8.3132 | 31.4413 | 2.0357 | -0.0078 | 87.2549 | 1e-12 | 7.737 | 4.9913 | 7.133 | 73.527 | 29.5868 | 8.2972 | 22.9822 | 22.9845 | 166.533 | 52 | 0
| 169 | 8.3118 | 31.441 | 2.0333 | 0.0086 | 85.2998 | 1e-12 | 7.737 | 4.9831 | 7.1213 | 73.404 | 29.5872 | 8.2957 | 22.9828 | 22.9851 | 167.524 | 54 | 0
| 170 | 8.3104 | 31.4405 | 2.0295 | 0.0076 | 84.1169 | 1e-12 | 7.734 | 4.9788 | 7.1152 | 73.339 | 29.5875 | 8.2943 | 22.9832 | 22.9855 | 168.515 | 53 | 0
| 171 | 8.3107 | 31.4412 | 2.029 | 0.0045 | 84.0785 | 1e-12 | 7.732 | 4.9759 | 7.1111 | 73.297 | 29.5876 | 8.2944 | 22.9832 | 22.9855 | 169.505 | 53 | 0
| 172 | 8.3105 | 31.4414 | 2.0266 | 0.0148 | 85.1968 | 1e-12 | 7.732 | 4.9661 | 7.0971 | 73.153 | 29.5875 | 8.2942 | 22.9832 | 22.9855 | 170.496 | 6 | 0