2014 CTD Data Information:

DATA FORMAT:

For all data collected with UWT CTD the columns of data are as follows:

B=Pressure (db); C=Temperature (deg. C); D=Conductivity (mS/M); E=DO Voltage; F=Fluorescence(Wetlabs Wetstar)(mg/m3);G=Transmission (%); H=DO (ml/l);I=DO(mg/l);J=DO(%sat);K=Salinity(PSU);L=Potential Temperature(deg.C);M=sigma-t; N=sigma-theta; O=Depth (m); P=#samples/1 db bin

For FHL CTD data (no transmissometer):

B=Pressure (db); C=Temperature (deg. C); D=Conductivity (mS/M); E=DO Voltage; F=Fluorescence(Wetlabs Wetstar)(mg/m3);G=DO (ml/l);H=DO(mg/l);I=DO(%sat);J=Salinity(PSU);K=Potential Temperature(deg.C);L=sigma-t; M=sigma-theta; N=Depth (m); O=#samples/1 db bin

For R/V Barnes CTD (911- includes PAR & pH):

B=Pressure (db); C=Temperature (deg. C); D=Conductivity (mS/M); E=DO Voltage; F=Fluorescence(Wetlabs Wetstar)(mg/m3);G=Transmission (%); H=PAR (umol/s-m2); I=pH; J=DO (ml/l);K=DO(mg/l);L=DO(%sat);M=Salinity(PSU);N=Potential Temperature(deg.C);O=sigma-t; P=sigma-theta; Q=Depth (m); R=#samples/1 db bin

TO PLOT IN EXCEL:

Open Excel

Find   ___.cnv file you wish to plot and open it     (If your version of excel does not open the import wizard directly you will have to go to data & import data and then follow the import wizard steps below)

Click Delimited & Next

Click Spaces & Next

Click Finish & save as an excel file

You will see seabird header about station and processing – then you will see you columns of data

Cut header and stick on another sheet before plotting.

NOTE: When you look at your excel file if you see -99’s in a row that means bad data and you should delete that whole row of data

Easiest way to plot profiles is to create a negative Depth column in 1st Col. and then go from there… & save as an excel file